## Data Input Sheet
|  | GDB Actual values |  |  | GDB Forecast values |  |  | Uses imediately preceeding value
Source: | 2659423_Backcasting for ID category expenditure 2013-2015 for First Gas and Vector * CPI of 1%, 1.4% & 0.5% | 2659423_Backcasting for ID category expenditure 2013-2015 for First Gas and Vector * CPI of 1.4% & 0.5% | 2659423_Backcasting for ID category expenditure 2013-2015 for First Gas and Vector * CPI of 0.5% | Comm Comm Backcasting scenarios A and F | Vector Gas Distribution AMP 2016
Metrics | Actuals |  |  | Forecast
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Operational expenditure ($ real)
Service interruptions, incidents and emergencies | 2004 | 2014 | 2016 | 1959 | 1957 | 1957 | 1957 | 1957 | 1957 | 1957 | 1957 | 1957 | 1957 | 1957
Routine and corrective maintenance and inspection | 2562 | 2574 | 2576 | 2504 | 2453 | 2456 | 2458 | 2461 | 2464 | 2466 | 2469 | 2472 | 2475 | 2478
Asset replacement and renewal | 0 | 0 | 0
Total network opex | 4566 | 4588 | 4592 | 4463 | 4410 | 4413 | 4415 | 4418 | 4421 | 4423 | 4426 | 4429 | 4432 | 4435
System operations and network support | 1968 | 1978 | 1980 | 1924 | 3021 | 3021 | 3021 | 3021 | 3021 | 3021 | 3021 | 3021 | 3021 | 3021
Business support | 4229 | 4250 | 4253 | 4134 | 4336 | 4336 | 4336 | 4336 | 4336 | 4336 | 4336 | 4336 | 4336 | 4336
Total non Network opex | 6197 | 6228 | 6233 | 6058 | 7357 | 7357 | 7357 | 7357 | 7357 | 7357 | 7357 | 7357 | 7357 | 7357
Total operational expenditure | 10763 | 10816 | 10825 | 10521 | 11767 | 11770 | 11772 | 11775 | 11778 | 11780 | 11783 | 11786 | 11789 | 11792
|  |  | Back casting Scenario: | A
Expenditure on assets ($ real)
Consumer connection | 12726 | 18166 | 13525 | 14548 | 15095 | 12339 | 12447 | 12678 | 12795 | 14781 | 14832 | 14580 | 14750 | 14931
System growth | 215 | 307 | 229 | 294 | 994 | 1295 | 1646 | 799 | 1623 | 449 | 517 | 1093 | 1093 | 449
Asset replacement and renewal | 1022 | 1459 | 1086 | 1397 | 1644 | 1272 | 1199 | 1688 | 1688 | 1688 | 1688 | 1688 | 1688 | 1688
Asset relocations | 490 | 655 | 383 | 325 | 126 | 164 | 126 | 160 | 114 | 1449 | 1714 | 1714 | 1714 | 1714
Total reliability, safety and environment | 222 | 317 | 236 | 304 | 492 | 583 | 605 | 518 | 197 | 137
Total network expenditure on assets | 14675 | 20904 | 15459 | 16868 | 18351 | 15653 | 16023 | 15843 | 16417 | 18504 | 18751 | 19075 | 19245 | 18782
Expenditure on Non-Network Assets | 1455 | 959 | 1027 | 623 | 1234 | 1686 | 1341 | 1418 | 1694 | 1512 | 1497 | 1724 | 1537 | 1438
Value of capital contributions | 2436 | 3057 | 3147 | 4809 | 3943 | 4570 | 3957 | 4565 | 3783 | 3616 | 3991 | 4035 | 4148 | 4270
Total capital expenditure | 16130 | 21863 | 16486 | 22300 | 23528 | 21909 | 21321 | 21826 | 21894 | 20016 | 20248 | 20799 | 20782 | 20220
Total capital expenditure (excl cost of funding and capital contributions) | 13694 | 18806 | 13339 | 17491 | 19585 | 17339 | 17364 | 17261 | 18111 | 16400 | 16257 | 16764 | 16634 | 15950
Total ICPs at year end | 156952 | 159738 | 163243 | 104344 | 107325 | 110470 | 113610 | 116833 | 120096 | 120096 | 120096 | 120096 | 120096 | 120096
Difference |  | 2786 | 3505 | -58899 | 2981 | 3145 | 3140 | 3223 | 3263 | 0 | 0 | 0 | 0 | 0
ICPs connected in year
Residential | 3114 | 3764 | 3583 | 3068 | 3185 | 3340 | 3367 | 3452 | 3492 | 3492 | 3492 | 3492 | 3492 | 3492
Commercial | 304 | 282 | 332 | 174 | 196 | 205 | 201 | 200 | 200 | 200 | 200 | 200 | 200 | 200
ICP disconnections |  | 1260 | 410 | 62141 | 400 | 400 | 428 | 429 | 429 | 3692 | 3692 | 3692 | 3692 | 3692
Total New Connections | 3418 | 4046 | 3915 | 3242 | 3381 | 3545 | 3568 | 3652 | 3692 | 3692 | 3692 | 3692 | 3692 | 3692
Total gas conveyed/annum (GJ) | 21589120 | 21934671 | 22788368 | 13954111 | 13792297 | 13907274 | 14117459 | 14225679 | 14327232 | 14327232 | 14327232 | 14327232 | 14327232 | 14327232
Maximum daily load (GJ/day) | 85671 | 85392 | 89763 | 60433 | 61306 | 62191 | 63089 | 64000 | 64924 | 64924 | 64924 | 64924 | 64924 | 64924
Maximum monthly load (GJ/month) | 2172561 | 2150228 | 2331826 | 1484162 | 1496307 | 1508552 | 1520898 | 1533344 | 1545892 | 1545892 | 1545892 | 1545892 | 1545892 | 1545892
Average monthly load (average GJ/month) | 1799093.3333 | 1827889.25 | 1899030.6667 | 1162842.5833 | 1149358.0833 | 1158939.5 | 1176454.9167 | 1185473.25 | 1193936 | 1193936 | 1193936 | 1193936 | 1193936 | 1193936
System length by material (defined by GDB)
PE | 842 | 829 | 812 | 812 | 812 | 812 | 812 | 812 | 812 | 812 | 812 | 812 | 812 | 812
Steel | 9611 | 9787 | 9952 | 9952 | 9952 | 9952 | 9952 | 9952 | 9952 | 9952 | 9952 | 9952 | 9952 | 9952
Other | 25 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
km of pipeline for supply | 10478 | 10623 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770
Load Factor | 82.81% | 85.01% | 81.44% | 78.35% | 76.81% | 76.82% | 77.35% | 77.31% | 77.23%
Class A (planned interruptions by GDB) | 0 | 0 | 0
Class B (planned interruptions on the network) | 2622 | 1529 | 870 | 407 | 407 | 407 | 407 | 407 | 407 | 407 | 407 | 407 | 407 | 407
Class C (unplanned interruptions on the network) | 245 | 111 | 161 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84
Class D (unplanned interruptions by GTB) | 0 | 0 | 0
Class I (unplanned interruptions caused by third party damage) | 423 | 435 | 450 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270
Total interruptions | 3290 | 2075 | 1481 | 761 | 761 | 761 | 761 | 761 | 761 | 761 | 761 | 761 | 761 | 761
11a(ii) Consumer Connection
Mains Extensions/Subdivisons + Residential Connections | 0 | 15459.2919 | 13561.47 | 15044 | 15641 | 12826 | 12970 | 13238 | 13377
Commercial Connections | 0 | 1166.8351 | 1709.505 | 1468 | 1230 | 1276 | 1252 | 1249 | 1244
Customer Easements | 0 | 1.0191 | 6.03 | 0 | 29 | 29 | 29 | 29 | 29
Total Consumer Connection Expenditure | 12726 | 18166 | 13525 | 17399 | 16900 | 14131 | 14251 | 14516 | 14650
| 0 | 16627.1461 | 15277.005 | 16512
11a(ii) System Growth
Intermediate Pressure | 0 | 795.8937 | 1032.135 | 131 | 234 | 302 | 1095 | 605 | 302
Medium pressure | 0 | 663.4146 | 557.775 | 439 | 701 | 934 | 492 | 135 | 1262
Low pressure | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Network Assets |  |  |  | 0 | 59 | 59 | 59 | 59 | 59
Total System Growth Expenditure | 215 | 307 | 299 | 294 | 994 | 1295 | 1646 | 799 | 1623
| 0 | 1459.3082 | 1589.91 | 570
11a(iv) Asset Replacement and Renewal
Intermediate Pressure | 0 | 1049.6421 | 1605.99 | 342 | 401 | 352 | 352 | 352 | 352
Medium pressure | 0 | 7943.6506 | 1351.725 | 881 | 1008 | 685 | 685 | 1174 | 1174
Low pressure | 0 | 0 | 1383.885
Other Network Assets | 0 | 877.4193 | 933.645 | 403 | 235 | 235 | 162 | 162 | 162
Total Asset Replacement and Renewal Expenditure | 1022 | 1459 | 1086 | 1397 | 1644 | 1272 | 1199 | 1688 | 1688
| 0 | 9870.712 | 5275.245 | 1626
11 a(v) Asset Relocations
Project Name | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Other | 0 | 1760.953 | 2101.455 | 2134 | 2264 | 2942 | 2279 | 2887 | 2042
Waterview Connection | 0 | 576.7936 | 0
Total Asset relocation costs | 1670 | 2384 | 1775 | 2283 | 2264 | 2942 | 2279 | 2887 | 2042 | 0 | 0 | 0 | 0 | 0
| 0 | 2337.7466 | 2101.455 | 2134
11a(vii) Quality of Supply
Project Name | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 0
Other | 0 | 666.4718 | 73.365 |  | 258 | 379 | 401 | 518 | 197
Total Quality of Supply Project Costs | 0 | 666.4718 | 73.365 | 0 | 258 | 379 | 401 | 518 | 197 | 0 | 0 | 0 | 0 | 0
| 0 | 666.4718 | 73.365 | 0
11a(vii) Legislative and Regulatory
Project Name | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 0
Nothing planned | 0 | 0 | 0 | 76
Total Legislative and Regulatory Costs | 0 | 0 | 0 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11a(viii) Other Reliability, Safety and Environment
Project Name | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 0
Other | 0 | 233.367 | 83.415 | 142 | 234 | 204 | 204 | 0 | 0
Total Other Reliability, Safety and Environment Costs | 0 | 233.367 | 83.415 | 142 | 234 | 204 | 204 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 233.367 | 83.415 | 142
Total Reliability, Safety and Environment Costs | 222 | 317 | 236 | 304 | 492 | 583 | 605 | 518 | 197 | 0 | 0 | 0 | 0 | 0
| 0 | 899.8388 | 156.78 | 218
11a(ix) Non-Network Assets
Routine Expenditure
Project Name | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 0
Other | 0 | 299.6066 | 488.43 | 552 | 1068 | 1459 | 1160 | 1227 | 1466
Total Routine Expenditure Project Costs | 0 | 299.6066 | 488.43 | 552 | 1068 | 1459 | 1160 | 1227 | 1466 | 0 | 0 | 0 | 0 | 0
Atypical Expenditure
Project Name | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 0
Other | 0 | 1025.1844 | 844.2 | 182 | 166 | 227 | 181 | 191 | 228
Total Atypical Expenditure Project Costs | 0 | 1025.1844 | 844.2 | 182 | 166 | 227 | 181 | 191 | 228 | 0 | 0 | 0 | 0 | 0
Total Non-Network Assets Costs | 1455 | 959 | 1027 | 623 | 1234 | 1686 | 1341 | 1418 | 1694 | 0 | 0 | 0 | 0 | 0
| 0 | 1324.791 | 1332.63 | 734
Note on J20: Richard H: Capital Contributions are removed from 2016 - 2021 figures, based on information in the individual capex categories from the 2016 AMP
Note on B27: Richard H: Proxy Data derived from the Commerce Commission backcasting, currently awaiting refined figures
Note on K27: Richard H: Values here are Nominal as only nominal values are given in the AMP for this point onwards.
Note on E53: Michael: Classes B, C and Class I should be adjusted to Auckland only from 2015 ID
Note on B57: Microsoft Office User: ID Schd 10a(i)
Note on D57: Microsoft Office User: ID Schd 10a(i)

## Asset Data Input Sheet
Asset age
|  |  | Current Year: | 2016
|  |  |  | 51 | 44 | 39 | 34 | 29 | 24 | 19 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | [12 empty] | Asset Condition
Asset Category 1 | Asset Category 2 | Asset Category 3 | Units | pre-1970 | 1970–1974 | 1975–1979 | 1980–1984 | 1985-1989 | 1990–1994 | 1995–1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 |  | Asset Category 1 | Asset Category 2 | Asset Category 3 | Units | Grade 1 | Grade 2 | Grade 3 | Grade 4 | Grade Unknown | Data Accuracy [1-4] | % of asset forecast to be replaced in the next 5 years
Intermediate Pressure | Main pipe | IP PE main pipe | km | [7 empty] | 2015: 0 | [11 empty] | 0 | Intermediate Pressure | Main Pipe | IP PE main pipe | km
Intermediate Pressure | Main pipe | IP steel main pipe | km | 47 | 14 | 4 | 16 | 52 | 13 | 35 | 25 | 0 | 1 | 0 |  | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 8 | [11 empty] | 219 | Intermediate Pressure | Main Pipe | IP steel main pipe | km |  |  |  | 100% |  | 3
Intermediate Pressure | Main pipe | IP other main pipe | km | [34 empty] | 0 | Intermediate Pressure | Main Pipe | IP other main pipe | km
Intermediate Pressure | Service pipe | IP PE service pipe | km | [34 empty] | 0 | Intermediate Pressure | Service Pipe | IP PE service pipe | km
Intermediate Pressure | Service pipe | IP steel service pipe | km | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 6 | Intermediate Pressure | Service Pipe | IP steel service pipe | km |  |  |  | 100% |  | 3
Intermediate Pressure | Service pipe | IP other service pipe | km | [7 empty] | 2015: 0 | [11 empty] | 0 | Intermediate Pressure | Service Pipe | IP other service pipe | km
Intermediate Pressure | Stations | Intermediate pressure DRS | No. | 6 | 1 | 7 | 7 | 2 | 3 | 52 | 2000: 1; 2001: 2; 2002: 1; 2005: 1; 2008: 1; 2011: 1; 2012: 2; 2014: 2; 2015: 4 | [11 empty] | 93 | Intermediate Pressure | Stations | Intermediate pressure DRS | No. |  |  | 20.73% | 79.27% |  | 4 | 7.32%
Intermediate Pressure | Line valve | IP line valves | No. | 56 | 38 | 18 | 61 | 181 | 104 | 67 | 16 | 8 | 4 | 5 | 3 | 6 | 6 | 4 | 7 | 4 | 10 | 6 | 9 | 8 | 27 | 24 | [11 empty] | 672 | Intermediate Pressure | Line Valve | IP line valves | No. |  | 5.67% | 76.31% | 7.23% | 10.78% | 3
Intermediate Pressure | Special crossings | IP crossings | No. | 3 |  |  | 1 | 7 |  | 3 | [27 empty] | 18 | Intermediate Pressure | Special Crossings | IP crossings | No. |  | 5.88% | 76.47% | 17.65% |  | 3 | 3.7% | bar: 2000; 2007; 2010; 2012
Medium Pressure | Main pipe | MP PE main pipe | km | 14 | 3 | 17 | 60 | 176 | 509 | 1392 | 148 | 87 | 56 | 119 | 83 | 94 | 118 | 91 | 57 | 36 | 40 | 55 | 51 | 69 | 80 | 49 | [11 empty] | 3404 | Medium Pressure | Main Pipe | MP PE main pipe | km |  | 0.46% |  | 99.54% |  | 3 | 0.19%
Medium Pressure | Main pipe | MP steel main pipe | km | 11 | 24 | 14 | 76 | 75 | 5 | 5 | [27 empty] | 210 | Medium Pressure | Main Pipe | MP steel main pipe | km |  |  |  | 100% |  | 3
Medium Pressure | Main pipe | MP other main pipe | km | 1 | [33 empty] | 1 | Medium Pressure | Main Pipe | MP other main pipe | km |  | 100% |  |  |  | 3 | 100%
Medium Pressure | Service pipe | MP PE service pipe | km | 4 | 1 | 2 | 6 | 61 | 326 | 858 | 85 | 52 | 55 | 75 | 90 | 75 | 76 | 71 | 58 | 35 | 42 | 61 | 51 | 50 | 49 | 36 | [11 empty] | 2219 | Medium Pressure | Service Pipe | MP SPE service pipe | km |  | 0.36% | 99.64% |  |  | 3 | 0.15%
Medium Pressure | Service pipe | MP steel service pipe | km | 2 | 1 | 2 | 7 | 7 | 4 | 4 | [27 empty] | 27 | Medium Pressure | Service Pipe | MP steel service pipe | km |  |  | 100% |  |  | 3
Medium Pressure | Service pipe | MP other service pipe | km |  |  |  |  | 2 | [29 empty] | 2 | Medium Pressure | Service Pipe | MP other service pipe | km |  |  | 100% |  |  | 3
Medium Pressure | Stations | Medium pressure DRS | No. | 1 | 2 | 1 | 7 | 38 | 86 | 38 | 3 |  | 1 | 1 | 10 | 5 | 6 | 2 | 1 | 1 | 2 |  | 1 | 2 | 1 | 1 | [11 empty] | 210 | Medium Pressure | Stations | Medium pressure DRS | No. |  |  | 22.22% | 77.78% |  | 4
Medium Pressure | Line valve | MP line valves | No. | 46 | 94 | 105 | 674 | 670 | 430 | 261 | 42 | 34 | 15 | 20 | 21 | 39 | 40 | 26 | 27 | 31 | 12 | 34 | 29 | 44 | 42 | 41 | [11 empty] | 2777 | Medium Pressure | Line Valve | MP line valves | No. |  | 3.03% | 82.12% | 3.37% | 11.49% | 3
Medium Pressure | Special crossings | MP special crossings | No. |  | 1 | 2 | 7 | 11 | 9 | 13 | 2000: 6; 2006: 3; 2007: 1; 2008: 2; 2010: 3; 2011: 2; 2013: 2 | [11 empty] | 62 | Medium Pressure | Special Crossings | MP special crossings | No. |  | 7.81% | 45.31% | 45.31% | 1.56% | 3 | 3.7%
Low Pressure | Main pipe | LP PE main pipe | km | [34 empty] | 0 | Low Pressure | Main Pipe | LP PE main pipe | km |  |  |  | 100% |  | 3
Low Pressure | Main pipe | LP steel main pipe | km | [34 empty] | 0 | Low Pressure | Main Pipe | LP steel main pipe | km
Low Pressure | Main pipe | LP other main pipe | km | [34 empty] | 0 | Low Pressure | Main Pipe | LP other main pipe | km
Low Pressure | Service pipe | LP PE service pipe | km |  |  |  |  | 1 | 1 | [28 empty] | 2 | Low Pressure | Service Pipe | LP PE service pipe | km |  |  |  | 100% |  | 3
Low Pressure | Service pipe | LP steel service pipe | km |  |  |  |  | 1 | [29 empty] | 1 | Low Pressure | Service Pipe | LP steel Service pipe | km |  |  | 100% |  |  | 3
Low Pressure | Service pipe | LP other service pipe | km | [7 empty] | 2015: 0 | [11 empty] | 0 | Low Pressure | Service Pipe | LP other service pipe | km
Low Pressure | Line valve | LP line valves | No. |  |  | 1 |  |  | 1 | 1 | 2011: 2; 2013: 8; 2014: 2; 2015: 0 | [11 empty] | 15 | Low Pressure | Line Valve | LP line valves | No. |  |  | 54.55% |  | 45.45% | 3
Low Pressure | Special crossings | LP special crossings | No. | [7 empty] | 2015: 0 | [11 empty] | 0 | Low Pressure | Special Crossings | LP special crossings | No.
All | Monitoring and control systems | Remote terminal units | No. | [6 empty] | 32 | 1 | 1 | 1 |  |  | 4 | 1 | 19 | 3 | 1 |  | 1 |  |  | 3 | 4 | [11 empty] | 71 | All | Monitoring and control systens | Remote terminal units | No. |  | 1.39% | 22.22% | 76.39% |  | 3 | 27.08%
All | Cathodic protection systems | Cathodic protection | No. | 1 | 1 | 2 | 4 | 3 |  |  | 2000: 2; 2001: 1; 2004: 1; 2014: 1 | [12 empty] | All | Cathodic protection systems | Cathodic protection | No. |  | 9.52% | 71.43% | 19.05% |  | 4 | 7.1%
Operating Pressure | Asset Category | Asset Class | Units | 1 | 2 | 2 | 10 | 21 | 6 |  | 2000: 3; 2001: 2; 2004: 1; 2009: 1; 2012: 1; 2013: 2; 2014: 1; 2015: 0 | Current Average Age (Years / Km)
Intermediate Pressure | Main pipe | IP PE main pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intermediate Pressure | Main pipe | IP steel main pipe | km | 2397 | 616 | 156 | 544 | 1508 | 312 | 665 | 400 | 0 | 14 | 0 | 0 | 0 | 10 | 9 | 0 | 0 | 0 | 0 | 4 | 0 | 2 | 8 | 30.3425
Intermediate Pressure | Main pipe | IP other main pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intermediate Pressure | Service pipe | IP PE service pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intermediate Pressure | Service pipe | IP steel service pipe | km | 0 | 0 | 0 | 0 | 58 | 48 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24
Intermediate Pressure | Service pipe | IP other service pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intermediate Pressure | Stations | Intermediate pressure DRS | No. | 306 | 44 | 273 | 238 | 58 | 72 | 988 | 16 | 30 | 14 | 0 | 0 | 11 | 0 | 0 | 8 | 0 | 0 | 5 | 8 | 0 | 4 | 4 | 22.3548
Intermediate Pressure | Line valve | IP line valves | No. | 2856 | 1672 | 702 | 2074 | 5249 | 2496 | 1273 | 256 | 120 | 56 | 65 | 36 | 66 | 60 | 36 | 56 | 28 | 60 | 30 | 36 | 24 | 54 | 24 | 25.7872
Intermediate Pressure | Special crossings | IP crossings | No. | 153 | 0 | 0 | 34 | 203 | 0 | 57 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 6 | 0 | 4 | 0 | 0 | 0 | 26.7778
Medium Pressure | Main pipe | MP PE main pipe | km | 714 | 132 | 663 | 2040 | 5104 | 12216 | 26448 | 2368 | 1305 | 784 | 1547 | 996 | 1034 | 1180 | 819 | 456 | 252 | 240 | 275 | 204 | 207 | 160 | 49 | 17.3892
Medium Pressure | Main pipe | MP steel main pipe | km | 561 | 1056 | 546 | 2584 | 2175 | 120 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.9857
Medium Pressure | Main pipe | MP other main pipe | km | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51
Medium Pressure | Service pipe | MP PE service pipe | km | 204 | 44 | 78 | 204 | 1769 | 7824 | 16302 | 1360 | 780 | 770 | 975 | 1080 | 825 | 760 | 639 | 464 | 245 | 252 | 305 | 204 | 150 | 98 | 36 | 15.9387
Medium Pressure | Service pipe | MP steel service pipe | km | 102 | 44 | 78 | 238 | 203 | 96 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31
Medium Pressure | Service pipe | MP other service pipe | km | 0 | 0 | 0 | 0 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29
Medium Pressure | Stations | Medium pressure DRS | No. | 51 | 88 | 39 | 238 | 1102 | 2064 | 722 | 48 | 0 | 14 | 13 | 120 | 55 | 60 | 18 | 8 | 7 | 12 | 0 | 4 | 6 | 2 | 1 | 22.2476
Medium Pressure | Line valve | MP line valves | No. | 2346 | 4136 | 4095 | 22916 | 19430 | 10320 | 4959 | 672 | 510 | 210 | 260 | 252 | 429 | 400 | 234 | 216 | 217 | 72 | 170 | 116 | 132 | 84 | 41 | 26.0054
Medium Pressure | Special crossings | MP special crossings | No. | 0 | 44 | 78 | 238 | 319 | 216 | 247 | 96 | 0 | 0 | 0 | 0 | 0 | 30 | 9 | 16 | 0 | 18 | 10 | 0 | 6 | 0 | 0 | 21.4032
Low Pressure | Main pipe | LP PE main pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low Pressure | Main pipe | LP steel main pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low Pressure | Main pipe | LP other main pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low Pressure | Service pipe | LP PE service pipe | km | 0 | 0 | 0 | 0 | 29 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.5
Low Pressure | Service pipe | LP steel service pipe | km | 0 | 0 | 0 | 0 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29
Low Pressure | Service pipe | LP other service pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low Pressure | Line valve | LP line valves | No. | 0 | 0 | 39 | 0 | 0 | 24 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 24 | 4 | 0 | 8
Low Pressure | Special crossings | LP special crossings | No. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All | Monitoring and control systems | Remote terminal units | No. | 0 | 0 | 0 | 0 | 0 | 0 | 608 | 16 | 15 | 14 | 0 | 0 | 44 | 10 | 171 | 24 | 7 | 0 | 5 | 0 | 0 | 6 | 4 | 13.0141
|  | Cathodic Protection | No. |  |  |  | 1 | 1 | 0 | 0 | 32 | 15 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 3.9375
[44 empty] | 9.52 | 71.43 | 19.05 |  | 4 | 7.1
|  | Total Closing RAB ($000) | 2015 ID x CPI of 0.5%
Intermediate Pressure | Main pipe | 63595.395
Medium Pressure | Main pipe | 316335.81
Low Pressure | Main pipe | 11778.6
| Service pipe | 73538.865
| Stations | 7833.975
| Line valve | 4827.015
| Special crossings | 4650.135
| Other Network Assets | 12004.725
| Non-Network Assets | 4666.215
| Total | 499230.735
Note on A1: Microsoft Office User: 2015 ID Schedule 9b

## Asset Forecast v AMP
Inflation figures used:
|  |  | 2013: 1% | [13 empty] | Forecast accuracy boundary (% variation)
Capex |  |  | 2014: 1.4%
2015: 0.5%
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2013 to 2014 AMP Forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
2013 AMP | Consumer connection |  | 10624.0289 | 10400.6794 | 10685.7846 | 10400.6794 | 10390.3868 | 10390.3868 | 10390.3868 | 10361.5675 | 10361.5675 | 10315.2507 | 10315.2507 |  |  |  | Consumer connection | 48.16% | 59.78% | 36.49% | 36.81% | 42.41% | 31.43% | 33.8% | 37.04% | 38.62% | 41.15%
2014 AMP | Consumer connection |  |  | 15409.3575 | 17073.4988 | 14195.6451 | 14215.0074 | 14796.8964 | 13656.5571 | 13863.4283 | 14199.7214 | 14298.5712 | 14560.4722 | 14870.2694 |  |  | System growth | -54.14% | -16.57% | -1.203% | -0.3351% | -0.3491% | -0.3204% | 0.02094% | -0.3358% | -0.3313% | -0.3143%
2015 AMP | Consumer connection |  |  |  | 17879.955 | 16230.75 | 16741.29 | 16522.2 | 15408.66 | 15745.335 | 15933.27 | 15982.515 | 16369.44 | 16743.3 | 16855.86 |  | Asset replacement and renewal | -8.839% | 19.93% | 54.45% | 91.37% | 94.2% | 203.5% | 203.5% | 208.6% | 208.6% | 208.6%
2016 AMP | Consumer connection |  |  |  |  | 16534 | 16900 | 14131 | 14251 | 14516 | 14650 | 14781 | 14832 | 14580 | 14750 | 14931 | Asset relocations | -44.49% | 7.318% | 57.75% | 104.2% | 99.07% | 38.09% | 26.38% | 31.76% | 31.76% | 31.76%
2013 AMP | System growth |  | 667.9902 | 3673.4314 | 5226.5858 | 3348.1851 | 3111.4551 | 3497.4279 | 5630.056 | 8466.6985 | 7164.6837 | 6496.6935 | 3317.3072 |  |  |  | Total reliability, safety and environment | 3.184% | -12.25% | -14.47% | -0.1785% | -0.1291% | -0.1752% | -0.1291% | 0.2957% | -0.3188% | 0.2957%
2014 AMP | System growth |  |  | 1684.5227 | 4360.6005 | 3307.9012 | 3101.03 | 3485.2194 | 5612.0185 | 8468.4717 | 7140.6235 | 6475.1708 | 3306.8821 | 1197.4072 |  |  | Non network assets | -28.14% | -22.07% | 15.21% | -44.6% | -26.41% | -19.65% | 13.65% | -35.26% | -27.75% | -18.56%
2015 AMP | System growth |  |  |  | 1888.395 | 6151.605 | 4851.135 | 3006.96 | 2253.21 | 7441.02 | 5740.56 | 6103.365 | 2667.27 | 1523.58 | 1523.58 |  | Value of capital contributions | -18.61% | 19.63% | 45.43% | 65.85% | 66.63% | 33.91% | 29.11% | 33.71% | 34.47% | 35.63%
2016 AMP | System growth |  |  |  |  | 294 | 994 | 1295 | 1646 | 799 | 1623 | 449 | 517 | 1093 | 1093 | 449 | Total capital expenditure (excl cost of funding and capital contributions) | -1.042% | 22.95% | 31.94% | 36.26% | 40.04% | 29.33% | 27.35% | 28.25% | 30.19% | 37.55%
2013 AMP | Asset replacement and renewal |  | 10223.6465 | 12801.9446 | 4194.2374 | 1571.6811 | 1531.5399 | 1173.3572 | 1076.6067 | 1076.6067 | 1050.8752 | 1050.8752 | 1050.8752
2014 AMP | Asset replacement and renewal |  |  | 11670.3896 | 5030.1295 | 2427.4247 | 2930.8453 | 2278.6405 | 3267.1384 | 3267.1384 | 3242.6807 | 3242.6807 | 3242.6807 | 3242.6807
2015 AMP | Asset replacement and renewal |  |  |  | 5940.555 | 3884.325 | 3441.12 | 2384.865 | 2214.015 | 3169.77 | 3219.015 | 3208.965 | 3208.965 | 3208.965 | 3208.965 |  | 2014 to 2015 AMP Forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
2016 AMP | Asset replacement and renewal |  |  |  |  | 1397 | 1644 | 1272 | 1199 | 1688 | 1688 | 1688 | 1688 | 1688 | 1688 | 1688 | Consumer connection |  | 4.723% | 14.34% | 17.77% | 11.66% | 12.83% | 13.57% | 12.21% | 11.78% | 12.42% | 12.6%
2013 AMP | Asset relocations |  | 1250.5518 | 3989.4145 | 3986.3267 | 2983.8268 | 2350.8314 | 2437.2893 | 3480.9597 | 3480.9597 | 3235.9956 | 3235.9956 | 3235.9956 |  |  |  | System growth |  | -56.69% | 85.97% | 56.44% | -13.72% | -59.85% | -12.13% | -19.61% | -5.742% | -19.34% | 27.24%
2014 AMP | Asset relocations |  |  | 2214.4391 | 4278.0559 | 4707.0843 | 4799.8197 | 4851.7923 | 4806.9532 | 4399.3252 | 4263.7889 | 4263.7889 | 4263.7889 | 4263.7889 |  |  | Asset replacement and renewal |  | 18.1% | 60.02% | 17.41% | 4.662% | -32.23% | -2.98% | -0.7298% | -1.04% | -1.04% | -1.04%
2015 AMP | Asset relocations |  |  |  | 1944.675 | 3817.995 | 4159.695 | 4006.935 | 4053.165 | 4015.98 | 3884.325 | 3884.325 | 3962.715 | 3962.715 | 3962.715 |  | Asset relocations |  | -54.54% | -18.89% | -13.34% | -17.41% | -15.68% | -8.714% | -8.9% | -8.9% | -7.061% | -7.061%
2016 AMP | Asset relocations |  |  |  |  | 2306 | 2264 | 2942 | 2279 | 2887 | 2042 | 1449 | 1714 | 1714 | 1714 | 1714 | Total reliability, safety and environment |  | 12.64% | 231.7% | 523% | 217.1% | -17.08% | -34.54% | -2.645% | -43.88% | -2.645% | -2.645%
2013 AMP | Total reliability, safety and environment |  | 458.021 | 610.3516 | 751.3603 | 415.8213 | 125.5698 | 118.365 | 250.1104 | 118.365 | 79.2531 | 303.6319 | 79.2531 |  |  |  | Non network assets |  | -27.31% | -37.07% | 76.02% | 99.77% | 39.84% | 3.596% | 118.9% | 88.83% | 66.42% | 102.6%
2014 AMP | Total reliability, safety and environment |  |  | 629.7853 | 659.3383 | 355.6554 | 125.3456 | 118.2121 | 249.6721 | 118.2121 | 79.4875 | 302.6638 | 79.4875 | 79.4875 |  |  | Value of capital contributions |  | -12.39% | 10.68% | 15.63% | 10.67% | 11.97% | 16.74% | 15.8% | 15.64% | 17.16% | 17.13%
2015 AMP | Total reliability, safety and environment |  |  |  | 742.695 | 1179.87 | 780.885 | 374.865 | 207.03 | 77.385 | 77.385 | 169.845 | 77.385 | 77.385 | 77.385 |  | Total capital expenditure (excl cost of funding and capital contributions) |  | -10.37% | 20.44% | 21.04% | 6.478% | -10.56% | 1.226% | 3.217% | 5.301% | 5.683% | 11.55%
2016 AMP | Total reliability, safety and environment |  |  |  |  | 304 | 492 | 583 | 605 | 518 | 197 | 137 | 0 | 0 | 0 | 0
2013 AMP | Non network assets |  | 1742.5384 | 1700.3387 | 1900.0153 | 1754.8895 | 1624.1734 | 1294.81 | 1338.0389 | 1350.39 | 1338.0389 | 1241.2884 | 1241.2884
2014 AMP | Non network assets |  |  | 1221.8649 | 1480.7087 | 2021.8349 | 899.8388 | 952.8304 | 1075.1188 | 1534.7194 | 866.2095 | 896.7816 | 1010.9174 | 954.8686
2015 AMP | Non network assets |  |  |  | 1076.355 | 1272.33 | 1583.88 | 1903.47 | 1503.48 | 1589.91 | 1896.435 | 1693.425 | 1682.37 | 1934.625 | 1819.05 |  | 2015 to 2016 AMP Forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
2016 AMP | Non network assets |  |  |  |  | 623 | 1234 | 1686 | 1341 | 1418 | 1694 | 1512 | 1497 | 1724 | 1537 | 1438 | Consumer connection |  |  | 1.868% | 0.948% | -14.47% | -7.513% | -7.808% | -8.054% | -7.518% | -9.392% | -12.92% | -12.49% |  | 3
2013 AMP | Value of capital contributions |  | 3348.1851 | 4632.7024 | 4798.4134 | 4183.9447 | 3829.8791 | 3990.4437 | 4917.8076 | 5035.1433 | 4960.0073 | 5072.1967 | 5198.7958 |  |  |  | System growth |  |  | -95.22% | -79.51% | -56.93% | -26.95% | -89.26% | -71.73% | -92.64% | -80.62% | -28.26% | -28.26%
2014 AMP | Value of capital contributions |  |  | 3770.559 | 5740.4213 | 6084.867 | 6351.8633 | 6649.4317 | 6585.2303 | 6500.6475 | 6632.1076 | 6820.6355 | 7050.9453 | 7300.6175 |  |  | Asset replacement and renewal |  |  | -64.03% | -52.22% | -46.66% | -45.84% | -46.75% | -47.56% | -47.4% | -47.4% | -47.4% | -47.4%
2015 AMP | Value of capital contributions |  |  |  | 5029.02 | 6734.505 | 7344.54 | 7358.61 | 7373.685 | 7588.755 | 7680.21 | 7887.24 | 8261.1 | 8551.545 | 8790.735 |  | Asset relocations |  |  | -39.6% | -45.57% | -26.58% | -43.77% | -28.11% | -47.43% | -62.7% | -56.75% | -56.75% | -56.75%
2016 AMP | Value of capital contributions |  |  |  |  | 4809 | 3943 | 4570 | 3957 | 4565 | 3783 | 3616 | 3991 | 4035 | 4148 | 4270 | Total reliability, safety and environment |  |  | -74.23% | -36.99% | 55.52% | 192.2% | 569.4% | 154.6% | -19.34% | -100% | -100% | -100%
2013 AMP | Total capital expenditure (excl cost of funding and capital contributions) |  | 24966.7768 | 33176.1601 | 26744.31 | 20475.0831 | 19133.9564 | 18911.6361 | 22166.1584 | 24854.5874 | 23230.414 | 22643.7354 | 19239.9703 |  |  |  | Non network assets |  |  | -51.03% | -22.09% | -11.42% | -10.81% | -10.81% | -10.67% | -10.71% | -11.02% | -10.89% | -15.51%
2014 AMP | Total capital expenditure (excl cost of funding and capital contributions) |  |  | 32830.3591 | 32882.3317 | 27015.5457 | 26071.8869 | 26483.5912 | 28667.4582 | 31651.2951 | 29792.5114 | 29479.657 | 26464.2288 | 24608.5024 |  |  | Value of capital contributions |  |  | -28.59% | -46.31% | -37.9% | -46.34% | -39.85% | -50.74% | -54.15% | -51.69% | -52.82% | -52.81%
2015 AMP | Total capital expenditure (excl cost of funding and capital contributions) |  |  |  | 29472.63 | 32536.875 | 31558.005 | 28199.295 | 25639.56 | 32039.4 | 30750.99 | 31042.44 | 27968.145 | 27450.57 | 27447.555 |  | Total capital expenditure (excl cost of funding and capital contributions) |  |  | -34.05% | -25.45% | -22.31% | -16.84% | -31.88% | -28.8% | -35.52% | -27.6% | -24.23% | -24.28%
2016 AMP | Total capital expenditure (excl cost of funding and capital contributions) |  |  |  |  | 21458 | 23528 | 21909 | 21321 | 21826 | 21894 | 20016 | 20248 | 20799 | 20782 | 20220
[17 empty] | Variance Boundary |  | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10%
Opex
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
2013 AMP | Service, Interruptions, Incidents and Emergencies |  | 4340.3924 | 4131.4524 | 4131.4524 | 4131.4524 | 4131.4524 | 4131.4524 | 4131.4524 | 4131.4524 | 4131.4524 | 4131.4524 | 4131.4524 | 4131.4524 |  |  | Capex |  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
2014 AMP | Service, Interruptions, Incidents and Emergencies |  |  | 3861.2562 | 3874.5041 | 3879.5995 | 3879.5995 | 3879.5995 | 3879.5995 | 3879.5995 | 3879.5995 | 3879.5995 | 3879.5995 | 3879.5995 |  |  | Prior year forecast |  |  | 24966.7768 | 33176.1601 | 32882.3317 | 32536.875
2015 AMP | Service, Interruptions, Incidents and Emergencies |  |  |  | 3930.555 | 3931.56 | 3931.56 | 3931.56 | 3931.56 | 3931.56 | 3931.56 | 3931.56 | 3931.56 | 3931.56 | 3931.56 |  | Actual expenditure |  |  | 13694 | 18806 | 13339
2016 AMP | Service, Interruptions, Incidents and Emergencies |  |  |  |  | 1959 | 1957 | 1957 | 1957 | 1957 | 1957 | 1957 | 1957 | 1957 | 1957 | 1957 | Difference |  |  | 11272.7768 | 14370.1601 | 19543.3317
2013 AMP | Routine and Corrective Maintenance and Inspection |  | 3836.0546 | 4683.1362 | 4695.4873 | 4739.7455 | 4676.9606 | 4754.1552 | 4757.243 | 4786.0623 | 4814.8816 | 4844.7301 | 4873.5494 |  |  |  | Difference % |  |  | 45.15% | 43.31% | 59.43%
2014 AMP | Routine and Corrective Maintenance and Inspection |  |  | 4410.535 | 4519.5754 | 4514.4801 | 4560.3382 | 4610.2727 | 4688.7411 | 4690.7792 | 4718.2941 | 4746.8281 | 4774.3429 | 4801.8578
2015 AMP | Routine and Corrective Maintenance and Inspection |  |  |  | 4197.885 | 4343.61 | 4345.62 | 4347.63 | 4350.645 | 4352.655 | 4354.665 | 4357.68 | 4359.69 | 4361.7 | 4364.715 |  | 2013 to 2014 AMP Forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
2016 AMP | Routine and Corrective Maintenance and Inspection |  |  |  |  | 2504 | 2453 | 2456 | 2458 | 2461 | 2464 | 2466 | 2469 | 2472 | 2475 | 2478 | Service, Interruptions, Incidents and Emergencies | -6.54% | -6.219% | -6.096% | -6.096% | -6.096% | -6.096% | -6.096% | -6.096% | -6.096% | -6.096%
2013 AMP | Asset Replacement and Renewal |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Routine and Corrective Maintenance and Inspection | -5.821% | -3.746% | -4.753% | -2.494% | -3.026% | -1.44% | -1.991% | -2.006% | -2.021% | -2.036%
2014 AMP | Asset Replacement and Renewal |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Asset Replacement and Renewal | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2015 AMP | Asset Replacement and Renewal |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | System Operations and Network Support | -14.71% | -9.547% | -9.147% | -9.147% | -9.147% | -9.147% | -9.147% | -9.147% | -9.147% | -9.147%
2016 AMP | Asset Replacement and Renewal |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Business Support | -17.66% | -6.697% | -6.697% | -6.697% | -6.697% | -6.697% | -6.697% | -6.697% | -6.697% | -6.697%
2013 AMP | System Operations and Network Support |  | 3522.1301 | 4128.3647 | 4442.2892 | 4422.7332 | 4422.7332 | 4422.7332 | 4422.7332 | 4422.7332 | 4422.7332 | 4422.7332 | 4422.7332 |  |  |  | Total Network Opex | -6.158% | -4.904% | -5.378% | -4.183% | -4.454% | -3.604% | -3.893% | -3.895% | -3.896% | -3.898%
2014 AMP | System Operations and Network Support |  |  | 3520.8868 | 4018.193 | 4018.193 | 4018.193 | 4018.193 | 4018.193 | 4018.193 | 4018.193 | 4018.193 | 4018.193 | 4018.193 |  |  | Total Opex | -12.28% | -6.553% | -6.658% | -6.184% | -6.286% | -5.944% | -6.057% | -6.055% | -6.053% | -6.051%
2015 AMP | System Operations and Network Support |  |  |  | 9981.66 | 10030.905 | 10030.905 | 10030.905 | 10030.905 | 10030.905 | 10030.905 | 10030.905 | 10030.905 | 10030.905 | 10030.905
2016 AMP | System Operations and Network Support |  |  |  |  | 1924 | 3021 | 3021 | 3021 | 3021 | 3021 | 3021 | 3021 | 3021 | 3021 | 3021
2013 AMP | Business Support |  | 7216.1468 | 8174.3885 | 8803.2668 | 8803.2668 | 8803.2668 | 8803.2668 | 8803.2668 | 8803.2668 | 8803.2668 | 8803.2668 | 8803.2668
2014 AMP | Business Support |  |  | 6730.9573 | 8213.7042 | 8213.7042 | 8213.7042 | 8213.7042 | 8213.7042 | 8213.7042 | 8213.7042 | 8213.7042 | 8213.7042 | 8213.7042
2015 AMP | Business Support |  |  |  | 558.78 | 558.78 | 558.78 | 558.78 | 558.78 | 558.78 | 558.78 | 558.78 | 558.78 | 558.78 | 558.78 |  | 2014 to 2015 AMP Forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
2016 AMP | Business Support |  |  |  |  | 4134 | 4336 | 4336 | 4336 | 4336 | 4336 | 4336 | 4336 | 4336 | 4336 | 4336 | Service, Interruptions, Incidents and Emergencies |  | 1.447% | 1.339% | 1.339% | 1.339% | 1.339% | 1.339% | 1.339% | 1.339% | 1.339% | 1.339%
2013 AMP | Total Network Opex |  | 8176.447 | 8814.5886 | 8826.9398 | 8871.198 | 8808.4131 | 8885.6076 | 8888.6954 | 8917.5147 | 8946.334 | 8976.1826 | 9005.0019 |  |  |  | Routine and Corrective Maintenance and Inspection |  | -7.118% | -3.785% | -4.708% | -5.697% | -7.211% | -7.208% | -7.707% | -8.198% | -8.685% | -9.166%
2014 AMP | Total Network Opex |  |  | 8271.7912 | 8394.0796 | 8394.0796 | 8439.9377 | 8489.8722 | 8568.3406 | 8570.3787 | 8597.8936 | 8626.4276 | 8653.9424 | 8681.4573 |  |  | Asset Replacement and Renewal | bar: 2015 to 2024
2015 AMP | Total Network Opex |  |  |  | 8128.44 | 8275.17 | 8277.18 | 8279.19 | 8282.205 | 8284.215 | 8286.225 | 8289.24 | 8291.25 | 8293.26 | 8296.275 |  | System Operations and Network Support |  | 148.4% | 149.6% | 149.6% | 149.6% | 149.6% | 149.6% | 149.6% | 149.6% | 149.6% | 149.6%
2016 AMP | Total Network Opex |  |  |  |  | 4463 | 4410 | 4413 | 4415 | 4418 | 4421 | 4423 | 4426 | 4429 | 4432 | 4435 | Business Support |  | -93.2% | -93.2% | -93.2% | -93.2% | -93.2% | -93.2% | -93.2% | -93.2% | -93.2% | -93.2%
2013 AMP | Total Opex |  | 18914.7239 | 21117.3418 | 22072.4957 | 22097.198 | 22034.4131 | 22111.6076 | 22114.6954 | 22143.5147 | 22172.334 | 22202.1826 | 22231.0019 |  |  |  | Total Network Opex |  | -3.165% | -1.417% | -1.928% | -2.482% | -3.339% | -3.339% | -3.625% | -3.909% | -4.191% | -4.472%
2014 AMP | Total Opex |  |  | 18523.6354 | 20625.9768 | 20625.9768 | 20671.8349 | 20721.7694 | 20800.2378 | 20802.2759 | 20829.7908 | 20858.3248 | 20885.8396 | 20913.3545 |  |  | Total Opex |  | -9.489% | -8.538% | -8.732% | -8.942% | -9.271% | -9.27% | -9.38% | -9.49% | -9.599% | -9.709%
2015 AMP | Total Opex |  |  |  | 18668.88 | 18864.855 | 18866.865 | 18868.875 | 18871.89 | 18873.9 | 18875.91 | 18878.925 | 18880.935 | 18882.945 | 18885.96
2016 AMP | Total Opex |  |  |  |  | 10521 | 11767 | 11770 | 11772 | 11775 | 11778 | 11780 | 11783 | 11786 | 11789 | 11792 | 2015 to 2016 AMP Forecasts
[17 empty] | Service, Interruptions, Incidents and Emergencies |  |  | -50.17% | -50.22% | -50.22% | -50.22% | -50.22% | -50.22% | -50.22% | -50.22% | -50.22% | -50.22%
[17 empty] | Routine and Corrective Maintenance and Inspection |  |  | -42.35% | -43.55% | -43.51% | -43.5% | -43.46% | -43.42% | -43.41% | -43.37% | -43.32% | -43.3%
[17 empty] | Asset Replacement and Renewal |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
[17 empty] | System Operations and Network Support |  |  | -80.82% | -69.88% | -69.88% | -69.88% | -69.88% | -69.88% | -69.88% | -69.88% | -69.88% | -69.88%
[17 empty] | Business Support |  |  | 639.8% | 676% | 676% | 676% | 676% | 676% | 676% | 676% | 676% | 676%
[17 empty] | Total Network Opex |  |  | -46.07% | -46.72% | -46.7% | -46.69% | -46.67% | -46.65% | -46.64% | -46.62% | -46.6% | -46.58%
[17 empty] | Total Opex |  |  | -44.23% | -37.63% | -37.62% | -37.62% | -37.61% | -37.6% | -37.6% | -37.59% | -37.58% | -37.58%
[17 empty] | Opex | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
[17 empty] | Prior year forecast | 2013: 18914.7239; 2014: 21117.3418; 2015: 20625.9768; 2016: 18864.855
[17 empty] | Actual expenditure | 2013: 10763; 2014: 10816; 2015: 10825
[17 empty] | Difference | 2013: 8151.7239; 2014: 10301.3418; 2015: 9800.9768
[17 empty] | Difference % | 2013: 43.1%; 2014: 48.78%; 2015: 47.52%
Note on L10: Richard H: Capital contributions per category were removed from these numbers in the data input sheet, they have been added back in here for comparison to previous AMP forecasts that do not include Capital Contributions
Note on L22: Richard H: Capital contributions per category were removed from these numbers in the data input sheet, they have been added back in here for comparison to previous AMP forecasts that do not include Capital Contributions

## Main Dashboard
Expenditure Overview
3
Assets
Asset Class |  | Units | Current Average Age (Years / Unit) | Total size (km + units) | Grade 1 | Grade 2 | Grade 3 | Grade 4 | Grade Unknown | % of asset forecast to be replaced in the next 5 years | Size of assets to be replaced | Assets requiring replacement | Assessment Indication Prompt
IP PE main pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
IP steel main pipe |  | km | 30.3425 | 219 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
IP other main pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
IP PE service pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
IP steel service pipe |  | km | 24 | 6 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
IP other service pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
Intermediate pressure DRS |  | No. | 22.3548 | 93 | 0% | 0% | 20.73% | 79.27% | 0% | 7.32% | 6.8076 | 0 | Assessment Required - Replacement vs Required
IP line valves |  | No. | 25.7872 | 672 | 0% | 5.67% | 76.31% | 7.23% | 10.78% | 0% | 0 | 30.4819 | Assessment Required - Replacement vs Required
IP crossings |  | No. | 26.7778 | 18 | 0% | 5.88% | 76.47% | 17.65% | 0% | 3.7% | 0.666 | 0.84672
MP PE main pipe |  | km | 17.3892 | 3404 | 0% | 0.46% | 0% | 99.54% | 0% | 0.19% | 6.4676 | 12.5267 | Assessment Required - Replacement vs Required
MP steel main pipe |  | km | 33.9857 | 210 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
MP other main pipe |  | km | 51 | 1 | 0% | 100% | 0% | 0% | 0% | 100% | 1 | 0.8 | Assessment Required - Average Age
MP PE service pipe |  | km | 15.9387 | 2219 | 0% | 0.36% | 99.64% | 0% | 0% | 0.15% | 3.3285 | 6.3907 | Assessment Required - Replacement vs Required
MP steel service pipe |  | km | 31 | 27 | 0% | 0% | 100% | 0% | 0% | 0% | 0 | 0
MP other service pipe |  | km | 29 | 2 | 0% | 0% | 100% | 0% | 0% | 0% | 0 | 0
Medium pressure DRS |  | No. | 22.2476 | 210 | 0% | 0% | 22.22% | 77.78% | 0% | 0% | 0 | 0
MP line valves |  | No. | 26.0054 | 2777 | 0% | 3.03% | 82.12% | 3.37% | 11.49% | 0% | 0 | 67.3145 | Assessment Required - Replacement vs Required
MP special crossings |  | No. | 21.4032 | 62 | 0% | 7.81% | 45.31% | 45.31% | 1.56% | 3.7% | 2.294 | 3.8738 | Assessment Required - Replacement vs Required
LP PE main pipe |  | km |  | 0 | 0% | 0% | 0% | 100% | 0% | 0% |  |  |  | Either Grading but no Asset, or Asset but no Grading
LP steel main pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
LP other main pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
LP PE service pipe |  | km | 26.5 | 2 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
LP steel service pipe |  | km | 29 | 1 | 0% | 0% | 100% | 0% | 0% | 0% | 0 | 0
LP other service pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
LP line valves |  | No. | 8 | 15 | 0% | 0% | 54.55% | 0% | 45.45% | 0% | 0 | 0
LP special crossings |  | No. |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
Remote terminal units |  | No. | 13.0141 | 71 | 0% | 1.39% | 22.22% | 76.39% | 0% | 27.08% | 19.2268 | 0.78952 | Assessment Required - Replacement vs Required
Cathodic protection units |  | No. | 3.9375 | 16 | 0% | 9.52% | 71.43% | 19.05% | 0% | 7.1% | 1.136 | 1.2186
Total |  |  | 20.8477 | 10009 | 0% | 1.536% | 51.61% | 42.86% | 3.989% | 0.3975% | 39.7905 | 123.0238 | Assessment Required - Replacement vs Required
Km |  |  |  | 6091 | 0% | 0.4046% | 36.79% | 62.8% | 0% | 0.1772% | 10.7961 | 19.7174 | Assessment Required - Replacement vs Required
No. |  |  |  | 3918 | 0% | 3.296% | 74.66% | 11.86% | 10.19% | 0.74% | 28.9944 | 103.3064 | Assessment Required - Replacement vs Required
[9 empty] | Estimated 5 year R&R expenditure range - based on estimated asset base value | From : $4,459 To : $10,002** |  | ** This can be made more accurate if we obtain approximate $values for each asset category
[9 empty] | Forecast 5 year R&R | 7491 |  | * See Base rows 79 - 83 for Replacement % Settings
[9 empty] | Forecast 5 year R&R as a percentage of 2015 RAB | 1.501%

## Opex Dashboard
Opex Details
Changes from Base Case ($000) | Service interruptions, incidents and emergencies | Routine and corrective maintenance and inspection | Asset replacement and renewal | System operations and network support | Business support
2013 | 5.75 | 8 | 0 | 5.5 | 12.5
2014 | 15.75 | 20 | 0 | 15.5 | 33.5
2015 | 17.75 | 22 | 0 | 17.5 | 36.5
2016 | -39.25 | -50 | 0 | -38.5 | -82.5
2017 | -41.25 | -101 | 0 | 1058.5 | 119.5
2018 | -41.25 | -98 | 0 | 1058.5 | 119.5
2019 | -41.25 | -96 | 0 | 1058.5 | 119.5
2020 | -41.25 | -93 | 0 | 1058.5 | 119.5
2021 | -41.25 | -90 | 0 | 1058.5 | 119.5
2022 | -41.25 | -88 | 0 | 1058.5 | 119.5
2023 | -41.25 | -85 | 0 | 1058.5 | 119.5
2024 | -41.25 | -82 | 0 | 1058.5 | 119.5
2025 | -41.25 | -79 | 0 | 1058.5 | 119.5
| 1058.5 | 1058.5 | 1058.5 | 1058.5 | 1058.5
Forecast Variances
Variance Boundary | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5%
| -5% | -5% | -5% | -5% | -5% | -5% | -5% | -5% | -5% | -5% | -5%
2013 to 2014 AMP Forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Service, Interruptions, Incidents and Emergencies | -6.54% | -6.219% | -6.096% | -6.096% | -6.096% | -6.096% | -6.096% | -6.096% | -6.096% | -6.096%
Routine and Corrective Maintenance and Inspection | -5.821% | -3.746% | -4.753% | -2.494% | -3.026% | -1.44% | -1.991% | -2.006% | -2.021% | -2.036%
Asset Replacement and Renewal | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
System Operations and Network Support | -14.71% | -9.547% | -9.147% | -9.147% | -9.147% | -9.147% | -9.147% | -9.147% | -9.147% | -9.147%
Business Support | -17.66% | -6.697% | -6.697% | -6.697% | -6.697% | -6.697% | -6.697% | -6.697% | -6.697% | -6.697%
Total Network Opex | -6.158% | -4.904% | -5.378% | -4.183% | -4.454% | -3.604% | -3.893% | -3.895% | -3.896% | -3.898%
Total Opex | -12.28% | -6.553% | -6.658% | -6.184% | -6.286% | -5.944% | -6.057% | -6.055% | -6.053% | -6.051%
2014 to 2015 AMP Forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Service, Interruptions, Incidents and Emergencies |  | 1.447% | 1.339% | 1.339% | 1.339% | 1.339% | 1.339% | 1.339% | 1.339% | 1.339% | 1.339%
Routine and Corrective Maintenance and Inspection |  | -7.118% | -3.785% | -4.708% | -5.697% | -7.211% | -7.208% | -7.707% | -8.198% | -8.685% | -9.166%
Asset Replacement and Renewal |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
System Operations and Network Support |  | 148.4% | 149.6% | 149.6% | 149.6% | 149.6% | 149.6% | 149.6% | 149.6% | 149.6% | 149.6%
Business Support |  | -93.2% | -93.2% | -93.2% | -93.2% | -93.2% | -93.2% | -93.2% | -93.2% | -93.2% | -93.2%
Total Network Opex |  | -3.165% | -1.417% | -1.928% | -2.482% | -3.339% | -3.339% | -3.625% | -3.909% | -4.191% | -4.472%
Total Opex |  | -9.489% | -8.538% | -8.732% | -8.942% | -9.271% | -9.27% | -9.38% | -9.49% | -9.599% | -9.709%
2015 to 2016 AMP Forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Service, Interruptions, Incidents and Emergencies |  |  | -50.17% | -50.22% | -50.22% | -50.22% | -50.22% | -50.22% | -50.22% | -50.22% | -50.22% | -50.22%
Routine and Corrective Maintenance and Inspection |  |  | -42.35% | -43.55% | -43.51% | -43.5% | -43.46% | -43.42% | -43.41% | -43.37% | -43.32% | -43.3%
Asset Replacement and Renewal |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
System Operations and Network Support |  |  | -80.82% | -69.88% | -69.88% | -69.88% | -69.88% | -69.88% | -69.88% | -69.88% | -69.88% | -69.88%
Business Support |  |  | 639.8% | 676% | 676% | 676% | 676% | 676% | 676% | 676% | 676% | 676%
Total Network Opex |  |  | -46.07% | -46.72% | -46.7% | -46.69% | -46.67% | -46.65% | -46.64% | -46.62% | -46.6% | -46.58%
Total Opex |  |  | -44.23% | -37.63% | -37.62% | -37.62% | -37.61% | -37.6% | -37.6% | -37.59% | -37.58% | -37.58%
7
2013 to 2014 AMP Forecasts Total Opex | -12.28% | -6.553% | -6.658% | -6.184% | -6.286% | -5.944% | -6.057% | -6.055% | -6.053% | -6.051%
2014 to 2015 AMP Forecasts Total Opex | 0% | -9.489% | -8.538% | -8.732% | -8.942% | -9.271% | -9.27% | -9.38% | -9.49% | -9.599% | -9.709%
2015 to 2016 AMP Forecasts Total Opex |  | 0% | -44.23% | -37.63% | -37.62% | -37.62% | -37.61% | -37.6% | -37.6% | -37.59% | -37.58% | -37.58%
Forcast vs actual expenditure variation

## Capex Dashboard
Capex Details
** Capex categories in these charts (Lines graph portions) exclude capital contributions for 2016 to 2021
Boundary Adjustments can include or exclude Capital Contributions using the box below:
Changes in Capex Categories from the Base Case ($000 with base case as +/-)
Year | Consumer connection | System growth | Asset replacement and renewal | Asset relocations | Total reliability, safety and environment | Expenditure on Non-Network Assets
2013 | -2015.25 | -46.25 | -219 | 26.75 | -47.75 | 721
2014 | 3424.75 | 45.75 | 218 | 191.75 | 47.25 | 225
2015 | -1216.25 | -32.25 | -155 | -80.25 | -33.75 | 293
2016 | -193.25 | 32.75 | 156 | -138.25 | 34.25 | -111
2017 | 353.75 | 732.75 | 403 | -337.25 | 222.25 | 500
2018 | -2402.25 | 1033.75 | 31 | -299.25 | 313.25 | 952
2019 | -2294.25 | 1384.75 | -42 | -337.25 | 335.25 | 607
2020 | -2063.25 | 537.75 | 447 | -303.25 | 248.25 | 684
2021 | -1946.25 | 1361.75 | 447 | -349.25 | -72.75 | 960
2022 | 39.75 | 187.75 | 447 | 985.75 | -132.75 | 778
2023 | 90.75 | 255.75 | 447 | 1250.75 | -269.75 | 763
2024 | -161.25 | 831.75 | 447 | 1250.75 | -269.75 | 990
2025 | 8.75 | 831.75 | 447 | 1250.75 | -269.75 | 803
Base Case
For Asset Comparisons (Yellow, Dark Blue and Grey), see the Asset Management section below
Drivers of System Growth Capex
Year | System Growth Capex ($000) | Change in SG Capex from previous year as % of BAU base SG Capex | Additional SG Capex above BAU base SG Capex | Energy Supplied (GJ) | Additional supply as % of BAU base supply | Total Pipe Length | Additional asset growth as % of BAU base assets | Year End ICPs | Additional Customers as % of BAU base ICPs | Materiality Boundary Assessment
2013 | 215 |  | -17.7% | 21589120 |  | 10478 |  | 156952
2014 | 307 | 35.22% | 17.51% | 21934671 | 1.542% | 10623 | 2.381% | 159738 | 1.722% | Assessment Required
2015 | 229 | -29.86% | -12.34% | 22788368 | 3.811% | 10770 | 2.413% | 163243 | 2.167% | Assessment Required
2016 | 294 | 24.88% | 12.54% | 13954111 | -39.43% | 10770 | 0% | 104344 | -36.41% | Assessment Required
2017 | 994 | 267.9% | 280.5% | 13792297 | -0.7223% | 10770 | 0% | 107325 | 1.843% | Assessment Required
2018 | 1295 | 115.2% | 395.7% | 13907274 | 0.5132% | 10770 | 0% | 110470 | 1.944% | Assessment Required
2019 | 1646 | 134.4% | 530% | 14117459 | 0.9382% | 10770 | 0% | 113610 | 1.941% | Assessment Required
2020 | 799 | -324.2% | 205.8% | 14225679 | 0.4831% | 10770 | 0% | 116833 | 1.993% | Assessment Required
2021 | 1623 | 315.4% | 521.2% | 14327232 | 0.4533% | 10770 | 0% | 120096 | 2.017% | Assessment Required
2022 | 449 | -449.4% | 71.87% | 14327232 | 0% | 10770 | 0% | 120096 | 0% | Assessment Required
2023 | 517 | 26.03% | 97.89% | 14327232 | 0% | 10770 | 0% | 120096 | 0% | Assessment Required
2024 | 1093 | 220.5% | 318.4% | 14327232 | 0% | 10770 | 0% | 120096 | 0% | Assessment Required
2025 | 1093 | 0% | 318.4% | 14327232 | 0% | 10770 | 0% | 120096 | 0% | Assessment Required
Base Case | 261.25 |  |  | 22403000 |  | 6091 |  | 161748
Forecast Variances
Variance Boundary | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10%
| -10% | -10% | -10% | -10% | -10% | -10% | -10% | -10% | -10% | -10% | -10%
2013 to 2014 AMP Forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Consumer connection | 48.16% | 59.78% | 36.49% | 36.81% | 42.41% | 31.43% | 33.8% | 37.04% | 38.62% | 41.15%
System growth | -54.14% | -16.57% | -1.203% | -0.3351% | -0.3491% | -0.3204% | 0.02094% | -0.3358% | -0.3313% | -0.3143%
Asset replacement and renewal | -8.839% | 19.93% | 54.45% | 91.37% | 94.2% | 203.5% | 203.5% | 208.6% | 208.6% | 208.6%
Asset relocations | -44.49% | 7.318% | 57.75% | 104.2% | 99.07% | 38.09% | 26.38% | 31.76% | 31.76% | 31.76%
Total reliability, safety and environment | 3.184% | -12.25% | -14.47% | -0.1785% | -0.1291% | -0.1752% | -0.1291% | 0.2957% | -0.3188% | 0.2957%
Non network assets | -28.14% | -22.07% | 15.21% | -44.6% | -26.41% | -19.65% | 13.65% | -35.26% | -27.75% | -18.56%
Value of capital contributions | -18.61% | 19.63% | 45.43% | 65.85% | 66.63% | 33.91% | 29.11% | 33.71% | 34.47% | 35.63%
Total capital expenditure (excl cost of funding and capital contributions) | -1.042% | 22.95% | 31.94% | 36.26% | 40.04% | 29.33% | 27.35% | 28.25% | 30.19% | 37.55%
2014 to 2015 AMP Forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Consumer connection |  | 4.723% | 14.34% | 17.77% | 11.66% | 12.83% | 13.57% | 12.21% | 11.78% | 12.42% | 12.6%
System growth |  | -56.69% | 85.97% | 56.44% | -13.72% | -59.85% | -12.13% | -19.61% | -5.742% | -19.34% | 27.24%
Asset replacement and renewal |  | 18.1% | 60.02% | 17.41% | 4.662% | -32.23% | -2.98% | -0.7298% | -1.04% | -1.04% | -1.04%
Asset relocations |  | -54.54% | -18.89% | -13.34% | -17.41% | -15.68% | -8.714% | -8.9% | -8.9% | -7.061% | -7.061%
Total reliability, safety and environment |  | 12.64% | 231.7% | 523% | 217.1% | -17.08% | -34.54% | -2.645% | -43.88% | -2.645% | -2.645%
Non network assets |  | -27.31% | -37.07% | 76.02% | 99.77% | 39.84% | 3.596% | 118.9% | 88.83% | 66.42% | 102.6%
Value of capital contributions |  | -12.39% | 10.68% | 15.63% | 10.67% | 11.97% | 16.74% | 15.8% | 15.64% | 17.16% | 17.13%
Total capital expenditure (excl cost of funding and capital contributions) |  | -10.37% | 20.44% | 21.04% | 6.478% | -10.56% | 1.226% | 3.217% | 5.301% | 5.683% | 11.55%
2015 to 2016 AMP Forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Consumer connection |  |  | 1.868% | 0.948% | -14.47% | -7.513% | -7.808% | -8.054% | -7.518% | -9.392% | -12.92% | -12.49%
System growth |  |  | -95.22% | -79.51% | -56.93% | -26.95% | -89.26% | -71.73% | -92.64% | -80.62% | -28.26% | -28.26%
Asset replacement and renewal |  |  | -64.03% | -52.22% | -46.66% | -45.84% | -46.75% | -47.56% | -47.4% | -47.4% | -47.4% | -47.4%
Asset relocations |  |  | -39.6% | -45.57% | -26.58% | -43.77% | -28.11% | -47.43% | -62.7% | -56.75% | -56.75% | -56.75%
Total reliability, safety and environment |  |  | -74.23% | -36.99% | 55.52% | 192.2% | 569.4% | 154.6% | -19.34% | -100% | -100% | -100%
Non network assets |  |  | -51.03% | -22.09% | -11.42% | -10.81% | -10.81% | -10.67% | -10.71% | -11.02% | -10.89% | -15.51%
Value of capital contributions |  |  | -28.59% | -46.31% | -37.9% | -46.34% | -39.85% | -50.74% | -54.15% | -51.69% | -52.82% | -52.81%
Total capital expenditure (excl cost of funding and capital contributions) |  |  | -34.05% | -25.45% | -22.31% | -16.84% | -31.88% | -28.8% | -35.52% | -27.6% | -24.23% | -24.28%
8
2013 to 2014 AMP Forecasts Total capital expenditure (excl cost of funding and capital contributions) | -1.042% | 22.95% | 31.94% | 36.26% | 40.04% | 29.33% | 27.35% | 28.25% | 30.19% | 37.55% | 0% | 0%
2014 to 2015 AMP Forecasts Total capital expenditure (excl cost of funding and capital contributions) | 0% | -10.37% | 20.44% | 21.04% | 6.478% | -10.56% | 1.226% | 3.217% | 5.301% | 5.683% | 11.55% | 0%
2015 to 2016 AMP Forecasts Total capital expenditure (excl cost of funding and capital contributions) |  | 0% | -34.05% | -25.45% | -22.31% | -16.84% | -31.88% | -28.8% | -35.52% | -27.6% | -24.23% | -24.28%

## Base
Primary Materiality Boundary
|  | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | +/- | 10 | 3
| Total Capex boundary ($000) | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 1771.05 | 5 | 4
| Total Opex boundary ($000) | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 536.5625
| Capex Base Year | 2013: 14
| Opex Base Year | 2013: 14; 2015: Base-Step-Trend Calculations; 2016: Annual Trend Factor (Real)
| Capex Variance Margin | 2015: Trend (Low); 2016: 1.0016
| Opex Variance Margin | 2015: Trend (Mid); 2016: 1.022
|  |  |  | Trend (High) | 1.0425
Base Year Capex
| Capex Category | 2013: Amount; 2014: Base Case
| Consumer connection | 2013: 14741.25; 2014: 14741.25
| System growth | 2013: 261.25; 2014: 261.25
| Asset replacement and renewal | 2013: 1241; 2014: 1241
| Asset relocations | 2013: 463.25; 2014: 463.25
| Total reliability, safety and environment | 2013: 269.75; 2014: 269.75
Quality of supply
Legislative and regulatory
Other reliability, safety and environment
| Expenditure on non-network assets | 2013: 734; 2014: 734
| Value of capital contributions | 2013: 3362.25; 2014: 3362.25
| Total capital expenditure | 2013: 17710.5; 2014: 17710.5
| Total capital expenditure (excl cost of funding and capital contributions) | 2013: 14348.25; 2014: 14348.25
Base Year Opex
| Opex Category | 2013: Amount; 2014: Base Case
| Operational expenditure ($ real) | 2013: 10731.25; 2014: 10731.25
| Service interruptions, incidents and emergencies | 2013: 1998.25; 2014: 1998.25
| Routine and corrective maintenance and inspection | 2013: 2554; 2014: 2554
| Asset replacement and renewal | 2013: 0; 2014: 0
| Total network opex | 2013: 4552.25; 2014: 4552.25
| System operations and network support | 2013: 1962.5; 2014: 1962.5
| Business support | 2013: 4216.5; 2014: 4216.5
| Total non Network opex | 2013: 6179; 2014: 6179
| Total operational expenditure | 2013: 10731.25; 2014: 10731.25
Base Year Service Numbers
8(i) | Customer Base - Total
| Customer Type | 2013: Average ICPs; 2014: Gas Delivered (GJ); 2015: Billed Quantities; 2017: $/ICP; 2018: $/GJ; 2019: GJ/ICP
| Residential / Small Commercial | 2013: 151735; 2014: 3508; 2015: 1029718904; 2016: 0.16392; 2017: 6786.2978; 2018: 293534.4652; 2019: 0.023119
| Commercial | 2013: 10013; 2014: 18895; 2015: 5252158482; 2016: 0.9381; 2017: 524533.9541; 2018: 277965.519; 2019: 1.887
| Industrial | 2013: 0; 2014: 0; 2015: 0; 2017: 0; 2018: 0; 2019: 0
| Total | 2013: 161748; 2014: 22403; 2015: 6281877386; 2017: 38837.4347; 2018: 280403.4007; 2019: 0.13851
Current Network Size
| Km | 2013: 465248.67
| Operating cost per Km | 2013: 0.023066
| New Connections | 2013: Connections; 2014: Base Case Connections; 2015: Gas Delivered (Gj)
| Residential / Small Commercial | 2013: 3487; 2014: 3487; 2015: 3508
| Commercial | 2013: 306; 2014: 306; 2015: 18895
| Industrial | 2013: 0; 2014: 0; 2015: 0
| Existing ICPs | 2013: 163243; 2014: 163243
| Consumer Connection Capex($000) | 2013: 14741.25
| Average Cost per Connection | 2013: 3.8864
| Cost per existing ICP | 2013: 0.12373
| System Growth Capex + Operational Expenditure Opex($000) | 2015: 10992.5
| Cost of delivery per ($000/GJ) | 2015: 0.49067
Base Year Assets - From ID
| Asset Type | 2013: Current Valuation ($000); 2014: Size of Assets; 2015: Average Value; 2016: Unit
| Main Pipe | 2013: 391709.805; 2014: 3834; 2015: 102.1674; 2016: $000/km
| Service Pipe | 2013: 73538.865; 2014: 2257; 2015: 32.5826; 2016: $000/km
| Stations | 2013: 7833.975; 2014: 303; 2015: 25.8547; 2016: $000/Station
| Line Valve | 2013: 4827.015; 2014: 3464; 2015: 1.3935; 2016: $000/Valve
| Special Crossings | 2013: 4650.135; 2014: 80; 2015: 58.1267; 2016: $000/Crossing
| Other Network Assets | 2013: 12004.725; 2014: 71; 2015: 169.0806; 2016: $000/number
| Non-network assets | 2013: 4666.215
| Total | 2013: 499230.735; 2014: 10009; 2015: 49.8782; 2016: $000/unit
| Replacement Requirements | 2013: Grade; 2014: Percent to be replaced; 2015: Confirmation
|  | Grade 1: | 100 | 100%
|  | Grade 2: | 80 | 80%
|  | Grade 3: | 101 | 0%
|  | Grade 4: | 101 | 0%
|  | Accepted Unknown Assets: | 50 | 50%
|  | Average Age (years): | 50
|  | For Materiality, must be greater than (km): | 0.5

## Scenarios (hidden)
OPEX Materiality Boundary Scenarios | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Step Trend+20% | 10763 | 13173.912 | 13437.3902 | 13706.138 | 13980.2608 | 14259.866 | 14545.0633 | 14835.9646 | 15132.6839 | 15435.3376 | 15744.0443 | 16058.9252 | 16380.1037 | 10763 | 10978.26 | 11197.8252 | 11421.7817 | 11650.2173 | 11883.2217 | 12120.8861 | 12363.3038 | 12610.5699 | 12862.7813 | 13120.0369 | 13382.4377 | 13650.0864
Fixed Scenario @ real 2013 | 10763 | 10763 | 10763 | 10763 | 10763 | 10763 | 10763 | 10763 | 10763 | 10763 | 10763 | 10763 | 10763
Fixed Scenario @ Boundary 2013 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333
Fixed Scenario @ Base Average | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333 | 10801.3333
Fixed Scenario @ real 2015 | 10825 | 10825 | 10825 | 10825 | 10825 | 10825 | 10825 | 10825 | 10825 | 10825 | 10825 | 10825 | 10825
Fixed Scenario @ real 2016 | 10521 | 10521 | 10521 | 10521 | 10521 | 10521 | 10521 | 10521 | 10521 | 10521 | 10521 | 10521 | 10521
CAPEX Materiality Boundary Scenarios | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Step Trend+20% | 13694 | 16432.8 | 16761.456 | 17096.6851 | 17438.6188 | 17787.3912 | 18143.139 | 18506.0018 | 18876.1218 | 19253.6443 | 19638.7172 | 20031.4915 | 20432.1213 | 13694 | 13967.88 | 14247.2376 | 14532.1824 | 14822.826 | 15119.2825 | 15421.6682 | 15730.1015 | 16044.7036 | 16365.5976 | 16692.9096 | 17026.7678 | 17367.3031
Fixed Scenario @ real 2013 | 13694 | 13694 | 13694 | 13694 | 13694 | 13694 | 13694 | 13694 | 13694 | 13694 | 13694 | 13694 | 13694
Fixed Scenario @ Base Average | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667 | 15279.6667
Fixed Scenario @ Base 2013 | 14348.25 | 14348.25 | 14348.25 | 14348.25 | 14348.25 | 14348.25 | 14348.25 | 14348.25 | 14348.25 | 14348.25 | 14348.25 | 14348.25 | 14348.25
Fixed Scenario @ real 2016 | 17491 | 17491 | 17491 | 17491 | 17491 | 17491 | 17491 | 17491 | 17491 | 17491 | 17491 | 17491 | 17491
1% | Expenditure to number of ICPs
2% | Expenditure to total energy supply
3% | Expenditure to estimated network size (km)
4% | Estimated Total Service
5% | Average Number of ICPs
6% | Total gas conveyed/annum (GJ)
7% | km of pipeline for supply
8%
9% | Estimated Cost of Additional ICPs
10% | Estimated Cost of Total Supplied Energy
11% | Estimated Cost of new Network Expansion (Pipe Length)
12% | Estimated Cost of Service
13%
14% | Include Capital Contributions
15% | Exclude Capital Contributions
16%
17%
18%
19%
20%
21%
22%
23%
24%
25%
26%
27%
28%
29%
30%
31%
32%
33%
34%
35%
36%
37%
38%
39%
40%
41%
42%
43%
44%
45%
46%
47%
48%
49%
50%
51%
52%
53%
54%
55%
56%
57%
58%
59%
60%
61%
62%
63%
64%
65%
66%
67%
68%
69%
70%
71%
72%
73%
74%
75%
76%
77%
78%
79%
80%
81%
82%
83%
84%
85%
86%
87%
88%
89%
90%
91%
92%
93%
94%
95%
96%
97%
98%
99%
100%
0%

## Ratios (hidden)
Ratios
Forecast
Operational Expenditure | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Expenditure per TJ energy delivered to ICPs
Network | 211.4954 | 209.1666 | 201.5063 | 319.8341 | 319.7437 | 317.316 | 312.7333 | 310.5651 | 308.5732 | 308.7128 | 308.9222 | 309.1316 | 309.341
Non Network | 287.0427 | 283.9341 | 273.5167 | 434.1373 | 533.4137 | 529.0037 | 521.1278 | 517.1634 | 513.4977 | 513.4977 | 513.4977 | 513.4977 | 513.4977
Expenditure per aveage number of ICPs
Network | 29.0917 | 28.722 | 28.1298 | 42.772 | 41.0901 | 39.9475 | 38.861 | 37.8147 | 36.8122 | 36.8289 | 36.8539 | 36.8788 | 36.9038
Non Network | 39.4834 | 38.9888 | 38.1823 | 58.058 | 68.5488 | 66.5973 | 64.7566 | 62.9702 | 61.2593 | 61.2593 | 61.2593 | 61.2593 | 61.2593
Ratio of expenditure to maximum monthly amount of gas entering network ($ per GJ/month)
Network | 2.1017 | 2.1337 | 1.9693 | 3.0071 | 2.9473 | 2.9253 | 2.9029 | 2.8813 | 2.8598 | 2.8611 | 2.8631 | 2.865 | 2.867
Non Network | 2.8524 | 2.8964 | 2.673 | 4.0818 | 4.9168 | 4.8769 | 4.8373 | 4.798 | 4.7591 | 4.7591 | 4.7591 | 4.7591 | 4.7591
Expenditure per km of pipeline for supply
Network | 435.7702 | 431.8931 | 426.3695 | 414.3918 | 409.4708 | 409.7493 | 409.935 | 410.2136 | 410.4921 | 410.6778 | 410.9564 | 411.2349 | 411.5135
Non Network | 591.4297 | 586.2751 | 578.7372 | 562.4884 | 683.1012 | 683.1012 | 683.1012 | 683.1012 | 683.1012 | 683.1012 | 683.1012 | 683.1012 | 683.1012
Estimated Network Opex boundary | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797
Adjusted network opex boundary | 4581.9797 | 4581.9797 | 4581.9797 | 4627.7995 | 4673.6193 | 4719.4391 | 4765.2589 | 4811.0787 | 4856.8985 | 4902.7183 | 4948.5381 | 4994.3579 | 5040.1777
Capital Expenditure on assets
Capital Expenditure per TJ energy delivered to ICPs
Network | 679.7405 | 953.0118 | 678.3724 | 1208.8194 | 1330.5253 | 1125.5261 | 1134.9776 | 1113.6902 | 1145.8599 | 1291.5265 | 1308.7664 | 1331.3807 | 1343.2462
Non Network | 67.3951 | 43.7207 | 45.0669 | 44.6463 | 89.4702 | 121.2315 | 94.9888 | 99.6789 | 118.2364 | 105.5333 | 104.4863 | 120.3303 | 107.2782
Capital Expenditure peraveage number of ICPs
Network | 93.4999 | 130.8643 | 94.6993 | 161.6576 | 170.9853 | 141.6946 | 141.0351 | 135.6038 | 136.699 | 154.0767 | 156.1334 | 158.8313 | 160.2468
Non Network | 9.2704 | 6.0036 | 6.2912 | 5.9706 | 11.4978 | 15.2621 | 11.8035 | 12.137 | 14.1054 | 12.5899 | 12.465 | 14.3552 | 12.7981
Ratio of expenditure to maximum monthly amount of gas entering network ($ per GJ/month)
Network | 6.7547 | 9.7218 | 6.6296 | 11.3653 | 12.2642 | 10.3762 | 10.5352 | 10.3323 | 10.6198 | 11.9698 | 12.1296 | 12.3392 | 12.4491
Non Network | 0.66972 | 0.446 | 0.44043 | 0.41977 | 0.8247 | 1.1176 | 0.88172 | 0.92478 | 1.0958 | 0.97808 | 0.96837 | 1.1152 | 0.99425
Total Expenditure
Total Expenditure | 24457 | 29622 | 24164 | 28012 | 31352 | 29109 | 29136 | 29036 | 29889 | 28180 | 28040 | 28550 | 28423
Total Expenditure to GJ of gas | 11.2572 | 13.7762 | 10.3627 | 18.874 | 20.9529 | 19.296 | 19.1571 | 18.9364 | 19.3345 | 18.229 | 18.1384 | 18.4683 | 18.3861
Totex Materiality Boundary | 26081 | 26081 | 26081 | 26081 | 26081 | 26081 | 26081 | 26081 | 26081 | 26081 | 26081 | 26081 | 26081
Expenditure per GJ Boundary | 12.0047 | 12.1294 | 11.1848 | 17.5729 | 17.4302 | 17.2888 | 17.1484 | 17.0092 | 16.8712 | 16.8712 | 16.8712 | 16.8712 | 16.8712
Consumer Connection Capex
$000 per Residential ICPs | 4.0867 | 4.8262 | 3.7748 | 4.7419 | 4.7394 | 3.6943 | 3.6968 | 3.6727 | 3.6641 | 4.2328 | 4.2474 | 4.1753 | 4.2239
$000 per Commercial ICPs | 41.8618 | 64.4184 | 40.738 | 83.6092 | 77.0153 | 60.1902 | 61.9254 | 63.39 | 63.975 | 73.905 | 74.16 | 72.9 | 73.75
$000 per ICPs
Consumer Connection Capex / new connection | 3.7232 | 4.4899 | 3.4547 | 4.4874 | 4.4647 | 3.4807 | 3.4885 | 3.4715 | 3.4656 | 4.0035 | 4.0173 | 3.9491 | 3.9951
Consumer Connection Capex / new connection - Boundary | 3.7209 | 3.1433 | 3.2485 | 3.9229 | 3.7616 | 3.5876 | 3.5644 | 3.4825 | 3.4447 | 3.4447 | 3.4447 | 3.4447 | 3.4447
System Growth Capex | 215000 | 307000 | 229000 | 294000 | 994000 | 1295000 | 1646000 | 799000 | 1623000 | 449000 | 517000 | 1093000 | 1093000
Change in length of Pipeline |  | 1.384% | 1.384% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Change in Total Energy Supplied |  | 1.601% | 3.892% | -38.77% | -1.16% | 0.8336% | 1.511% | 0.7666% | 0.7139% | 0% | 0% | 0% | 0%
Change in ICPs |  | 1.775% | 2.194% | -36.08% | 2.857% | 2.93% | 2.842% | 2.837% | 2.793% | 0% | 0% | 0% | 0%
Change in Capex |  | 29.97% | -34.06% | 22.11% | 70.42% | 23.24% | 21.32% | -106% | 50.77% | -261.5% | 13.15% | 52.7% | 0%
Change in Capex : Change in Asset Base |  | 21.6551 | 24.6144
Change in Capex : Change in Energy Supply |  | 18.7229 | 8.7516 | 0.57031 | 60.7292 | 27.8819 | 14.1097 | 138.2884 | 71.1195
Change in Capex : Change in Customer Base |  | 16.8824 | 15.5231 | 0.61276 | 24.65 | 7.9319 | 7.5023 | 37.3674 | 18.1785
Capex Materiality Boundaries
Consumer Connection Capex Boundary | 12717.9575 | 12717.9575 | 12717.9575 | 12717.9575 | 12717.9575 | 12717.9575 | 12717.9575 | 12717.9575 | 12717.9575 | 12717.9575 | 12717.9575 | 12717.9575 | 12717.9575 | 0.83235
Growth Capex Boundary | 225.3924 | 225.3924 | 225.3924 | 225.3924 | 225.3924 | 225.3924 | 225.3924 | 225.3924 | 225.3924 | 225.3924 | 225.3924 | 225.3924 | 225.3924 | 0.014751
Asset replacement and renewal Boundary | 1070.668 | 1070.668 | 1070.668 | 1070.668 | 1070.668 | 1070.668 | 1070.668 | 1070.668 | 1070.668 | 1070.668 | 1070.668 | 1070.668 | 1070.668 | 0.070071
Asset relocations Boundary | 399.6672 | 399.6672 | 399.6672 | 399.6672 | 399.6672 | 399.6672 | 399.6672 | 399.6672 | 399.6672 | 399.6672 | 399.6672 | 399.6672 | 399.6672 | 0.026157
Total reliability, safety and environment Boundary | 232.7258 | 232.7258 | 232.7258 | 232.7258 | 232.7258 | 232.7258 | 232.7258 | 232.7258 | 232.7258 | 232.7258 | 232.7258 | 232.7258 | 232.7258 | 0.015231
Expenditure on Non-Network Assets Boundary | 633.2557 | 633.2557 | 633.2557 | 633.2557 | 633.2557 | 633.2557 | 633.2557 | 633.2557 | 633.2557 | 633.2557 | 633.2557 | 633.2557 | 633.2557 | 0.041444
Total Planned Interruptions | 2622 | 1529 | 870 | 407 | 407 | 407 | 407 | 407 | 407 | 407 | 407 | 407 | 407
Total Unplanned Interruptions | 668 | 546 | 611 | 354 | 354 | 354 | 354 | 354 | 354 | 354 | 354 | 354 | 354
Total Interruptions | 3290 | 2075 | 1481 | 761 | 761 | 761 | 761 | 761 | 761 | 761 | 761 | 761 | 761
Opex ($) per Interruption | 609.1185 | 970.6024 | 1361.2424 | 2574.2444 | 2571.6163 | 2571.6163 | 2571.6163 | 2571.6163 | 2571.6163 | 2571.6163 | 2571.6163 | 2571.6163 | 2571.6163
Interruptions Opex Boundary | 611.3374 | 969.3013 | 1358.0689 | 2642.9699 | 2642.9699 | 2642.9699 | 2642.9699 | 2642.9699 | 2642.9699 | 2642.9699 | 2642.9699 | 2642.9699 | 2642.9699 | 0.18621
Expenditure per km of pipeline for supply
Network | 1400.5535 | 1967.8057 | 1435.376 | 1566.2024 | 1703.8997 | 1453.389 | 1487.7437 | 1471.0306 | 1524.3268 | 1718.1058 | 1741.0399 | 1771.1235 | 1786.9081
Non Network | 138.8624 | 90.2758 | 95.3575 | 57.8459 | 114.5775 | 156.546 | 124.5125 | 131.662 | 157.2888 | 140.39 | 138.9972 | 160.0743 | 142.7112
Estimated Revenue ($000) based on:
Energy Supplied across all customers | 6053662666.234 | 6150556341.7511 | 6389935883.723 | 3912780178.2187 | 3867406982.337 | 3899646924.1399 | 3958583512.9171 | 3988928768.9414 | 4017404575.4933 | 4017404575.4933 | 4017404575.4933 | 4017404575.4933 | 4017404575.4933
Average no of ICPs across all types | 6095613.0492 | 6203814.1423 | 6339939.3509 | 4052453.2851 | 4168227.6779 | 4290371.41 | 4412320.955 | 4537494.007 | 4664220.5564 | 4664220.5564 | 4664220.5564 | 4664220.5564 | 4664220.5564
Total regulatory income
Composition of Revenue Requirement (% of revenue)
Operational expenditure
Pass-through and recoverable costs excluding financial incentives and wash-ups
Total depreciation
Total revaluations
Regulatory tax allowance
Regulatory profit/(loss) including financial incentives and wash-ups (% of revenue)
Service intensity measures
Demand density
Volume density
Connection point density
Energy intensity
Interruption ratio (per 100km of pipe length)
Asset variations - See Asset data tab
Asset age (remaining life)
Asset Condition
Number of assets
Total gas conveyed (GJ/100) | 215891.2 | 219346.71 | 227883.68 | 139541.11 | 137922.97 | 139072.74 | 141174.59 | 142256.79 | 143272.32 | 143272.32 | 143272.32 | 143272.32 | 143272.32
Maximum monthly load (GJ/month)/10 | 217256.1 | 215022.8 | 233182.6 | 148416.2 | 149630.7 | 150855.2 | 152089.8 | 153334.4 | 154589.2 | 154589.2 | 154589.2 | 154589.2 | 154589.2
Change in ICP numbers |  | 1.775% | 2.194% | -36.08% | 2.857% | 2.93% | 2.842% | 2.837% | 2.793% | 0% | 0% | 0% | 0%
ICP Makeup, estimated from Base Year | [13 empty] | Ratios
Residential / Small Commercial | 151735 | 154317 | 157515 | 102289 | 105099 | 108064 | 111029 | 114079 | 117169 | 117198 | 117227 | 117256 | 117285 | 93.81%
Commercial | 10013 | 10217 | 10524 | 6851 | 7022 | 7202 | 7377 | 7550 | 7723 | 7694 | 7665 | 7636 | 7607 | 6.19%
Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Predicted Billed Amount, Estimated from Base Case and new ICPs
Residential / Small Commercial | 1029718.904 | 1047241.125 | 1068943.7056 | 694163.6206 | 713233.1176 | 733354.4907 | 753475.8638 | 774174.0722 | 795143.7326 | 795340.5352 | 795537.3379 | 795734.1405 | 795930.9431
Commercial | 5252158.482 | 5359163.4086 | 5520195.3325 | 3593582.1193 | 3683277.4254 | 3777693.5371 | 3869486.9791 | 3960231.3532 | 4050975.7272 | 4035764.2425 | 4020552.7579 | 4005341.2732 | 3990129.7885
Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 6281877.386 | 6406404.5337 | 6589139.0381 | 4287745.7399 | 4396510.543 | 4511048.0278 | 4622962.8429 | 4734405.4254 | 4846119.4598 | 4831104.7778 | 4816090.0957 | 4801075.4137 | 4786060.7317
Gas Use, Estimated from Base Year
Residential / Small Commercial | 3508 | 3567.6939 | 3641.6293 | 2364.8454 | 2429.8105 | 2498.3591 | 2566.9076 | 2637.4214 | 2708.8599 | 2709.5303 | 2710.2008 | 2710.8712 | 2711.5417
Commercial | 18895 | 19279.9576 | 19859.2809 | 12928.1579 | 13250.8429 | 13590.5113 | 13920.7445 | 14247.2036 | 14573.6627 | 14518.9384 | 14464.214 | 14409.4897 | 14354.7653
Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 22403 | 22847.6515 | 23500.9102 | 15293.0033 | 15680.6534 | 16088.8704 | 16487.6522 | 16884.625 | 17282.5226 | 17228.4687 | 17174.4148 | 17120.3609 | 17066.307
Additional gas supplied from previous year (GJ) |  | 345551 | 853697 | -8834257 | -161814 | 114977 | 210185 | 108220 | 101553 | 0 | 0 | 0 | 0
Data for % variation charts
Opex per ICP (% variation)
Network |  | -1.271% | -2.062% | 52.05% | -3.932% | -2.781% | -2.72% | -2.693% | -2.651% | 0.04524% | 0.06783% | 0.06778% | 0.06774%
Non Network |  | -1.268% | -2.112% | 34.23% | 15.3% | -2.93% | -2.842% | -2.837% | -2.793% | 0% | 0% | 0% | 0%
Capex per ICP (% variation)
Network |  | 39.96% | -27.64% | 70.71% | 5.77% | -17.13% | -0.4654% | -3.851% | 0.8011% | 11.28% | 1.317% | 1.699% | 0.8833%
Non Network |  | -35.24% | 4.791% | -5.096% | 92.57% | 32.74% | -22.66% | 2.825% | 13.95% | -12.04% | -1.002% | 13.17% | -12.17%
Opex per total gas conveyed (% variation)
Network
Non Network
Capex per ICP (% variation)
Network
Non Network
Note on A3: Microsoft Office User: Need to know if these are calculated from nominal or constant $*

## Calculations (hidden)
Capex and Opex
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Network opex per TJ energy delivered to ICPs |  | -1.101% | -3.662% | 58.72% | -0.02825% | -0.7593% | -1.444% | -0.6933% | -0.6414% | 0.04524% | 0.06783% | 0.06778% | 0.06774%
Capex per ICP |  | 39.96% | -27.64% | 70.71% | 5.77% | -17.13% | -0.4654% | -3.851% | 0.8076% | 12.71% | 1.335% | 1.728% | 0.8912%
Change in revenue/ICP |  | 1.775% | 2.194% | -36.08% | 2.857% | 2.93% | 2.842% | 2.837% | 2.793% | 0% | 0% | 0% | 0%
Change in non-network opex
Change in revenue/TJ |  | 1.601% | 3.892% | -38.77% | -1.16% | 0.8336% | 1.511% | 0.7666% | 0.7139% | 0% | 0% | 0% | 0%
Change in capex/TJ |  | 40.2% | -28.82% | 78.19% | 10.07% | -15.41% | 0.8397% | -1.876% | 2.889% | 12.71% | 1.335% | 1.728% | 0.8912%
Change in pipe length (%) |  | 1.384% | 1.384% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Base Step-Trend Calculations
Year | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
t | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Opex | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Low |  |  |  | 11792 | 11810.5188 | 11829.0666 | 11847.6435 | 11866.2497 | 11884.885 | 11903.5497 | 11922.2436 | 11940.9669 | 11959.7196
Mid |  |  |  | 11792 | 12051.5497 | 12316.8124 | 12587.9136 | 12864.9819 | 13148.1487 | 13437.5482 | 13733.3175 | 14035.5969 | 14344.5297
High |  |  |  | 11792 | 12292.5807 | 12814.4116 | 13358.3946 | 13925.4701 | 14516.6186 | 15132.8617 | 15775.265 | 16444.9388 | 17143.0409
Capex | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Low | 20220 | 20251.7545 | 20283.5589 | 20315.4132 | 20347.3175 | 20379.272 | 20411.2766 | 20443.3315 | 20475.4368 | 20507.5924 | 20539.7986 | 20572.0553 | 20604.3627
Mid | 20220 | 20665.0556 | 21119.9072 | 21584.7704 | 22059.8655 | 22545.4178 | 23041.6574 | 23548.8195 | 24067.1447 | 24596.8785 | 25138.2721 | 25691.5822 | 26257.071
High | 20220 | 21078.3567 | 21973.1515 | 22905.931 | 23878.3079 | 24891.963 | 25948.6486 | 27050.1915 | 28198.4959 | 29395.5467 | 30643.4135 | 31944.2532 | 33300.3148
Opex Waterfall
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Original | 10763 | 10816 | 10825 | 10521 | 11767 | 11770 | 11772 | 11775 | 11778 | 11780 | 11783 | 11786 | 11789
Change | 0 | 53 | 9 | -304 | 1246 | 3 | 2 | 3 | 3 | 2 | 3 | 3 | 3
Change | 0 | 53 | 9 | 304 | 1246 | 3 | 2 | 3 | 3 | 2 | 3 | 3 | 3
White Height | 10763 | 10763 | 10816 | 10521 | 10521 | 11767 | 11770 | 11772 | 11775 | 11778 | 11780 | 11783 | 11786
Maximum boundary | 11337.8958 | 11337.8958 | 11337.8958 | 11337.8958 | 11337.8958 | 11337.8958 | 11337.8958 | 11337.8958 | 11337.8958 | 11337.8958 | 11337.8958 | 11337.8958 | 11337.8958
Minimum boundary | 10264.7708 | 10264.7708 | 10264.7708 | 10264.7708 | 10264.7708 | 10264.7708 | 10264.7708 | 10264.7708 | 10264.7708 | 10264.7708 | 10264.7708 | 10264.7708 | 10264.7708
Capex Waterfall
2 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Original | 13694 | 18806 | 13339 | 17491 | 19585 | 17339 | 17364 | 17261 | 18111 | 16400 | 16257 | 16764 | 16634
Change | 0 | 5112 | -5467 | 4152 | 2094 | -2246 | 25 | -103 | 850 | -1711 | -143 | 507 | -130
Graph Change | 0 | 5112 | 5467 | 4152 | 2094 | 2246 | 25 | 103 | 850 | 1711 | 143 | 507 | 130
White Height | 13694 | 13694 | 13339 | 13339 | 17491 | 17339 | 17339 | 17261 | 17261 | 16400 | 16257 | 16257 | 16634
Maximum boundary | 17050.7167 | 17050.7167 | 17050.7167 | 17050.7167 | 17050.7167 | 17050.7167 | 17050.7167 | 17050.7167 | 17050.7167 | 17050.7167 | 17050.7167 | 17050.7167 | 17050.7167
Minimum boundary | 13508.6167 | 13508.6167 | 13508.6167 | 13508.6167 | 13508.6167 | 13508.6167 | 13508.6167 | 13508.6167 | 13508.6167 | 13508.6167 | 13508.6167 | 13508.6167 | 13508.6167
Revenue per TJ energy delivered to ICPs ($/TJ) | [13 empty] | Average | +/-
Forecast Opex | 10763 | 10816 | 10825 | 10521 | 11767 | 11770 | 11772 | 11775 | 11778 | 11780 | 11783 | 11786 | 11789 | 10731.25 | 1771.05
Forecast Capex | 13694 | 18806 | 13339 | 17491 | 19585 | 17339 | 17364 | 17261 | 18111 | 16400 | 16257 | 16764 | 16634 | 14348.25 | 536.5625
Asset Value and Growth | 498708.735 | 498923.735 | 499230.735 | 499524.735 | 500518.735 | 501813.735 | 503459.735 | 504258.735 | 505881.735 | 506330.735 | 506847.735 | 507940.735 | 509033.735
Supply - Dynamic Chart
Expenditure to estimated network size (km) | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
km of pipeline for supply | 10478 | 10623 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770 | 10770
ICPs at Year End | 156952 | 159738 | 163243 | 104344 | 107325 | 110470 | 113610 | 116833 | 120096 | 120096 | 120096 | 120096 | 120096
Total gas conveyed/annum (GJ) | 21589120 | 21934671 | 22788368 | 13954111 | 13792297 | 13907274 | 14117459 | 14225679 | 14327232 | 14327232 | 14327232 | 14327232 | 14327232
Total gas conveyed/annum (100TJ) | 215.8912 | 219.3467 | 227.8837 | 139.5411 | 137.923 | 139.0727 | 141.1746 | 142.2568 | 143.2723 | 143.2723 | 143.2723 | 143.2723 | 143.2723
Capex / 100 ICPs | 102.7703 | 136.8679 | 100.9905 | 213.7162 | 219.222 | 198.3253 | 187.6683 | 186.8137 | 182.3042 | 166.6667 | 168.5985 | 173.1865 | 173.0449
Annual GJ supplied/ICP | 137.5524 | 137.3165 | 139.5978 | 133.7318 | 128.5096 | 125.8919 | 124.2625 | 121.7608 | 119.2982 | 119.2982 | 119.2982 | 119.2982 | 119.2982
Capex / ICP : Network | 102.7703 | 136.8679 | 100.9905 | 213.7162 | 219.222 | 198.3253 | 187.6683 | 186.8137 | 182.3042 | 166.6667 | 168.5985 | 173.1865 | 173.0449
Opex / ICP Network | 68.5751 | 67.7109 | 66.3122 | 100.8299 | 109.6389 | 106.5448 | 103.6176 | 100.7849 | 98.0715 | 98.0882 | 98.1132 | 98.1382 | 98.1631 | 65.7379 | 65.7379
Service interruptions, incidents and emergencies Opex per ICP | 12.7682 | 12.6081 | 12.3497 | 18.7744 | 18.2343 | 17.7152 | 17.2256 | 16.7504 | 16.2953 | 16.2953 | 16.2953 | 16.2953 | 16.2953 | 12.241 | 12.241
Service opex materiality boundary | 12.8147 | 12.5912 | 12.3209 | 19.2757 | 18.7403 | 18.2068 | 17.7035 | 17.2152 | 16.7474 | 16.7474 | 16.7474 | 16.7474 | 16.7474
Routine and corrective maintenance and inspection Opex per ICP | 16.3235 | 16.1139 | 15.7802 | 23.9975 | 22.8558 | 22.2323 | 21.6354 | 21.0643 | 20.5169 | 20.5336 | 20.5586 | 20.5835 | 20.6085 | 15.6454 | 15.6454
Maintenance opex materiality boundary | 16.3788 | 16.0931 | 15.7476 | 24.6366 | 23.9523 | 23.2704 | 22.6272 | 22.003 | 21.4052 | 21.4052 | 21.4052 | 21.4052 | 21.4052
Asset replacement and renewal Opex per ICP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Renewal opex materiality boundary | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Network Opex per ICP | 39.4834 | 38.9888 | 38.1823 | 58.058 | 68.5488 | 66.5973 | 64.7566 | 62.9702 | 61.2593 | 61.2593 | 61.2593 | 61.2593 | 61.2593 | 37.8515 | 37.8515
Non Network opex materiality boundary | 39.6258 | 38.9347 | 38.0987 | 59.6043 | 57.9488 | 56.299 | 54.743 | 53.2329 | 51.7865 | 51.7865 | 51.7865 | 51.7865 | 51.7865
Network opex materiality boundary | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 4581.9797 | 37.8515
Opex / ICP Non-network | 39.4834 | 38.9888 | 38.1823 | 58.058 | 68.5488 | 66.5973 | 64.7566 | 62.9702 | 61.2593 | 61.2593 | 61.2593 | 61.2593 | 61.2593
Capex boundary / 100 ICPs | 97.3525 | 95.6546 | 93.6007 | 146.4355 | 142.3682 | 138.3151 | 134.4923 | 130.7821 | 127.2288 | 127.2288 | 127.2288 | 127.2288 | 127.2288
Opex boundary | 68.8193 | 67.6191 | 66.1672 | 103.5166 | 100.6414 | 97.7762 | 95.0738 | 92.451 | 89.9392 | 89.9392 | 89.9392 | 89.9392 | 89.9392