## CoverSheet
Electricity Distribution Business
Price-Quality Regulation 1 April 2020 DPP Reset
Reliability standards and incentives model
Final determination
Published 27 November 2019 v1

## Description
Description
This Excel workbook is one of a suite of models that accompanies the final determination of the default price-quality path for electricity distribution 2020-2025.
General description
This model calculates quality standards which must be met by price-quality regulated EDBs during the DPP3 regulatory period
User Inputs: Users can select a distributor in the 'Output' sheet from the dropdown list in cell C4. The 'calculation' sheet only shows results for the selected distributor.
Notes: 1 - Financial quantities in this model are expressed in NZD. 2 - Annual quantities relate to years ending on 31 March. 3 - All data used by the model is entered in the two 'Input' sheets for the distributor selected in cell C4 of the 'Ouput' sheet: ● the 'Inputs from Stata Model' sheet uses the raw output of the Stata model ● all other inputs are in the 'Other inputs' sheet 4 - Derivations are shown in the Calculations sheet 5 - The 'Output' sheet uses Excel's data table facility to display results for all distributors.
Notes
Powerco revenue data are from 'Powerco Limited Electricity Distribution Customised Price-Quality Path Determination 2018'.
https://comcom.govt.nz/__data/assets/pdf_file/0029/78716/2018-NZCC-5-Powerco-customised-price-quality-path-determination-with-IM-variations-28-March-2018.pdf
Model suite
Follow the link 'Model map – EDB DPP3 final determination – 27 November 2019' on the Commission's EDB 2020-2025 default price-quality path determination web page for a graphical depiction of interconnections between the models and data sources.

## Table of Contents
Table of Contents
| Sheet Name | Link
| Inputs from Stata Model | Inputs from Stata model
Unplanned disruption standards
Planned disruption standards
| Other Inputs | Other Inputs
Inputs that are the same for all distributors
Inputs that are specific to individual distributors
| Calculations | Calculations for the selected distributor
Inputs
Calculations
Outputs
| Calculations-Chartbook | Calculations Chartbook
Inputs
Calculations
Outputs
| Output | Outputs
| Chart book | Outputs Chart book

## Inputs from Stata Model
Inputs from Stata model
This sheet contains the raw output from Stata models
Unplanned disruption standards
This is raw output from Stata models
Distributor | SAIDI boundary value | SAIDI average | SAIDI collar | SAIDI cap pre-adjustment | SAIDI standard deviation | SAIFI boundary value | SAIFI average | SAIFI collar | SAIFI cap pre-adjustment | SAIFI standard deviation
Alpine Energy | 9.1745 | 94.9107 | 0 | 127.7349 | 16.4121 | 0.067084 | 0.887 | 0 | 1.1771 | 0.14505
Aurora Energy | 5.6907 | 74.3375 | 0 | 92.7835 | 9.223 | 0.073672 | 1.352 | 0 | 1.6513 | 0.14966
Centralines | 6.7939 | 49.5306 | 0 | 70.3115 | 10.3905 | 0.14422 | 1.8322 | 0 | 2.4441 | 0.30598
EA Networks | 6.2509 | 71.6543 | 0 | 91.9755 | 10.1606 | 0.072886 | 1.0065 | 0 | 1.2826 | 0.13805
Eastland Network | 13.0984 | 172.9186 | 0 | 218.5309 | 22.8062 | 0.1765 | 2.4378 | 0 | 3.1203 | 0.34124
Electricity Invercargill | 4.1289 | 14.5804 | 0 | 25.0433 | 5.2314 | 0.080374 | 0.38962 | 0 | 0.65788 | 0.13413
Horizon Energy | 14.6859 | 144.3524 | 0 | 194.5268 | 25.0872 | 0.11697 | 1.8375 | 0 | 2.3904 | 0.27645
Nelson Electricity | 8.6827 | 7.3515 | 0 | 17.4151 | 5.0318 | 0.14298 | 0.15264 | 0 | 0.38158 | 0.11447
Network Tasman | 7.2246 | 74.4923 | 0 | 101.0324 | 13.27 | 0.068837 | 0.85397 | 0 | 1.1454 | 0.1457
Orion NZ | 7.5972 | 66.4659 | 0 | 84.7104 | 9.1222 | 0.066785 | 0.83711 | 0 | 1.0336 | 0.098221
OtagoNet | 11.8082 | 123.9564 | 0 | 164.2898 | 20.1667 | 0.17759 | 1.8459 | 0 | 2.4691 | 0.31157
Powerco | 9.8185 | 151.9589 | 0 | 180.2532 | 14.1472 | 0.062755 | 1.9185 | 0 | 2.1878 | 0.13464
The Lines Company | 11.1731 | 143.6362 | 0 | 182.0782 | 19.221 | 0.15962 | 2.5623 | 0 | 3.276 | 0.35687
Top Energy | 27.923 | 293.0522 | 0 | 371.1308 | 39.0393 | 0.22836 | 3.864 | 0 | 4.8043 | 0.47019
Unison Networks | 4.4828 | 65.9138 | 0 | 80.4436 | 7.2649 | 0.073527 | 1.4461 | 0 | 1.7412 | 0.14755
Vector Lines | 4.825 | 103.3914 | 0 | 118.9432 | 7.7759 | 0.037054 | 1.1803 | 0 | 1.3366 | 0.078162
Wellington Electricity | 2.1567 | 31.8198 | 0 | 40.426 | 4.3031 | 0.031269 | 0.49068 | 0 | 0.62026 | 0.064788
Planned disruption standards
This is raw output from Stata models
Distributor | SAIDI collar | SAIDI average | SAIDI cap | SAIDI standard | SAIFI collar | SAIFI average | SAIFI cap | SAIFI standard
Alpine Energy | 0 | 54.9912 | 164.9737 | 824.8683 | 0 | 0.23287 | 0.6986 | 3.493
Aurora Energy | 0 | 65.3197 | 195.9592 | 979.796 | 0 | 0.36923 | 1.1077 | 5.5385
Centralines | 0 | 70.9643 | 212.8927 | 1064.464 | 0 | 0.39049 | 1.1715 | 5.8573
EA Networks | 0 | 91.7388 | 275.2164 | 1376.082 | 0 | 0.32626 | 0.97878 | 4.8939
Eastland Network | 0 | 86.0452 | 258.1355 | 1290.678 | 0 | 0.4983 | 1.4949 | 7.4745
Electricity Invercargill | 0 | 7.6329 | 22.8987 | 114.4936 | 0 | 0.034556 | 0.10367 | 0.51834
Horizon Energy | 0 | 57.2422 | 171.7265 | 858.6327 | 0 | 0.36276 | 1.0883 | 5.4414
Nelson Electricity | 0 | 12.0074 | 36.0222 | 180.1109 | 0 | 0.15775 | 0.47326 | 2.3663
Network Tasman | 0 | 75.2757 | 225.8271 | 1129.136 | 0 | 0.32681 | 0.98043 | 4.9021
Orion NZ | 0 | 13.2269 | 39.6806 | 198.403 | 0 | 0.049871 | 0.14961 | 0.74806
OtagoNet | 0 | 140.9622 | 422.8866 | 2114.433 | 0 | 0.64141 | 1.9242 | 9.6212
Powerco | 0 | 51.4997 | 154.4991 | 772.4954 | 0 | 0.23409 | 0.70227 | 3.5114
The Lines Company | 0 | 88.7783 | 266.335 | 1331.675 | 0 | 0.58351 | 1.7505 | 8.7527
Top Energy | 0 | 127.0242 | 381.0726 | 1905.363 | 0 | 0.51684 | 1.5505 | 7.7526
Unison Networks | 0 | 41.7196 | 125.1589 | 625.7946 | 0 | 0.29766 | 0.89298 | 4.4649
Vector Lines | 0 | 39.0254 | 117.0761 | 585.3804 | 0 | 0.19189 | 0.57566 | 2.8783
Wellington Electricity | 0 | 4.6463 | 13.939 | 69.6951 | 0 | 0.036905 | 0.11072 | 0.55358
DPP2 – counterfactual
This is raw output from Stata models
Distributor | SAIDI boundary value | SAIDI average | SAIDI cap pre-adjustment | SAIFI boundary value | SAIFI average | SAIFI cap pre-adjustment
Alpine Energy | 9.1745 | 108.4091 | 150.2279 | 0.072188 | 1.18 | 1.5952
Aurora Energy | 3.382 | 67.4144 | 85.1166 | 0.060741 | 1.2478 | 1.5517
Centralines | 8.5172 | 91.027 | 129.9115 | 0.2937 | 3.3939 | 4.7547
EA Networks | 8.0808 | 91.273 | 126.3135 | 0.098303 | 1.2406 | 1.6888
Eastland Network | 13.3902 | 220.4728 | 286.7538 | 0.20796 | 3.0929 | 4.0706
Electricity Invercargill | 4.4813 | 24.3005 | 40.3543 | 0.1209 | 0.65364 | 1.0786
Horizon Energy | 14.6859 | 175.4298 | 243.0199 | 0.10669 | 2.1859 | 2.8377
Nelson Electricity | 14.7416 | 22.9523 | 54.1445 | 0.39051 | 0.48915 | 1.2022
Network Tasman | 7.2562 | 94.9131 | 130.4973 | 0.077354 | 1.1744 | 1.5841
OtagoNet | 13.2414 | 146.3955 | 204.1399 | 0.17647 | 2.1791 | 2.9813
Powerco | 11.2144 | 171.795 | 215.0226 | 0.064267 | 2.2574 | 2.6148
The Lines Company | 10.9669 | 165.851 | 215.0361 | 0.14446 | 2.7912 | 3.5793
Top Energy | 34.4091 | 406.3412 | 546.3914 | 0.34919 | 5.2986 | 6.9136
Unison Networks | 4.541 | 82.4404 | 104.1298 | 0.077048 | 1.826 | 2.2329
Vector Lines | 3.3736 | 90.0972 | 106.3852 | 0.038927 | 1.257 | 1.4652
Wellington Electricity | 2.1026 | 34.8319 | 45.2036 | 0.031245 | 0.542 | 0.69861
DPP3 – counterfactual
This is raw output from Stata models
Distributor | SAIDI boundary value | SAIDI average | SAIDI cap pre-adjustment | SAIFI boundary value | SAIFI average | SAIFI cap pre-adjustment
Alpine Energy | 9.1745 | 117.5796 | 161.2372 | 0.072188 | 1.0964 | 1.4683
Aurora Energy | 3.382 | 82.9435 | 103.9549 | 0.060741 | 1.5148 | 1.8706
Centralines | 8.5172 | 68.1747 | 100.2332 | 0.2937 | 2.3169 | 3.184
EA Networks | 8.0808 | 92.3006 | 124.4569 | 0.098303 | 1.2542 | 1.6549
Eastland Network | 13.3902 | 208.3295 | 270.6834 | 0.20796 | 2.8999 | 3.8074
Electricity Invercargill | 4.4813 | 21.8678 | 37.113 | 0.1209 | 0.56616 | 0.94647
Horizon Energy | 14.6859 | 179.9566 | 246.9017 | 0.10669 | 2.1605 | 2.8133
Nelson Electricity | 14.7416 | 16.8144 | 42.0755 | 0.39051 | 0.35681 | 0.93125
Network Tasman | 7.2562 | 92.3261 | 126.994 | 0.077354 | 1.0537 | 1.4305
OtagoNet | 13.2414 | 158.7552 | 216.5329 | 0.17647 | 2.3543 | 3.1991
Powerco | 11.2144 | 172.6221 | 215.2747 | 0.064267 | 2.0581 | 2.3875
The Lines Company | 10.9669 | 174.8745 | 227.4564 | 0.14446 | 2.9359 | 3.7791
Top Energy | 34.4091 | 374.3892 | 503.7096 | 0.34919 | 4.7061 | 6.0599
Unison Networks | 4.541 | 76.1232 | 96.0545 | 0.077048 | 1.6503 | 2.0313
Vector Lines | 3.3736 | 109.5572 | 127.7512 | 0.038927 | 1.2768 | 1.4747
Wellington Electricity | 2.1026 | 37.2979 | 48.0986 | 0.031245 | 0.57701 | 0.74089
Live-lines analysis of planned interruptions
This is raw output from Stata models
Distributor | Start_Date | Planned_Unplanned | saidi_live_value | saidi_live_est | saidi_live_not
Centralines | 2017-09-05 | Planned | 1.7287 | 1.7287 | 26.0269
EA Networks | 2017-04-18 | Planned | 50.4286 | 50.4286 | 159.664
Electricity Invercargill | 2018-02-26 | Planned | 0.60385 | 0.60385 | 0.60385
OtagoNet | 2015-05-08 | Planned | 181.1619 | 181.1619 | 408.5415
Top Energy | 2016-07-22 | Planned | 35.2834 | 34.7899 | 245.113
Unison Networks | 2016-04-05 | Planned | 18.948 | 20.6708 | 116.4251
Vector Lines | 2015-08-03 | Planned | 104.8756 | 125.1324 | 185.7791
Wellington Electricity | 2016-04-01 | Planned | 0 | 8.1263 | 22.3223

## Other Inputs
Other Inputs
This sheet contains all inputs that are not from Stata models
Inputs that are the same for all distributors
Constants |  | Value
Minutes per hour |  | 60
Hours per day |  | 24
Days per year |  | 365
Commission-defined constants
Value of lost load |  | 25000
IRIS retention rate |  | 23.5%
SAIDI weighting |  | 90%
SAIFI weighting |  | 0%
Revenue at risk constraint |  | 2%
Extreme event standard―SAIDI |  | 120
Extreme event standard―Customer minutes |  | 6000000
Unplanned standard deviation multiplier |  | 2
Years in regulatory period |  | 5
SAIDI % increase/decrease cap |  | 5%
SAIFI % increase/decrease cap |  | 5%
Inputs that are specific to individual distributors
Energy delivered (GWh)
This data is the total 'energy delivered to ICPs in the disclosure year' for all customers, from schedule 8(i) in ID Years end on 31 March |  | Value | 2017 | 2018 | 2019
Alpine Energy |  |  | 764.0616 | 776.5624 | 809.0759
Aurora Energy |  |  | 1284.17 | 1308.2926 | 1330.6432
Centralines |  |  | 105.187 | 105.375 | 108.732
EA Networks |  |  | 563.2358 | 543.2349 | 502.0738
Eastland Network |  |  | 273.4251 | 279.4825 | 281.2038
Electricity Invercargill |  |  | 253.551 | 250.9066 | 254.2801
Horizon Energy |  |  | 532.4472 | 537.656 | 539.232
Nelson Electricity |  |  | 139.6067 | 140.3423 | 142.767
Network Tasman |  |  | 614.386 | 617.2147 | 635.1465
Orion NZ |  |  | 3092.6107 | 3172.5207 | 3184.0731
OtagoNet |  |  | 422.6975 | 433.0158 | 438.1505
Powerco |  |  | 4530.8664 | 4847.8196 | 4908.2311
The Lines Company |  |  | 380.59 | 379.8947 | 380.8165
Top Energy |  |  | 321.7805 | 325.3432 | 331.9017
Unison Networks |  |  | 1582.854 | 1615.3051 | 1628.5031
Vector Lines |  |  | 8302.374 | 8406.577 | 8495.703
Wellington Electricity |  |  | 2324.9208 | 2296.9197 | 2301.1048
ICPs
This data is the 'average no. of ICPs in the disclosure year' for all customers, from schedule 8(i) in ID Years end on 31 March |  | Value | 2017 | 2018 | 2019
Alpine Energy |  |  | 32829 | 32975 | 33211.5
Aurora Energy |  |  | 87102.0356 | 88588.0986 | 89865.8986
Centralines |  |  | 8496 | 8561 | 8623
EA Networks |  |  | 18986.1667 | 19216.5833 | 19440.5833
Eastland Network |  |  | 25407 | 25512 | 25597
Electricity Invercargill |  |  | 17364 | 17404 | 17420
Horizon Energy |  |  | 24913 | 25000 | 25136
Nelson Electricity |  |  | 9202.5 | 9209.5 | 9220.5
Network Tasman |  |  | 39028 | 39578 | 39970
Orion NZ |  |  | 196421 | 199838 | 202956
OtagoNet |  |  | 15623 | 16000 | 16588
Powerco |  |  | 334042 | 337134.5 | 340378
The Lines Company |  |  | 23691 | 23768 | 23579
Top Energy |  |  | 31365 | 31641 | 32156
Unison Networks |  |  | 111842 | 112781 | 113676
Vector Lines |  |  | 551728 | 557490 | 565200
Wellington Electricity |  |  | 166344 | 166909.5833 | 167924.7778
Maximum allowable revenue for DPP3 period ($000 nominal)
This is the 'MAR (applicable X factor)' series from the outputs of the Financial model |  | Value | 2021 | 2022 | 2023 | 2024 | 2025
Alpine Energy |  |  | 42652.5941 | 43484.4099 | 44364.8848 | 45252.1825 | 46157.2261
Aurora Energy |  |  | 87334.5419 | 89037.7502 | 90840.5918 | 92657.4036 | 94510.5517
Centralines |  |  | 9366.9936 | 9549.6698 | 9743.032 | 9937.8927 | 10136.6505
EA Networks |  |  | 33258.7127 | 33907.3279 | 34593.8855 | 35285.7632 | 35991.4784
Eastland Network |  |  | 24028.4361 | 24497.0414 | 24993.059 | 25492.9201 | 26002.7785
Electricity Invercargill |  |  | 12257.5104 | 12496.5578 | 12749.5888 | 13004.5806 | 13264.6722
Horizon Energy |  |  | 23912.124 | 24378.461 | 24872.0775 | 25369.519 | 25876.9094
Nelson Electricity |  |  | 5501.7672 | 5609.0633 | 5722.636 | 5837.0887 | 5953.8305
Network Tasman |  |  | 26452.4603 | 26968.3393 | 27514.3958 | 28064.6837 | 28625.9774
Orion NZ |  |  | 158497.5385 | 161588.5756 | 164860.4306 | 168157.6392 | 171520.792
OtagoNet |  |  | 25779.3423 | 26282.094 | 26814.2554 | 27350.5405 | 27897.5513
The Lines Company |  |  | 34707.8691 | 35384.7459 | 36101.2183 | 36823.2427 | 37559.7075
Top Energy |  |  | 38014.5315 | 38755.8953 | 39540.627 | 40331.4395 | 41138.0683
Unison Networks |  |  | 100019.2992 | 101969.887 | 104034.5793 | 106115.2709 | 108237.5763
Vector Lines |  |  | 388707.0762 | 396287.6862 | 404311.7426 | 412397.9775 | 420645.937
Wellington Electricity |  |  | 91407.0492 | 93189.6799 | 95076.59 | 96978.1219 | 98917.6843
Maximum allowable revenue for Powerco CPP ($000 nominal)
Source: Powerco Limited Electricity Distribution Customised Price-Quality Path Determination 2018
|  |  | 2021 | 2022 | 2023
Powerco |  |  | 290852 | 296750 | 302685
SAIDI incentives rates for DPP2 ($/SAIDI)
Source: Quality of service targets model EDB DPP 2015-2020, post amendments |  | Value
Alpine Energy |  | 7134.422
Aurora Energy |  | 31741.2987
Centralines |  | 2461.8732
EA Networks |  | 9080.4842
Eastland Network |  | 3560.1831
Electricity Invercargill |  | 9619.6002
Horizon Energy |  | 4284.8947
Nelson Electricity |  | 5663.7743
Network Tasman |  | 8100.071
Orion NZ
OtagoNet |  | 4083.9141
Powerco |  | 57525.982
The Lines Company |  | 6829.9169
Top Energy |  | 2107.464
Unison Networks |  | 45378.4058
Vector Lines |  | 242885.1548
Wellington Electricity |  | 95090.9696
Circuit Length
Source: 2019 Information Disclosures, Section 9 (c) Total circuit length (for supply) | 2019 Circuit length (km)
Electricity Invercargill | 658.0209
Nelson Electricity | 297.553

## Calculations
Calculations for the selected distributor
This sheet calculates the quality standards that will apply for the DPP3 period
The calculations are for the distributor selected in the 'Output' sheet.
Alpine Energy
Inputs
|  | Source | Value
Constants
Minutes per hour |  | Other inputs | 60
Hours per day |  | Other inputs | 24
Days per year |  | Other inputs | 365
Commission-defined constants
Value of lost load |  | Other inputs | 25000
IRIS retention rate |  | Other inputs | 23.5%
SAIDI weighting |  | Other inputs | 90%
SAIFI weighting |  | Other inputs | 0%
Revenue at risk constraint |  | Other inputs | 2%
Extreme event standard―SAIDI |  | Other inputs | 120
Extreme event standard―Customer minutes |  | Other inputs | 6000000
Unplanned standard deviation multiplier |  | Other inputs | 2
Years in regulatory period |  | Other inputs | 5
SAIDI % increase/decrease cap |  | Other inputs | 5%
SAIFI % increase/decrease cap |  | Other inputs | 5%
EDB-specific inputs
|  |  |  | 2017 | 2018 | 2019
Energy delivered (GWh) |  | Other inputs |  | 764.0616 | 776.5624 | 809.0759
ICPs |  | Other inputs |  | 32829 | 32975 | 33211.5
|  |  |  | 2021 | 2022 | 2023 | 2024 | 2025
MAR or net allowable revenue |  | Other inputs |  | 42652.5941 | 43484.4099 | 44364.8848 | 45252.1825 | 46157.2261
SAIDI incentives rates for DPP2 ($/SAIDI) |  | Other inputs | 7134.422
Unplanned reliability standards
Final run: | SAIDI boundary value | Inputs from Stata Model | 9.1745
Final run: | SAIDI average | Inputs from Stata Model | 94.9107
Final run: | SAIDI collar | Inputs from Stata Model | 0
Final run: | SAIDI standard deviation | Inputs from Stata Model | 16.4121
Final run: | SAIFI boundary value | Inputs from Stata Model | 0.067084
Final run: | SAIFI average | Inputs from Stata Model | 0.887
Final run: | SAIFI collar | Inputs from Stata Model | 0
Final run: | SAIFI standard deviation | Inputs from Stata Model | 0.14505
DPP2 counterfactual: | SAIDI average | Inputs from Stata Model | 108.4091
DPP2 counterfactual: | SAIFI average | Inputs from Stata Model | 1.18
DPP3 counterfactual: | SAIDI average | Inputs from Stata Model | 117.5796
DPP3 counterfactual: | SAIFI average | Inputs from Stata Model | 1.0964
Planned reliability standards
Final run: | SAIDI collar | Inputs from Stata Model | 0
Final run: | SAIDI average | Inputs from Stata Model | 54.9912
Final run: | SAIDI cap | Inputs from Stata Model | 164.9737
Final run: | SAIFI cap | Inputs from Stata Model | 0.6986
Calculations |  | Units | Result
Number of minutes in a year |  | minutes | 525600
Reliability standards
Planned reliability standard―SAIDI (5-year regulatory period limit) |  | minutes | 824.8685 | [5 empty] | Planned SAIDI standards are set for the five-year regulatory period
Planned reliability standard―SAIFI (5-year regulatory period limit) |  | frequency | 3.493 | [5 empty] | Planned SAIFI standards are set for the five-year regulatory period
Extreme event standard |  | SAIDI minutes | 120 | [5 empty] | The extreme event standard is set at 120 SAIDI minutes or 6,000,000 customer minutes (whichever is lower)
Extreme event standard―approx SAIDI equivalent |  | SAIDI minutes | 120
SAIDI Incentive Rate – DPP2
Average ICPs 2017-2019 |  | ICPs | 33005.1667 | [5 empty] | This is the three-year average of ICPs to calculate the incentive rate per customer
Average GWh 2017-2019 |  | GWh / year | 783.2333 | [5 empty] | This is the three-year average of electricity volumes to calculate the implied VoLL
Incentive Rate |  | $ / minute | 7134.422 | [5 empty] | The SAIDI incentive rate set for DPP2
Incentive Rate per customer |  | $ / minute / ICP | 0.21616 | [5 empty] | SAIDI incentive rate per customer in DPP2
Implied VoLL |  | $ / MWh | 4787.6566 | [5 empty] | The estimated amount of SAIDI incentives paid per MWh of electricity foregone
SAIDI Incentive Rate – DPP3
Multiplier |  | 1000 * years / minute | 0.0019026 | [5 empty] | This multiplier is used to calculate the incentive rate
Average ICPs 2017-2019 |  | ICPs | 33005.1667 | [5 empty] | This is the three-year average of ICPs to calculate the incentive rate per customer
Average GWh 2017-2019 |  | GWh / year | 783.2333 | [5 empty] | The incentive rate is calculated using the three-year average of energy delivered by the network
Unplanned incentive rate |  | $ / minute | 7879.2735 | [5 empty] | The SAIDI incentive rate is a function of VoLL, and measures the value of losses from each SAIDI minute
Unplanned incentive rate per customer |  | $ / minute / ICP | 0.23873 | [5 empty] | SAIDI incentive rate per customer for draft DPP3
Planned incentive rate |  | $ / minute | 3939.6367 | [5 empty] | The incentive rate for planned interruptions in DPP3 is set at 50% of unplanned interruptions
Interruption penalties and rewards
Counterfactual SAIDI percent increase in DPP3 vs DPP2 |  | percent | 8.459% | [5 empty] | This calculates the difference in reliability targets (average reliability) between the DPP2 and DPP3 reference periods, after normalisation
SAIDI scaling adjustment |  | percent | -3.189% | [5 empty] | This calculates the adjustment necessary to reflect the 5% cap on increases we'll allow in SAIDI
Adjusted SAIDI target |  | minutes | 91.8836 | [5 empty] | This adjusts the SAIDI target if the +/- 5% cap is reached
Adjusted SAIDI collar |  | minutes | 0 | [5 empty] | This adjusts the SAIDI collar if the +/- 5% cap is reached
Adjusted SAIDI cap |  | minutes | 124.7078 | [5 empty] | This adjusts the SAIDI cap if the +/- 5% cap is reached
Counterfactual SAIFI percent increase in DPP3 vs DPP2 |  | percent | -7.088% | [5 empty] | These calculations repeat those from above for SAIFI
SAIFI scaling adjustment |  | percent | 2.247% | [5 empty] | These calculations repeat those from above for SAIFI
Adjusted SAIFI target |  | minutes | 0.90693 | [5 empty] | These calculations repeat those from above for SAIFI
Adjusted SAIFI collar |  | minutes | 0 | Not applicable |  |  |  |  | These calculations repeat those from above for SAIFI
Adjusted SAIFI cap |  | minutes | 1.197 | [5 empty] | These calculations repeat those from above for SAIFI
Average MAR or net allowable revenue |  | $ nominal | 44382259.4519 | [5 empty] | This calculates the average annual MAR over the DPP3 period
Unplanned: Maximum revenue loss |  | percent of MAR | 0.5827% | [5 empty] | This calculates the maximum loss for unplanned disruptions as a proportion of the MAR
Unplanned: Maximum revenue gain |  | percent of MAR | 1.631% | [5 empty] | This calculates the maximum gain for unplanned disruptions as a proportion of the MAR
Planned: Maximum revenue loss |  | percent of MAR | 0.9763% | [5 empty] | This calculates the maximum loss for planned disruptions as a proportion of the MAR
Planned: Maximum revenue gain |  | percent of MAR | 0.4881% | [5 empty] | This calculates the maximum gain for planned disruptions as a proportion of the MAR
Total: Maximum revenue loss |  | percent of MAR | 1.559% | [5 empty] | This calculates the maximum loss for all disruptions as a proportion of the MAR (with cap applied)
Total: Maximum revenue gain |  | percent of MAR | 2% | [5 empty] | This calculates the maximum gain for all disruptions as a proportion of the MAR (with cap applied)
Implied value of lost load |  | $/MWh | 5287.5 | [5 empty] | The estimated amount of SAIDI incentives paid per MWh of electricity foregone
Outputs |  | Output | Value
Planned reliability standard―SAIDI (5-year regulatory period limit) - minutes |  |  | 824.8685
Planned reliability standard―SAIFI (5-year regulatory period limit) - frequency |  |  | 3.493
Extreme event standard - SAIDI minutes |  |  | 120
Extreme event standard―approx SAIDI equivalent - SAIDI minutes |  |  | 120
Incentive Rate - $ / minute |  | DPP2 | 7134.422
Incentive Rate per customer - $ / minute / ICP |  | DPP2 | 0.21616
Implied VoLL - $ / MWh |  | DPP2 | 4787.6566
Unplanned incentive rate - $ / minute |  | DPP3 | 7879.2735
Planned incentive rate - $ / minute |  | DPP3 | 3939.6367
Unplanned incentive rate per customer - $ / minute / ICP |  | DPP3 | 0.23873
Unplanned: Maximum revenue loss |  |  | 0.5827%
Unplanned: Maximum revenue gain |  |  | 1.631%
Planned: Maximum revenue loss |  |  | 0.9763%
Planned: Maximum revenue gain |  |  | 0.4881%
Total: Maximum revenue loss |  |  | 1.559%
Total: Maximum revenue gain |  |  | 2%
SAIDI target - minutes |  |  | 91.8836
SAIDI collar - minutes |  |  | 0
SAIDI cap - minutes |  |  | 124.7078
SAIFI target - minutes |  |  | 0.90693
SAIFI collar - minutes |  |  | 0
SAIFI cap - minutes |  |  | 1.197
Counterfactual SAIDI percent increase in DPP3 vs DPP2 |  |  | 8.459%
SAIDI scaling adjustment |  |  | -3.189%
Counterfactual SAIFI percent increase in DPP3 vs DPP2 |  |  | -7.088%
SAIFI scaling adjustment |  |  | 2.247%
Implied value of lost load |  |  | 5287.5

## Calculations-Chartbook
Calculations Chartbook
Inputs
Inputs from Stata Model
| Distributor | Start_Date | Planned_Unplanned | saidi_live_value | saidi_live_est | saidi_live_not
| Centralines | 2017-09-05 | Planned | 1.7287 | 1.7287 | 26.0269
| EA Networks | 2017-04-18 | Planned | 50.4286 | 50.4286 | 159.664
| Electricity Invercargill | 2018-02-26 | Planned | 0.60385 | 0.60385 | 0.60385
| OtagoNet | 2015-05-08 | Planned | 181.1619 | 181.1619 | 408.5415
| Top Energy | 2016-07-22 | Planned | 35.2834 | 34.7899 | 245.113
| Unison Networks | 2016-04-05 | Planned | 18.948 | 20.6708 | 116.4251
| Vector Lines | 2015-08-03 | Planned | 104.8756 | 125.1324 | 185.7791
| Wellington Electricity | 2016-04-01 | Planned | 0 | 8.1263 | 22.3223
Circuit Length
| Distributor | 2019 Circuit length (km)
| Electricity Invercargill | 658.0209
| Nelson Electricity | 297.553
Calculations
Estimated planned SAIDI impact of health and safety practices
| Distributor | Date started (first impact) | SAIDI impact of HSWA | Other SAIDI since start | Percent of planned SAIDI
| Centralines | 2017-09-05 | 1.7287 | 24.2982 | 6.642%
| EA Networks | 2017-04-18 | 50.4286 | 109.2354 | 31.58%
| Electricity Invercargill | 2018-02-26 | 0.60385 | 0 | *
| OtagoNet | 2015-05-08 | 181.1619 | 227.3796 | 44.34%
| Top Energy | 2016-07-22 | 35.2834 | 209.8296 | 14.39%
| Unison Networks | 2016-04-05 | 18.948 | 97.4771 | 16.27%
| Vector Lines | 2015-08-03 | 104.8756 | 80.9035 | 56.45%
| Wellington Electricity | 2016-04-01 | 8.1263 | 14.196 | 36.4%
Reduced frequency of major events
| Distributor | 2019 Circuit length (km) | Major events (compared to 23) | ‘Major half hours’ (compared to 1104)
| Electricity Invercargill | 658.0209 | 15.1345 | 726.455
| Nelson Electricity | 297.553 | 6.8437 | 328.4985
Outputs
Estimated planned SAIDI impact of health and safety practices
| Distributor | Date started (first impact) | SAIDI impact of HSWA | Other SAIDI since start | Percent of planned SAIDI
| Centralines | 2017-09-05 | 1.7287 | 24.2982 | 6.642%
| EA Networks | 2017-04-18 | 50.4286 | 109.2354 | 31.58%
| Electricity Invercargill | 2018-02-26 | 0.60385 | 0 | *
| OtagoNet | 2015-05-08 | 181.1619 | 227.3796 | 44.34%
| Top Energy | 2016-07-22 | 35.2834 | 209.8296 | 14.39%
| Unison Networks | 2016-04-05 | 18.948 | 97.4771 | 16.27%
| Vector Lines | 2015-08-03 | 104.8756 | 80.9035 | 56.45%
| Wellington Electricity | 2016-04-01 | 8.1263 | 14.196 | 36.4%
* Electricity Invercargill sample is only one month, with only one planned interruption

## Output
Outputs
This sheet uses Excel's data table facility to display the quality standards for each EDB.
Distributor |  | Scenario
Active EDB |  | Alpine Energy
| Active EDB outputs | Alpine Energy | Aurora Energy | Centralines | EA Networks | Eastland Network | Electricity Invercargill | Horizon Energy | Nelson Electricity | Network Tasman | Orion NZ | OtagoNet | Powerco | The Lines Company | Top Energy | Unison Networks | Vector Lines | Wellington Electricity
Reliability standards
Planned reliability standard―SAIDI (5-year regulatory period limit) - minutes | 824.8685 | 824.8685 | 979.796 | 1064.4635 | 1376.082 | 1290.6775 | 114.4936 | 858.6325 | 180.111 | 1129.1355 | 198.403 | 2114.433 | 772.4955 | 1331.675 | 1905.363 | 625.7945 | 585.3805 | 69.6951
Planned reliability standard―SAIFI (5-year regulatory period limit) - frequency | 3.493 | 3.493 | 5.5385 | 5.8573 | 4.8939 | 7.4745 | 0.51834 | 5.4414 | 2.3663 | 4.9021 | 0.74806 | 9.6212 | 3.5113 | 8.7527 | 7.7526 | 4.4649 | 2.8783 | 0.55358
Extreme event standard―approx SAIDI equivalent - SAIDI minutes | 120 | 120 | 66.7661 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 29.5631 | 120 | 17.6275 | 120 | 120 | 52.7816 | 10.6157 | 35.7303
SAIDI target - minutes | 91.8836 | 91.8836 | 63.4406 | 62.8266 | 71.6543 | 173.848 | 15.3923 | 144.3524 | 9.5334 | 74.4923 | 66.4659 | 120.0213 | 151.9589 | 143.0358 | 302.1594 | 67.8146 | 89.2779 | 31.2018
SAIDI collar - minutes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SAIDI cap - minutes | 124.7078 | 124.7078 | 81.8866 | 83.6076 | 91.9755 | 219.4603 | 25.8552 | 194.5268 | 19.5969 | 101.0324 | 84.7104 | 160.3547 | 180.2532 | 181.4778 | 380.238 | 82.3444 | 104.8298 | 39.8079
SAIFI target - minutes | 0.90693 | 0.90693 | 1.1693 | 2.5497 | 1.0065 | 2.47 | 0.42733 | 1.8375 | 0.19879 | 0.90416 | 0.83711 | 1.794 | 1.9991 | 2.5578 | 4.1328 | 1.5201 | 1.1803 | 0.48396
SAIFI collar - minutes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SAIFI cap - minutes | 1.197 | 1.197 | 1.4687 | 3.1616 | 1.2826 | 3.1525 | 0.69559 | 2.3904 | 0.42773 | 1.1956 | 1.0336 | 2.4172 | 2.2684 | 3.2715 | 5.0732 | 1.8152 | 1.3366 | 0.61354
Counterfactual SAIDI percent increase in DPP3 vs DPP2 | 8.459% | 8.459% | 23.04% | -25.1% | 1.126% | -5.508% | -10.01% | 2.58% | -26.74% | -2.726% | 0% | 8.443% | 0.4815% | 5.441% | -7.863% | -7.663% | 21.6% | 7.08%
SAIDI scaling adjustment | -3.189% | -3.189% | -14.66% | 26.84% | 0% | 0.5375% | 5.568% | 0% | 29.68% | 0% | 0% | -3.175% | 0% | -0.418% | 3.108% | 2.884% | -13.65% | -1.942%
Counterfactual SAIFI percent increase in DPP3 vs DPP2 | -7.088% | -7.088% | 21.4% | -31.73% | 1.095% | -6.241% | -13.38% | -1.159% | -27.05% | -10.27% | 0% | 8.037% | -8.83% | 5.184% | -11.18% | -9.626% | 1.576% | 6.458%
SAIFI scaling adjustment | 2.247% | 2.247% | -13.51% | 39.16% | 0% | 1.323% | 9.679% | 0% | 30.23% | 5.877% | 0% | -2.811% | 4.201% | -0.1748% | 6.959% | 5.119% | 0% | -1.369%
SAIDI Incentive Rate – DPP2
Incentive Rate - $ / minute | 7134.422 | 7134.422 | 31741.2987 | 2461.8732 | 9080.4842 | 3560.1831 | 9619.6002 | 4284.8947 | 5663.7743 | 8100.071 | 0 | 4083.9141 | 57525.982 | 6829.9169 | 2107.464 | 45378.4058 | 242885.1548 | 95090.9696
Incentive Rate per customer - $ / minute / ICP | 0.21616 | 21.62% | 35.86% | 28.76% | 47.26% | 13.96% | 55.3% | 17.13% | 61.49% | 20.49% | 0% | 25.41% | 17.06% | 28.84% | 6.644% | 40.24% | 43.52% | 56.92%
Implied VoLL - $ / MWh | 4787.6566 | 4787.6566 | 12757.6676 | 12157.7029 | 8901.2811 | 6730.1524 | 19991.3443 | 4198.2689 | 21126.8059 | 6841.9505 | 0 | 4976.9662 | 6348.9532 | 9436.0838 | 3394.2423 | 14824.4621 | 15194.8649 | 21658.3309
SAIDI Incentive Rate – DPP3
Unplanned incentive rate - $ / minute | 7879.2735 | 7879.2735 | 13155.3919 | 1070.6919 | 5393.9494 | 2797.0344 | 2544.2829 | 5396.6007 | 1417.4981 | 6259.783 | 31686.1168 | 4338.7267 | 47908.4695 | 3827.137 | 3282.9759 | 16185.2969 | 84519.031 | 23214.7853
Planned incentive rate - $ / minute | 3939.6367 | 3939.6367 | 6577.6959 | 535.346 | 2696.9747 | 1398.5172 | 1272.1415 | 2698.3004 | 708.749 | 3129.8915 | 15843.0584 | 2169.3633 | 23954.2348 | 1913.5685 | 1641.488 | 8092.6485 | 42259.5155 | 11607.3927
Unplanned incentive rate per customer - $ / minute / ICP | 0.23873 | 0.23873 | 0.14862 | 0.12508 | 0.28072 | 0.10966 | 0.14626 | 0.21572 | 0.15389 | 0.15837 | 0.15864 | 0.26998 | 0.14208 | 0.16162 | 0.1035 | 0.14353 | 0.15143 | 0.13896
Interruption penalties and rewards
Unplanned: Maximum revenue loss | 0.5827% | 0.5827% | 0.267% | 0.2283% | 0.3167% | 0.5103% | 0.2087% | 1.088% | 0.2492% | 0.6036% | 0.3505% | 0.6524% | 0.4568% | 0.4074% | 0.648% | 0.226% | 0.325% | 0.2101%
Unplanned: Maximum revenue gain | 1.631% | 1.631% | 0.9184% | 0.6902% | 1.117% | 1.945% | 0.307% | 3.131% | 0.236% | 1.694% | 1.277% | 1.941% | 2.453% | 1.516% | 2.508% | 1.055% | 1.866% | 0.7616%
Planned: Maximum revenue loss | 0.9763% | 0.9763% | 0.9456% | 0.7795% | 1.43% | 0.9626% | 0.1523% | 1.242% | 0.2973% | 1.712% | 0.2541% | 2.28% | 0.8314% | 0.9408% | 1.054% | 0.6488% | 0.8155% | 0.1134%
Planned: Maximum revenue gain | 0.4881% | 0.4881% | 0.4728% | 0.3898% | 0.7149% | 0.4813% | 0.07613% | 0.6208% | 0.1487% | 0.856% | 0.1271% | 1.14% | 0.4157% | 0.4704% | 0.5271% | 0.3244% | 0.4077% | 0.0567%
Total: Maximum revenue loss | 1.559% | 1.559% | 1.213% | 1.008% | 1.747% | 1.473% | 0.361% | 2% | 0.5465% | 2% | 0.6046% | 2% | 1.288% | 1.348% | 1.702% | 0.8748% | 1.14% | 0.3235%
Total: Maximum revenue gain | 2% | 2% | 1.391% | 1.08% | 1.832% | 2% | 0.3832% | 2% | 0.3847% | 2% | 1.404% | 2% | 2% | 1.986% | 2% | 1.379% | 2% | 0.8183%
|  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
Inputs from Stata model |  | Alpine Energy | Aurora Energy | Centralines | EA Networks | Eastland Network | Electricity Invercargill | Horizon Energy | Nelson Electricity | Network Tasman | Orion NZ | OtagoNet | Powerco | The Lines Company | Top Energy | Unison Networks | Vector Lines | Wellington Electricity
Unplanned disruption standards
SAIDI boundary value |  | 9.1745 | 5.6907 | 6.7939 | 6.2509 | 13.0984 | 4.1289 | 14.6859 | 8.6827 | 7.2246 | 7.5972 | 11.8082 | 9.8185 | 11.1731 | 27.923 | 4.4828 | 4.825 | 2.1567
SAIDI average |  | 94.9107 | 74.3375 | 49.5306 | 71.6543 | 172.9186 | 14.5804 | 144.3524 | 7.3515 | 74.4923 | 66.4659 | 123.9564 | 151.9589 | 143.6362 | 293.0522 | 65.9138 | 103.3914 | 31.8198
SAIDI collar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SAIDI cap pre-adjustment |  | 127.7349 | 92.7835 | 70.3115 | 91.9755 | 218.5309 | 25.0433 | 194.5268 | 17.4151 | 101.0324 | 84.7104 | 164.2898 | 180.2532 | 182.0782 | 371.1308 | 80.4436 | 118.9432 | 40.426
SAIDI standard deviation |  | 16.4121 | 9.223 | 10.3905 | 10.1606 | 22.8062 | 5.2314 | 25.0872 | 5.0318 | 13.27 | 9.1222 | 20.1667 | 14.1472 | 19.221 | 39.0393 | 7.2649 | 7.7759 | 4.3031
SAIFI boundary value |  | 0.067084 | 0.073672 | 0.14422 | 0.072886 | 0.1765 | 0.080374 | 0.11697 | 0.14298 | 0.068837 | 0.066785 | 0.17759 | 0.062755 | 0.15962 | 0.22836 | 0.073527 | 0.037054 | 0.031269
SAIFI average |  | 0.887 | 1.352 | 1.8322 | 1.0065 | 2.4378 | 0.38962 | 1.8375 | 0.15264 | 0.85397 | 0.83711 | 1.8459 | 1.9185 | 2.5623 | 3.864 | 1.4461 | 1.1803 | 0.49068
SAIFI collar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SAIFI cap pre-adjustment |  | 1.1771 | 1.6513 | 2.4441 | 1.2826 | 3.1203 | 0.65788 | 2.3904 | 0.38158 | 1.1454 | 1.0336 | 2.4691 | 2.1878 | 3.276 | 4.8043 | 1.7412 | 1.3366 | 0.62026
SAIFI standard deviation |  | 0.14505 | 0.14966 | 0.30598 | 0.13805 | 0.34124 | 0.13413 | 0.27645 | 0.11447 | 0.1457 | 0.098221 | 0.31157 | 0.13464 | 0.35687 | 0.47019 | 0.14755 | 0.078162 | 0.064788
Planned disruption standards
SAIDI collar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SAIDI average |  | 54.9912 | 65.3197 | 70.9643 | 91.7388 | 86.0452 | 7.6329 | 57.2422 | 12.0074 | 75.2757 | 13.2269 | 140.9622 | 51.4997 | 88.7783 | 127.0242 | 41.7196 | 39.0254 | 4.6463
SAIDI cap |  | 164.9737 | 195.9592 | 212.8927 | 275.2164 | 258.1355 | 22.8987 | 171.7265 | 36.0222 | 225.8271 | 39.6806 | 422.8866 | 154.4991 | 266.335 | 381.0726 | 125.1589 | 117.0761 | 13.939
SAIDI standard |  | 824.8683 | 979.796 | 1064.464 | 1376.082 | 1290.678 | 114.4936 | 858.6327 | 180.1109 | 1129.136 | 198.403 | 2114.433 | 772.4954 | 1331.675 | 1905.363 | 625.7946 | 585.3804 | 69.6951
SAIFI collar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SAIFI average |  | 0.23287 | 0.36923 | 0.39049 | 0.32626 | 0.4983 | 0.034556 | 0.36276 | 0.15775 | 0.32681 | 0.049871 | 0.64141 | 0.23409 | 0.58351 | 0.51684 | 0.29766 | 0.19189 | 0.036905

## Chart book
Outputs Chart book
Table 3.2 | Quality standards
|  | Unplanned SAIDI | Unplanned SAIFI | Planned SAIDI | Planned SAIFI | Extreme outage SAIDI
| Distributor | (1-year) | (1-year) | (5-year) | (5-year)
| Alpine Energy | 124.7078 | 1.197 | 824.8685 | 3.493 | 120
| Aurora Energy | 81.8866 | 1.4687 | 979.796 | 5.5385 | 66.7661
| Centralines | 83.6076 | 3.1616 | 1064.4635 | 5.8573 | 120
| EA Networks | 91.9755 | 1.2826 | 1376.082 | 4.8939 | 120
| Eastland Network | 219.4603 | 3.1525 | 1290.6775 | 7.4745 | 120
| Electricity Invercargill | 25.8552 | 0.69559 | 114.4936 | 0.51834 | 120
| Horizon Energy | 194.5268 | 2.3904 | 858.6325 | 5.4414 | 120
| Nelson Electricity | 19.5969 | 0.42773 | 180.111 | 2.3663 | 120
| Network Tasman | 101.0324 | 1.1956 | 1129.1355 | 4.9021 | 120
| Orion NZ | 84.7104 | 1.0336 | 198.403 | 0.74806 | 29.5631
| OtagoNet | 160.3547 | 2.4172 | 2114.433 | 9.6212 | 120
| Powerco | 180.2532 | 2.2684 | 772.4955 | 3.5113 | 17.6275
| The Lines Company | 181.4778 | 3.2715 | 1331.675 | 8.7527 | 120
| Top Energy | 380.238 | 5.0732 | 1905.363 | 7.7526 | 120
| Unison Networks | 82.3444 | 1.8152 | 625.7945 | 4.4649 | 52.7816
| Vector Lines | 104.8298 | 1.3366 | 585.3805 | 2.8783 | 10.6157
| Wellington Electricity | 39.8079 | 0.61354 | 69.6951 | 0.55358 | 35.7303
Table 3.3 | Quality incentive scheme parameters
| Unplanned SAIDI | Unplanned collar | Unplanned target | Unplanned cap | Unplanned incentive rate | Maximum loss | Maximum gain
| Alpine Energy | 0 | 91.8836 | 124.7078 | 7879.2735 | 0.5827% | 1.631%
| Aurora Energy | 0 | 63.4406 | 81.8866 | 13155.3919 | 0.267% | 0.9184%
| Centralines | 0 | 62.8266 | 83.6076 | 1070.6919 | 0.2283% | 0.6902%
| EA Networks | 0 | 71.6543 | 91.9755 | 5393.9494 | 0.3167% | 1.117%
| Eastland Network | 0 | 173.848 | 219.4603 | 2797.0344 | 0.5103% | 1.945%
| Electricity Invercargill | 0 | 15.3923 | 25.8552 | 2544.2829 | 0.2087% | 0.307%
| Horizon Energy | 0 | 144.3524 | 194.5268 | 5396.6007 | 1.088% | 3.131%
| Nelson Electricity | 0 | 9.5334 | 19.5969 | 1417.4981 | 0.2492% | 0.236%
| Network Tasman | 0 | 74.4923 | 101.0324 | 6259.783 | 0.6036% | 1.694%
| Orion NZ | 0 | 66.4659 | 84.7104 | 31686.1168 | 0.3505% | 1.277%
| OtagoNet | 0 | 120.0213 | 160.3547 | 4338.7267 | 0.6524% | 1.941%
| Powerco | 0 | 151.9589 | 180.2532 | 47908.4695 | 0.4568% | 2.453%
| The Lines Company | 0 | 143.0358 | 181.4778 | 3827.137 | 0.4074% | 1.516%
| Top Energy | 0 | 302.1594 | 380.238 | 3282.9759 | 0.648% | 2.508%
| Unison Networks | 0 | 67.8146 | 82.3444 | 16185.2969 | 0.226% | 1.055%
| Vector Lines | 0 | 89.2779 | 104.8298 | 84519.031 | 0.325% | 1.866%
| Wellington Electricity | 0 | 31.2018 | 39.8079 | 23214.7853 | 0.2101% | 0.7616%
| Planned SAIDI | Planned collar | Planned target | Planned cap | Planned incentive rate | Maximum loss | Maximum gain
| Alpine Energy | 0 | 54.9912 | 164.9737 | 3939.6367 | 0.9763% | 0.4881%
| Aurora Energy | 0 | 65.3197 | 195.9592 | 6577.6959 | 0.9456% | 0.4728%
| Centralines | 0 | 70.9643 | 212.8927 | 535.346 | 0.7795% | 0.3898%
| EA Networks | 0 | 91.7388 | 275.2164 | 2696.9747 | 1.43% | 0.7149%
| Eastland Network | 0 | 86.0452 | 258.1355 | 1398.5172 | 0.9626% | 0.4813%
| Electricity Invercargill | 0 | 7.6329 | 22.8987 | 1272.1415 | 0.1523% | 0.07613%
| Horizon Energy | 0 | 57.2422 | 171.7265 | 2698.3004 | 1.242% | 0.6208%
| Nelson Electricity | 0 | 12.0074 | 36.0222 | 708.749 | 0.2973% | 0.1487%
| Network Tasman | 0 | 75.2757 | 225.8271 | 3129.8915 | 1.712% | 0.856%
| Orion NZ | 0 | 13.2269 | 39.6806 | 15843.0584 | 0.2541% | 0.1271%
| OtagoNet | 0 | 140.9622 | 422.8866 | 2169.3633 | 2.28% | 1.14%
| Powerco | 0 | 51.4997 | 154.4991 | 23954.2348 | 0.8314% | 0.4157%
| The Lines Company | 0 | 88.7783 | 266.335 | 1913.5685 | 0.9408% | 0.4704%
| Top Energy | 0 | 127.0242 | 381.0726 | 1641.488 | 1.054% | 0.5271%
| Unison Networks | 0 | 41.7196 | 125.1589 | 8092.6485 | 0.6488% | 0.3244%
| Vector Lines | 0 | 39.0254 | 117.0761 | 42259.5155 | 0.8155% | 0.4077%
| Wellington Electricity | 0 | 4.6463 | 13.939 | 11607.3927 | 0.1134% | 0.0567%
Table K2 | Unplanned boundary values
| Distributor | SAIDI boundary | SAIFI boundary
| Alpine Energy | 9.1745 | 0.067084
| Aurora Energy | 5.6907 | 0.073672
| Centralines | 6.7939 | 0.14422
| EA Networks | 6.2509 | 0.072886
| Eastland Network | 13.0984 | 0.1765
| Electricity Invercargill | 4.1289 | 0.080374
| Horizon Energy | 14.6859 | 0.11697
| Nelson Electricity | 8.6827 | 0.14298
| Network Tasman | 7.2246 | 0.068837
| Orion NZ | 7.5972 | 0.066785
| OtagoNet | 11.8082 | 0.17759
| Powerco | 9.8185 | 0.062755
| The Lines Company | 11.1731 | 0.15962
| Top Energy | 27.923 | 0.22836
| Unison Networks | 4.4828 | 0.073527
| Vector Lines | 4.825 | 0.037054
| Wellington Electricity | 2.1567 | 0.031269
Figure J1 | Difference between DPP2 and uncapped DPP3 SAIDI targets
| Distributor | SAIDI target
| Alpine Energy | 8.459%
| Aurora Energy | 23.04%
| Centralines | -25.1%
| EA Networks | 1.126%
| Eastland Network | -5.508%
| Electricity Invercargill | -10.01%
| Horizon Energy | 2.58%
| Nelson Electricity | -26.74%
| Network Tasman | -2.726%
| Orion NZ | 0%
| OtagoNet | 8.443%
| Powerco | 0.4815%
| The Lines Company | 5.441%
| Top Energy | -7.863%
| Unison Networks | -7.663%
| Vector Lines | 21.6%
| Wellington Electricity | 7.08%
Figure J2 | Difference between DPP2 and uncapped DPP3 SAIFI targets
| Distributor | SAIFI target
| Alpine Energy | -7.088%
| Aurora Energy | 21.4%
| Centralines | -31.73%
| EA Networks | 1.095%
| Eastland Network | -6.241%
| Electricity Invercargill | -13.38%
| Horizon Energy | -1.159%
| Nelson Electricity | -27.05%
| Network Tasman | -10.27%
| Orion NZ | 0%
| OtagoNet | 8.037%
| Powerco | -8.83%
| The Lines Company | 5.184%
| Top Energy | -11.18%
| Unison Networks | -9.626%
| Vector Lines | 1.576%
| Wellington Electricity | 6.458%
Table J1 | Adjustments to DPP3 targets based on 5% cap
| Distributor | SAIDI Adjustment | SAIFI Adjustment
| Alpine Energy | -3.189% | 2.247%
| Aurora Energy | -14.66% | -13.51%
| Centralines | 26.84% | 39.16%
| EA Networks | 0% | 0%
| Eastland Network | 0.5375% | 1.323%
| Electricity Invercargill | 5.568% | 9.679%
| Horizon Energy | 0% | 0%
| Nelson Electricity | 29.68% | 30.23%
| Network Tasman | 0% | 5.877%
| Orion NZ | 0% | 0%
| OtagoNet | -3.175% | -2.811%
| Powerco | 0% | 4.201%
| The Lines Company | -0.418% | -0.1748%
| Top Energy | 3.108% | 6.959%
| Unison Networks | 2.884% | 5.119%
| Vector Lines | -13.65% | 0%
| Wellington Electricity | -1.942% | -1.369%
Table J2 | Estimated planned SAIDI impact of health and safety practices
| Distributor | Date started (first impact) | SAIDI impact of HSWA | Other SAIDI since start | Percent of planned SAIDI
| Centralines | 2017-09-05 | 1.7287 | 24.2982 | 6.642%
| EA Networks | 2017-04-18 | 50.4286 | 109.2354 | 31.58%
| Electricity Invercargill | 2018-02-26 | 0.60385 | 0 | *
| OtagoNet | 2015-05-08 | 181.1619 | 227.3796 | 44.34%
| Top Energy | 2016-07-22 | 35.2834 | 209.8296 | 14.39%
| Unison Networks | 2016-04-05 | 18.948 | 97.4771 | 16.27%
| Vector Lines | 2015-08-03 | 104.8756 | 80.9035 | 56.45%
| Wellington Electricity | 2016-04-01 | 8.1263 | 14.196 | 36.4%
* Electricity Invercargill sample is only one month, with only one planned interruption
Table K1 | Reduced frequency of major events
| Distributor | 2019 Circuit length (km) | Major events (compared to 23) | ‘Major half hours’ (compared to 1104)
| Electricity Invercargill | 658.0209 | 15.1345 | 726.455
| Nelson Electricity | 297.553 | 6.8437 | 328.4985
Table L1 | Annual unplanned reliability standards
| Distributor | Unplanned SAIDI | Unplanned SAIFI
| Alpine Energy | 124.7078 | 1.197
| Aurora Energy | 81.8866 | 1.4687
| Centralines | 83.6076 | 3.1616
| EA Networks | 91.9755 | 1.2826
| Eastland Network | 219.4603 | 3.1525
| Electricity Invercargill | 25.8552 | 0.69559
| Horizon Energy | 194.5268 | 2.3904
| Nelson Electricity | 19.5969 | 0.42773
| Network Tasman | 101.0324 | 1.1956
| Orion NZ | 84.7104 | 1.0336
| OtagoNet | 160.3547 | 2.4172
| Powerco | 180.2532 | 2.2684
| The Lines Company | 181.4778 | 3.2715
| Top Energy | 380.238 | 5.0732
| Unison Networks | 82.3444 | 1.8152
| Vector Lines | 104.8298 | 1.3366
| Wellington Electricity | 39.8079 | 0.61354
Table L2 | Regulatory period planned reliability standards (5-year total)
| Distributor | Planned SAIDI | Planned SAIFI
| Alpine Energy | 824.8685 | 3.493
| Aurora Energy | 979.796 | 5.5385
| Centralines | 1064.4635 | 5.8573
| EA Networks | 1376.082 | 4.8939
| Eastland Network | 1290.6775 | 7.4745
| Electricity Invercargill | 114.4936 | 0.51834
| Horizon Energy | 858.6325 | 5.4414
| Nelson Electricity | 180.111 | 2.3663
| Network Tasman | 1129.1355 | 4.9021
| Orion NZ | 198.403 | 0.74806
| OtagoNet | 2114.433 | 9.6212
| Powerco | 772.4955 | 3.5113
| The Lines Company | 1331.675 | 8.7527
| Top Energy | 1905.363 | 7.7526
| Unison Networks | 625.7945 | 4.4649
| Vector Lines | 585.3805 | 2.8783
| Wellington Electricity | 69.6951 | 0.55358
Not used | Draft extreme outage event standard
| Distributor | Major event SAIDI limit
| Alpine Energy | 120
| Aurora Energy | 66.7661
| Centralines | 120
| EA Networks | 120
| Eastland Network | 120
| Electricity Invercargill | 120
| Horizon Energy | 120
| Nelson Electricity | 120
| Network Tasman | 120
| Orion NZ | 29.5631
| OtagoNet | 120
| Powerco | 17.6275
| The Lines Company | 120
| Top Energy | 120
| Unison Networks | 52.7816
| Vector Lines | 10.6157
| Wellington Electricity | 35.7303
Table M1 | DPP2 SAIDI incentive rates
| Distributor | Incentive rate | Incentive rate per customer | Implied VoLL
| Alpine Energy | 7134.422 | 0.21616 | 4787.6566
| Aurora Energy | 31741.2987 | 0.35858 | 12757.6676
| Centralines | 2461.8732 | 0.2876 | 12157.7029
| EA Networks | 9080.4842 | 0.47259 | 8901.2811
| Eastland Network | 3560.1831 | 0.13959 | 6730.1524
| Electricity Invercargill | 9619.6002 | 0.55298 | 19991.3443
| Horizon Energy | 4284.8947 | 0.17128 | 4198.2689
| Nelson Electricity | 5663.7743 | 0.6149 | 21126.8059
| Network Tasman | 8100.071 | 0.20493 | 6841.9505
| Orion NZ | 0 | 0 | 0
| OtagoNet | 4083.9141 | 0.25413 | 4976.9662
| Powerco | 57525.982 | 0.17061 | 6348.9532
| The Lines Company | 6829.9169 | 0.28843 | 9436.0838
| Top Energy | 2107.464 | 0.066438 | 3394.2423
| Unison Networks | 45378.4058 | 0.40241 | 14824.4621
| Vector Lines | 242885.1548 | 0.43517 | 15194.8649
| Wellington Electricity | 95090.9696 | 0.5692 | 21658.3309
Table M2 | DPP3 SAIDI incentive rates
| Distributor | Incentive rate | Incentive rate per customer | Implied VoLL
| Alpine Energy | 7879.2735 | 0.23873 | 5287.5
| Aurora Energy | 13155.3919 | 0.14862 | 5287.5
| Centralines | 1070.6919 | 0.12508 | 5287.5
| EA Networks | 5393.9494 | 0.28072 | 5287.5
| Eastland Network | 2797.0344 | 0.10966 | 5287.5
| Electricity Invercargill | 2544.2829 | 0.14626 | 5287.5
| Horizon Energy | 5396.6007 | 0.21572 | 5287.5
| Nelson Electricity | 1417.4981 | 0.15389 | 5287.5
| Network Tasman | 6259.783 | 0.15837 | 5287.5
| Orion NZ | 31686.1168 | 0.15864 | 5287.5
| OtagoNet | 4338.7267 | 0.26998 | 5287.5
| Powerco | 47908.4695 | 0.14208 | 5287.5
| The Lines Company | 3827.137 | 0.16162 | 5287.5
| Top Energy | 3282.9759 | 0.1035 | 5287.5
| Unison Networks | 16185.2969 | 0.14353 | 5287.5
| Vector Lines | 84519.031 | 0.15143 | 5287.5
| Wellington Electricity | 23214.7853 | 0.13896 | 5287.5
Table M3 | Draft unplanned incentive parameters
| Distributor | Unplanned SAIDI collar | Unplanned SAIDI target | Unplanned SAIDI cap | Incentive rate per SAIDI
| Alpine Energy | 0 | 91.8836 | 124.7078 | 7879.2735
| Aurora Energy | 0 | 63.4406 | 81.8866 | 13155.3919
| Centralines | 0 | 62.8266 | 83.6076 | 1070.6919
| EA Networks | 0 | 71.6543 | 91.9755 | 5393.9494
| Eastland Network | 0 | 173.848 | 219.4603 | 2797.0344
| Electricity Invercargill | 0 | 15.3923 | 25.8552 | 2544.2829
| Horizon Energy | 0 | 144.3524 | 194.5268 | 5396.6007
| Nelson Electricity | 0 | 9.5334 | 19.5969 | 1417.4981
| Network Tasman | 0 | 74.4923 | 101.0324 | 6259.783
| Orion NZ | 0 | 66.4659 | 84.7104 | 31686.1168
| OtagoNet | 0 | 120.0213 | 160.3547 | 4338.7267
| Powerco | 0 | 151.9589 | 180.2532 | 47908.4695
| The Lines Company | 0 | 143.0358 | 181.4778 | 3827.137
| Top Energy | 0 | 302.1594 | 380.238 | 3282.9759
| Unison Networks | 0 | 67.8146 | 82.3444 | 16185.2969
| Vector Lines | 0 | 89.2779 | 104.8298 | 84519.031
| Wellington Electricity | 0 | 31.2018 | 39.8079 | 23214.7853
Table M4 | Planned incentive parameters
| Distributor | Planned SAIDI collar | Planned SAIDI target | Planned SAIDI cap | Incentive rate per SAIDI
| Alpine Energy | 0 | 54.9912 | 164.9737 | 3939.6367
| Aurora Energy | 0 | 65.3197 | 195.9592 | 6577.6959
| Centralines | 0 | 70.9643 | 212.8927 | 535.346
| EA Networks | 0 | 91.7388 | 275.2164 | 2696.9747
| Eastland Network | 0 | 86.0452 | 258.1355 | 1398.5172
| Electricity Invercargill | 0 | 7.6329 | 22.8987 | 1272.1415
| Horizon Energy | 0 | 57.2422 | 171.7265 | 2698.3004
| Nelson Electricity | 0 | 12.0074 | 36.0222 | 708.749
| Network Tasman | 0 | 75.2757 | 225.8271 | 3129.8915
| Orion NZ | 0 | 13.2269 | 39.6806 | 15843.0584
| OtagoNet | 0 | 140.9622 | 422.8866 | 2169.3633
| Powerco | 0 | 51.4997 | 154.4991 | 23954.2348
| The Lines Company | 0 | 88.7783 | 266.335 | 1913.5685
| Top Energy | 0 | 127.0242 | 381.0726 | 1641.488
| Unison Networks | 0 | 41.7196 | 125.1589 | 8092.6485
| Vector Lines | 0 | 39.0254 | 117.0761 | 42259.5155
| Wellington Electricity | 0 | 4.6463 | 13.939 | 11607.3927
Table M5 | Implied maximum revenue at risk
| Distributor | Maximum loss |  |  | Maximum gain
|  | Unplanned | Planned | Total | Unplanned | Planned | Total
| Alpine Energy | 0.5827% | 0.9763% | 1.559% | 1.631% | 0.4881% | 2%
| Aurora Energy | 0.267% | 0.9456% | 1.213% | 0.9184% | 0.4728% | 1.391%
| Centralines | 0.2283% | 0.7795% | 1.008% | 0.6902% | 0.3898% | 1.08%
| EA Networks | 0.3167% | 1.43% | 1.747% | 1.117% | 0.7149% | 1.832%
| Eastland Network | 0.5103% | 0.9626% | 1.473% | 1.945% | 0.4813% | 2%
| Electricity Invercargill | 0.2087% | 0.1523% | 0.361% | 0.307% | 0.07613% | 0.3832%
| Horizon Energy | 1.088% | 1.242% | 2% | 3.131% | 0.6208% | 2%
| Nelson Electricity | 0.2492% | 0.2973% | 0.5465% | 0.236% | 0.1487% | 0.3847%
| Network Tasman | 0.6036% | 1.712% | 2% | 1.694% | 0.856% | 2%
| Orion NZ | 0.3505% | 0.2541% | 0.6046% | 1.277% | 0.1271% | 1.404%
| OtagoNet | 0.6524% | 2.28% | 2% | 1.941% | 1.14% | 2%
| Powerco | 0.4568% | 0.8314% | 1.288% | 2.453% | 0.4157% | 2%
| The Lines Company | 0.4074% | 0.9408% | 1.348% | 1.516% | 0.4704% | 1.986%
| Top Energy | 0.648% | 1.054% | 1.702% | 2.508% | 0.5271% | 2%
| Unison Networks | 0.226% | 0.6488% | 0.8748% | 1.055% | 0.3244% | 1.379%
| Vector Lines | 0.325% | 0.8155% | 1.14% | 1.866% | 0.4077% | 2%
| Wellington Electricity | 0.2101% | 0.1134% | 0.3235% | 0.7616% | 0.0567% | 0.8183%
Table 3.1.1 | Table 3.1.1: Accumulated SAIDI limits and accumulated SAIFI limits for planned interruptions for non-exempt EDBs for the
DPP regulatory period 1 April 2020 – 31 March 2025
Non-exempt EDB
|  | Accumulated SAIDI limit for the assessment period ending 31 March 2025 | Accumulated SAIFI limit for the assessment period ending 31 March 2025
| Alpine Energy Limited | 824.8685 | 3.493
| Aurora Energy Limited | 979.796 | 5.5385
| Centralines Limited | 1064.4635 | 5.8573
| Electricity Ashburton Limited | 1376.082 | 4.8939
| Eastland Network Limited | 1290.6775 | 7.4745
| Electricity Invercargill Limited | 114.4936 | 0.51834
| Horizon Energy Distribution Limited | 858.6325 | 5.4414
| Nelson Electricity Limited | 180.111 | 2.3663
| Network Tasman Limited | 1129.1355 | 4.9021
| Orion New Zealand Limited | 198.403 | 0.74806
| OtagoNet Joint Venture | 2114.433 | 9.6212
| Powerco Limited | 772.4955 | 3.5113
| The Lines Company Limited | 1331.675 | 8.7527
| Top Energy Limited | 1905.363 | 7.7526
| Unison Networks Limited | 625.7945 | 4.4649
| Vector Limited | 585.3805 | 2.8783
| Wellington Electricity Lines Limited | 69.6951 | 0.55358
Table 3.2.1 | Table 3.2.1: SAIDI limits, SAIFI limits, SAIDI unplanned boundary values and SAIFI unplanned boundary values for unplanned interruptions for non-exempt EDBs for the
DPP regulatory period 1 April 2020 – 31 March 2025
| Non-exempt EDB | Unplanned standard
|  | SAIDI limit | SAIFI limit | Unplanned SAIDI boundary value | Unplanned SAIFI boundary value
| Alpine Energy Limited | 124.7078 | 1.197 | 9.1745 | 0.067084
| Aurora Energy Limited | 81.8866 | 1.4687 | 5.6907 | 0.073672
| Centralines Limited | 83.6076 | 3.1616 | 6.7939 | 0.14422
| Electricity Ashburton Limited | 91.9755 | 1.2826 | 6.2509 | 0.072886
| Eastland Network Limited | 219.4603 | 3.1525 | 13.0984 | 0.1765
| Electricity Invercargill Limited | 25.8552 | 0.69559 | 4.1289 | 0.080374
| Horizon Energy Distribution Limited | 194.5268 | 2.3904 | 14.6859 | 0.11697
| Nelson Electricity Limited | 19.5969 | 0.42773 | 8.6827 | 0.14298
| Network Tasman Limited | 101.0324 | 1.1956 | 7.2246 | 0.068837
| Orion New Zealand Limited | 84.7104 | 1.0336 | 7.5972 | 0.066785
| OtagoNet Joint Venture | 160.3547 | 2.4172 | 11.8082 | 0.17759
| Powerco Limited | 180.2532 | 2.2684 | 9.8185 | 0.062755
| The Lines Company Limited | 181.4778 | 3.2715 | 11.1731 | 0.15962
| Top Energy Limited | 380.238 | 5.0732 | 27.923 | 0.22836
| Unison Networks Limited | 82.3444 | 1.8152 | 4.4828 | 0.073527
| Vector Limited | 104.8298 | 1.3366 | 4.825 | 0.037054
| Wellington Electricity Lines Limited | 39.8079 | 0.61354 | 2.1567 | 0.031269
Table 3.3.1 | Table 3.3.1: Extreme event interruptions reliability assessment limits for unplanned interruptions for non-exempt EDBs for the
DPP regulatory period 1 April 2020 – 31 March 2025
Non-exempt EDB
Extreme event interruptions reliability assessment limit
| Alpine Energy Limited | 120
| Aurora Energy Limited | 66.7661
| Centralines Limited | 120
| Electricity Ashburton Limited | 120
| Eastland Network Limited | 120
| Electricity Invercargill Limited | 120
| Horizon Energy Distribution Limited | 120
| Nelson Electricity Limited | 120
| Network Tasman Limited | 120
| Orion New Zealand Limited | 29.5631
| OtagoNet Joint Venture | 120
| Powerco Limited | 17.6275
| The Lines Company Limited | 120
| Top Energy Limited | 120
| Unison Networks Limited | 52.7816
| Vector Limited | 10.6157
| Wellington Electricity Lines Limited | 35.7303
Table 4.1 | Table 4.1: SAIDI unplanned interruption targets, SAIDI unplanned interruption collars and SAIDI unplanned interruption caps for the
DPP regulatory period 1 April 2020 – 31 March 2025
Non-exempt EDB
|  | SAIDI unplanned interruption collar | SAIDI unplanned interruption target | SAIDI unplanned interruption cap
| Alpine Energy Limited | 0 | 91.8836 | 124.7078
| Aurora Energy Limited | 0 | 63.4406 | 81.8866
| Centralines Limited | 0 | 62.8266 | 83.6076
| Electricity Ashburton Limited | 0 | 71.6543 | 91.9755
| Eastland Network Limited | 0 | 173.848 | 219.4603
| Electricity Invercargill Limited | 0 | 15.3923 | 25.8552
| Horizon Energy Distribution Limited | 0 | 144.3524 | 194.5268
| Nelson Electricity Limited | 0 | 9.5334 | 19.5969
| Network Tasman Limited | 0 | 74.4923 | 101.0324
| Orion New Zealand Limited | 0 | 66.4659 | 84.7104
| OtagoNet Joint Venture | 0 | 120.0213 | 160.3547
| Powerco Limited | 0 | 151.9589 | 180.2532
| The Lines Company Limited | 0 | 143.0358 | 181.4778
| Top Energy Limited | 0 | 302.1594 | 380.238
| Unison Networks Limited | 0 | 67.8146 | 82.3444
| Vector Limited | 0 | 89.2779 | 104.8298
| Wellington Electricity Lines Limited | 0 | 31.2018 | 39.8079
Table 4.2 | Table 4.2: SAIDI planned interruption targets, SAIDI planned interruption collars, and SAIDI planned interruption cap for the
DPP regulatory period 1 April 2020 – 31 March 2025
Non-exempt EDB
|  | SAIDI planned interruption collar | SAIDI planned interruption Target | SAIDI planned interruption cap
| Alpine Energy Limited | 0 | 54.9912 | 164.9737
| Aurora Energy Limited | 0 | 65.3197 | 195.9592
| Centralines Limited | 0 | 70.9643 | 212.8927
| Electricity Ashburton Limited | 0 | 91.7388 | 275.2164
| Eastland Network Limited | 0 | 86.0452 | 258.1355
| Electricity Invercargill Limited | 0 | 7.6329 | 22.8987
| Horizon Energy Distribution Limited | 0 | 57.2422 | 171.7265
| Nelson Electricity Limited | 0 | 12.0074 | 36.0222
| Network Tasman Limited | 0 | 75.2757 | 225.8271
| Orion New Zealand Limited | 0 | 13.2269 | 39.6806
| OtagoNet Joint Venture | 0 | 140.9622 | 422.8866
| Powerco Limited | 0 | 51.4997 | 154.4991
| The Lines Company Limited | 0 | 88.7783 | 266.335
| Top Energy Limited | 0 | 127.0242 | 381.0726
| Unison Networks Limited | 0 | 41.7196 | 125.1589
| Vector Limited | 0 | 39.0254 | 117.0761
| Wellington Electricity Lines Limited | 0 | 4.6463 | 13.939
Table 4.3 | Table 4.3: Incentive rates for the
DPP regulatory period 1 April 2020 – 31 March 2025
Non-exempt EDB
Incentive rate
| Alpine Energy Limited | 7879.2735
| Aurora Energy Limited | 13155.3919
| Centralines Limited | 1070.6919
| Electricity Ashburton Limited | 5393.9494
| Eastland Network Limited | 2797.0344
| Electricity Invercargill Limited | 2544.2829
| Horizon Energy Distribution Limited | 5396.6007
| Nelson Electricity Limited | 1417.4981
| Network Tasman Limited | 6259.783
| Orion New Zealand Limited | 31686.1168
| OtagoNet Joint Venture | 4338.7267
| Powerco Limited | 47908.4695
| The Lines Company Limited | 3827.137
| Top Energy Limited | 3282.9759
| Unison Networks Limited | 16185.2969
| Vector Limited | 84519.031
| Wellington Electricity Lines Limited | 23214.7853