## CoverSheet
Electricity Distribution Business
Price-Quality Regulation 1 April 2020 DPP Reset
Reliability standards and incentives model
Updated draft
Published 25 September 2019 v1

## Description
Description
This model has been prepared and published for consultation purposes only.
General description
This model calculates quality standards which must be met by price-quality regulated EDBs during the DPP3 regulatory period
User Inputs: Users can select a distributor in the 'Output' sheet from the dropdown list in cell C4. The 'calculation' sheet only shows results for the selected distributor.
Notes: 1 - Financial quantities in this model are expressed in NZD. 2 - Annual quantities relate to years ending on 31 March. 3 - All data used by the model is entered in the two 'Input' sheets for the distributor selected in cell C4 of the 'Ouput' sheet: ● the 'Inputs from Stata Model' sheet uses the raw output of the Stata model ● all other inputs are in the 'Other inputs' sheet 4 - Derivations are shown in the Calculations sheet 5 - The 'Output' sheet uses Excel's data table facility to display results for all distributors.
Notes
Powerco revenue data are from 'Powerco Limited Electricity Distribution Customised Price-Quality Path Determination 2018'.
https://comcom.govt.nz/__data/assets/pdf_file/0029/78716/2018-NZCC-5-Powerco-customised-price-quality-path-determination-with-IM-variations-28-March-2018.pdf
Model suite
See file ‘Model map – EDB DPP3 updated draft – 25 September 2019’ for diagram of model suite.

## Table of Contents
Table of Contents
| Sheet Name | Link
| Inputs from Stata Model | Inputs from Stata model
Unplanned disruption standards
Planned disruption standards
| Other Inputs | Other Inputs
Inputs that are the same for all distributors
Inputs that are specific to individual distributors
| Calculations | Calculations for the selected distributor
Inputs
Calculations
Outputs
| Calculations-Chartbook | Calculations Chartbook
Inputs
Calculations
Ouputs
| Output | Outputs
| Chart book | Outputs Chart book

## Inputs from Stata Model
Inputs from Stata model
This sheet contains the raw output from Stata models
Unplanned disruption standards
This is raw output from Stata models
Distributor | bound_saidi | saidi_target | saidi_collar | saidi_cap | saidi_deviation | bound_saifi | saifi_target | saifi_collar | saifi_cap | saifi_deviation
Alpine Energy | 9.2461 | 107.6859 | 0 | 132.656 | 16.6467 | 0.060455 | 0.96671 | 0 | 1.1774 | 0.14049
Aurora Energy | 4.4922 | 82.3286 | 0 | 94.8932 | 8.3764 | 0.05674 | 1.4341 | 0 | 1.6078 | 0.11578
Centralines | 6.4489 | 50.9668 | 0 | 64.7556 | 9.1925 | 0.0985 | 1.8657 | 0 | 2.2804 | 0.27646
EA Networks | 5.8213 | 81.2592 | 0 | 96.5178 | 10.1724 | 0.067993 | 1.0918 | 0 | 1.2906 | 0.13253
Eastland Network | 14.0818 | 209.792 | 0 | 246.3808 | 24.3925 | 0.2135 | 2.7692 | 0 | 3.3119 | 0.36179
Electricity Invercargill | 3.6757 | 16.4433 | 0 | 24.3516 | 5.2722 | 0.078171 | 0.42875 | 0 | 0.62906 | 0.13354
Horizon Energy | 13.0122 | 155.7948 | 0 | 192.3465 | 24.3678 | 0.08413 | 1.9534 | 0 | 2.3549 | 0.26766
Nelson Electricity | 6.7935 | 8.096 | 0 | 15.1337 | 4.6918 | 0.14105 | 0.16446 | 0 | 0.32386 | 0.10627
Network Tasman | 6.8188 | 81.071 | 0 | 100.1309 | 12.7066 | 0.066669 | 0.92668 | 0 | 1.1408 | 0.14275
Orion NZ | 6.7944 | 77.844 | 0 | 90.4002 | 8.3708 | 0.060096 | 0.88228 | 0 | 1.0037 | 0.080943
OtagoNet | 9.6051 | 136.9361 | 0 | 166.247 | 19.5406 | 0.13655 | 1.8746 | 0 | 2.2529 | 0.2522
Powerco | 6.4664 | 166.6171 | 0 | 181.4062 | 9.8594 | 0.037258 | 1.9444 | 0 | 2.0995 | 0.1034
The Lines Company | 8.9566 | 159.3515 | 0 | 185.4456 | 17.3961 | 0.13396 | 2.6743 | 0 | 3.1773 | 0.33529
Top Energy | 25.0942 | 336.8066 | 0 | 394.0467 | 38.1601 | 0.19197 | 4.192 | 0 | 4.8584 | 0.44426
Unison Networks | 6.3019 | 75.1969 | 0 | 85.9629 | 7.1774 | 0.067869 | 1.5237 | 0 | 1.7239 | 0.13351
Vector Lines | 4.2494 | 111.7443 | 0 | 121.4125 | 6.4455 | 0.02593 | 1.2273 | 0 | 1.3261 | 0.065853
Wellington Electricity | 1.7469 | 34.6876 | 0 | 40.9063 | 4.1458 | 0.0292 | 0.53307 | 0 | 0.62663 | 0.062373
Planned disruption standards
This is raw output from Stata models
Distributor | saidi_collar | saidi_target | saidi_cap | saidi_limit | saifi_collar | saifi_target | saifi_cap | saifi_limit
Alpine Energy | 0 | 54.8661 | 164.5984 | 822.9921 | 0 | 0.23242 | 0.69725 | 3.4862
Aurora Energy | 0 | 64.9494 | 194.8483 | 974.2413 | 0 | 0.37621 | 1.1286 | 5.6431
Centralines | 0 | 36.1379 | 108.4138 | 542.0692 | 0 | 0.18058 | 0.54173 | 2.7087
EA Networks | 0 | 91.7388 | 275.2164 | 1376.082 | 0 | 0.32626 | 0.97878 | 4.8939
Eastland Network | 0 | 90.2414 | 270.7243 | 1353.622 | 0 | 0.50714 | 1.5214 | 7.6071
Electricity Invercargill | 0 | 7.6329 | 22.8987 | 114.4936 | 0 | 0.034556 | 0.10367 | 0.51834
Horizon Energy | 0 | 57.2422 | 171.7265 | 858.6327 | 0 | 0.36276 | 1.0883 | 5.4414
Nelson Electricity | 0 | 12.0074 | 36.0222 | 180.1109 | 0 | 0.15776 | 0.47329 | 2.3664
Network Tasman | 0 | 75.2757 | 225.8271 | 1129.136 | 0 | 0.32681 | 0.98043 | 4.9021
Orion NZ | 0 | 13.2269 | 39.6806 | 198.403 | 0 | 0.049871 | 0.14961 | 0.74806
OtagoNet | 0 | 140.4826 | 421.4479 | 2107.24 | 0 | 0.63691 | 1.9107 | 9.5537
Powerco | 0 | 51.5632 | 154.6897 | 773.4484 | 0 | 0.2767 | 0.83009 | 4.1504
The Lines Company | 0 | 89.5599 | 268.6797 | 1343.398 | 0 | 0.58363 | 1.7509 | 8.7544
Top Energy | 0 | 127.0242 | 381.0726 | 1905.363 | 0 | 0.51684 | 1.5505 | 7.7526
Unison Networks | 0 | 42.0423 | 126.1269 | 630.6346 | 0 | 0.29407 | 0.88222 | 4.4111
Vector Lines | 0 | 39.0254 | 117.0761 | 585.3804 | 0 | 0.19189 | 0.57566 | 2.8783
Wellington Electricity | 0 | 4.6463 | 13.939 | 69.6951 | 0 | 0.036905 | 0.11072 | 0.55358
DPP2 – counterfactual
This is raw output from Stata models
Distributor | bound_saidi | saidi_target | saidi_cap | bound_saifi | saifi_target | saifi_cap
Alpine Energy | 9.1745 | 108.4091 | 139.7732 | 0.072188 | 1.18 | 1.4914
Aurora Energy | 3.382 | 67.4144 | 80.691 | 0.060741 | 1.2478 | 1.4757
Centralines | 8.5172 | 91.027 | 120.1903 | 0.2937 | 3.3939 | 4.4145
EA Networks | 8.0808 | 91.273 | 117.5533 | 0.098303 | 1.2406 | 1.5767
Eastland Network | 13.3902 | 220.4729 | 270.1836 | 0.20796 | 3.0929 | 3.8262
Electricity Invercargill | 4.4813 | 24.3005 | 36.3409 | 0.1209 | 0.65364 | 0.97236
Horizon Energy | 14.6859 | 174.1308 | 224.6307 | 0.10626 | 2.1568 | 2.6378
Nelson Electricity | 14.7416 | 22.9523 | 46.3465 | 0.39051 | 0.48915 | 1.0239
Network Tasman | 7.2562 | 94.9132 | 121.6013 | 0.077354 | 1.1744 | 1.4816
OtagoNet | 13.2414 | 146.3956 | 189.7038 | 0.17647 | 2.1791 | 2.7807
Powerco | 11.2144 | 171.795 | 204.2157 | 0.064267 | 2.2574 | 2.5254
The Lines Company | 10.9669 | 165.851 | 202.7399 | 0.14446 | 2.7912 | 3.3823
Top Energy | 29.3638 | 391.8646 | 488.0186 | 0.34677 | 5.2585 | 6.456
Unison Networks | 4.541 | 82.4404 | 98.7074 | 0.077048 | 1.826 | 2.1312
Vector Lines | 3.3736 | 90.0972 | 102.3132 | 0.038927 | 1.257 | 1.4131
Wellington Electricity | 2.1026 | 34.8319 | 42.6107 | 0.031245 | 0.542 | 0.65946
DPP3 – counterfactual
This is raw output from Stata models
Distributor | bound_saidi | saidi_target | saidi_cap | bound_saifi | saifi_target | saifi_cap
Alpine Energy | 9.1745 | 117.4188 | 150.1278 | 0.072188 | 1.0949 | 1.3737
Aurora Energy | 3.382 | 82.6594 | 98.3769 | 0.060741 | 1.5262 | 1.794
Centralines | 8.5172 | 66.8561 | 90.728 | 0.2937 | 2.2597 | 2.8983
EA Networks | 8.0808 | 92.3006 | 116.4179 | 0.098303 | 1.2542 | 1.5547
Eastland Network | 13.3902 | 220.3496 | 269.9053 | 0.20796 | 3.1243 | 3.8662
Electricity Invercargill | 3.8628 | 21.0069 | 31.725 | 0.10037 | 0.55014 | 0.82134
Horizon Energy | 14.6859 | 179.9566 | 230.1655 | 0.10626 | 2.1594 | 2.6485
Nelson Electricity | 8.7205 | 13.3074 | 26.5622 | 0.21163 | 0.28526 | 0.58355
Network Tasman | 7.2562 | 92.3261 | 118.3271 | 0.077354 | 1.0537 | 1.3363
OtagoNet | 13.2414 | 156.2774 | 199.0941 | 0.17647 | 2.2175 | 2.8148
Powerco | 11.2144 | 173.2708 | 205.2897 | 0.064267 | 2.023 | 2.268
The Lines Company | 10.9669 | 174.6037 | 214.0543 | 0.14446 | 2.9336 | 3.5663
Top Energy | 29.3638 | 364.801 | 454.6653 | 0.34677 | 4.7039 | 5.7176
Unison Networks | 4.541 | 75.8252 | 90.7707 | 0.077048 | 1.6395 | 1.925
Vector Lines | 3.3736 | 109.5572 | 123.2027 | 0.038927 | 1.2768 | 1.4252
Wellington Electricity | 2.1026 | 37.2979 | 45.3984 | 0.031245 | 0.57701 | 0.69992
Live-lines analysis of planned interruptions
This is raw output from Stata models
Distributor | Start_Date | Planned_Unplanned | saidi_live_value | saidi_live_est | saidi_live_not
Centralines | 2017-09-05 | Planned | 1.7287 | 1.7287 | 26.0269
EA Networks | 2017-04-18 | Planned | 50.4286 | 50.4286 | 159.664
Electricity Invercargill | 2018-02-26 | Planned | 0.60385 | 0.60385 | 0.60385
OtagoNet | 2015-05-08 | Planned | 181.1619 | 181.1619 | 408.5415
Top Energy | 2016-07-22 | Planned | 35.2834 | 34.7899 | 245.113
Unison Networks | 2016-04-05 | Planned | 18.948 | 20.6708 | 116.4251
Vector Lines | 2015-08-03 | Planned | 104.8756 | 125.1324 | 185.7791
Wellington Electricity | 2016-04-01 | Planned | 0 | 8.1263 | 22.3223
Note on A44: We have doubled Unison's planned outputs due to it halving planned interruptions in it s 53ZD response.

## Other Inputs
Other Inputs
This sheet contains all inputs that are not from Stata models
Inputs that are the same for all distributors
Constants |  | Value
Minutes per hour |  | 60
Hours per day |  | 24
Days per year |  | 365
Commission-defined constants
Value of lost load |  | 25000
IRIS retention rate |  | 23.5%
SAIDI weighting |  | 80%
SAIFI weighting |  | 0%
Maximum revenue at risk |  | 2%
Extreme outage standard multiplier |  | 3
Years in regulatory period |  | 5
SAIDI % increase/decrease cap |  | 5%
SAIFI % increase/decrease cap |  | 5%
Inputs that are specific to individual distributors
Energy delivered (GWh)
This data is the total 'energy delivered to ICPs in the disclosure year' for all customers, from schedule 8(i) in ID Years end on 31 March |  | Value | 2017 | 2018 | 2019
Alpine Energy |  |  | 764.0616 | 776.5624 | 809.0759
Aurora Energy |  |  | 1284.17 | 1308.2926 | 1330.6432
Centralines |  |  | 105.187 | 105.375 | 108.732
EA Networks |  |  | 563.2358 | 543.2349 | 502.0738
Eastland Network |  |  | 273.4251 | 279.4825 | 281.2038
Electricity Invercargill |  |  | 253.551 | 250.9066 | 254.2801
Horizon Energy |  |  | 532.4472 | 537.656 | 539.232
Nelson Electricity |  |  | 139.6067 | 140.3423 | 142.767
Network Tasman |  |  | 614.386 | 617.2147 | 635.1465
Orion NZ |  |  | 3092.6107 | 3172.5207 | 3184.0731
OtagoNet |  |  | 422.6975 | 433.0158 | 438.1505
Powerco |  |  | 4530.8664 | 4847.8196 | 4908.2311
The Lines Company |  |  | 380.59 | 379.8947 | 380.8165
Top Energy |  |  | 321.7805 | 325.3432 | 331.9017
Unison Networks |  |  | 1582.854 | 1615.3051 | 1628.5031
Vector Lines |  |  | 8302.374 | 8406.577 | 8495.703
Wellington Electricity |  |  | 2324.9208 | 2296.9197 | 2301.1048
ICPs
This data is the 'average no. of ICPs in the disclosure year' for all customers, from schedule 8(i) in ID Years end on 31 March |  | Value | 2017 | 2018 | 2019
Alpine Energy |  |  | 32829 | 32975 | 33211.5
Aurora Energy |  |  | 87102.0356 | 88588.0986 | 89865.8986
Centralines |  |  | 8496 | 8561 | 8623
EA Networks |  |  | 18986.1667 | 19216.5833 | 19440.5833
Eastland Network |  |  | 25407 | 25512 | 25597
Electricity Invercargill |  |  | 17364 | 17404 | 17420
Horizon Energy |  |  | 24913 | 25000 | 25136
Nelson Electricity |  |  | 9202.5 | 9209.5 | 9220.5
Network Tasman |  |  | 39028 | 39578 | 39970
Orion NZ |  |  | 196421 | 199838 | 202956
OtagoNet |  |  | 15623 | 16000 | 16588
Powerco |  |  | 334042 | 337134.5 | 340378
The Lines Company |  |  | 23691 | 23768 | 23579
Top Energy |  |  | 31365 | 31641 | 32156
Unison Networks |  |  | 111842 | 112781 | 113676
Vector Lines |  |  | 551728 | 557490 | 565200
Wellington Electricity |  |  | 166344 | 166909.5833 | 167924.7778
Maximum allowable revenue for DPP3 period ($000 nominal)
This is the 'MAR (applicable X factor)' series from the outputs of the Financial model |  | Value | 2021 | 2022 | 2023 | 2024 | 2025
Alpine Energy |  |  | 42610.6983 | 43441.697 | 44321.307 | 45207.7332 | 46111.8878
Aurora Energy |  |  | 73178.0156 | 81244.9992 | 90267.2675 | 100267.0753 | 111374.662
Centralines |  |  | 9208.3234 | 9387.9052 | 9577.9921 | 9769.5519 | 9964.9429
EA Networks |  |  | 34164.0036 | 34830.2739 | 35535.5193 | 36246.2297 | 36971.1543
Eastland Network |  |  | 23893.3462 | 24359.317 | 24852.5459 | 25349.5968 | 25856.5887
Electricity Invercargill |  |  | 12184.8545 | 12422.485 | 12674.0162 | 12927.4965 | 13186.0464
Horizon Energy |  |  | 23950.8248 | 24417.9165 | 24912.3319 | 25410.5786 | 25918.7901
Nelson Electricity |  |  | 5522.6141 | 5630.3168 | 5744.3198 | 5859.2062 | 5976.3903
Network Tasman |  |  | 26036.7112 | 26544.4821 | 27081.9563 | 27623.5955 | 28176.0674
Orion NZ |  |  | 158312.8143 | 161400.249 | 164668.2908 | 167961.6566 | 171320.8897
OtagoNet |  |  | 25745.0185 | 26247.1008 | 26778.5537 | 27314.1248 | 27860.4073
The Lines Company |  |  | 34695.7574 | 35372.398 | 36088.6204 | 36810.3928 | 37546.6007
Top Energy |  |  | 38232.5657 | 38978.1816 | 39767.4141 | 40562.7624 | 41374.0176
Unison Networks |  |  | 100067.8317 | 102019.366 | 104085.0601 | 106166.7613 | 108290.0966
Vector Lines |  |  | 393423.6701 | 401096.2636 | 409217.6844 | 417402.0381 | 425750.0788
Wellington Electricity |  |  | 91228.7569 | 93007.9106 | 94891.1402 | 96788.963 | 98724.7423
Maximum allowable revenue for Powerco CPP ($000 nominal)
Source: Powerco Limited Electricity Distribution Customised Price-Quality Path Determination 2018
|  |  | 2021 | 2022 | 2023
Powerco |  |  | 290852 | 296750 | 302685
SAIDI incentives rates for DPP2 ($/SAIDI)
Source: Quality of service targets model EDB DPP 2015-2020 |  | Value
Alpine Energy |  | 7134.422
Aurora Energy |  | 31741.2987
Centralines |  | 2461.8732
EA Networks |  | 9080.4842
Eastland Network |  | 3560.1831
Electricity Invercargill |  | 9619.6002
Horizon Energy |  | 4284.8947
Nelson Electricity |  | 5663.7743
Network Tasman |  | 8100.071
Orion NZ
OtagoNet |  | 4083.9141
Powerco |  | 57525.982
The Lines Company |  | 6829.9169
Top Energy |  | 2619.0376
Unison Networks |  | 45378.4058
Vector Lines |  | 242885.1548
Wellington Electricity |  | 95090.9696
Circuit Length
Source: 2019 Information Disclosures, Section 9 (c) Total circuit length (for supply) | 2019 Circuit length (km)
Electricity Invercargill | 658.0209
Nelson Electricity | 297.553

## Calculations
Calculations for the selected distributor
This sheet calculates the quality standards that will apply for the DPP3 period
The calculations are for the distributor selected in the 'Output' sheet.
Electricity Invercargill
Inputs
|  | Source | Value
Constants
Minutes per hour |  | Other inputs | 60
Hours per day |  | Other inputs | 24
Days per year |  | Other inputs | 365
Commission-defined constants
Value of lost load |  | Other inputs | 25000
IRIS retention rate |  | Other inputs | 23.5%
SAIDI weighting |  | Other inputs | 80%
SAIFI weighting |  | Other inputs | 0%
Maximum revenue at risk |  | Other inputs | 2%
Extreme outage standard multiplier |  | Other inputs | 3
Years in regulatory period |  | Other inputs | 5
SAIDI % increase/decrease cap |  | Other inputs | 5%
SAIFI % increase/decrease cap |  | Other inputs | 5%
EDB-specific inputs
|  |  |  | 2017 | 2018 | 2019
Energy delivered (GWh) |  | Other inputs |  | 253.551 | 250.9066 | 254.2801
ICPs |  | Other inputs |  | 17364 | 17404 | 17420
|  |  |  | 2021 | 2022 | 2023 | 2024 | 2025
MAR or net allowable revenue |  | Other inputs |  | 12184.8545 | 12422.485 | 12674.0162 | 12927.4965 | 13186.0464
SAIDI incentives rates for DPP2 ($/SAIDI) |  | Other inputs | 9619.6002
Unplanned disruption standards(minutes)
Final run: | bound_saidi | Inputs from Stata Model | 3.6757
Final run: | saidi_target | Inputs from Stata Model | 16.4433
Final run: | saidi_collar | Inputs from Stata Model | 0
Final run: | saidi_cap | Inputs from Stata Model | 24.3516
Final run: | bound_saifi | Inputs from Stata Model | 0.078171
Final run: | saifi_target | Inputs from Stata Model | 0.42875
Final run: | saifi_collar | Inputs from Stata Model | 0
Final run: | saifi_cap | Inputs from Stata Model | 0.62906
DPP2: | saidi_target | Inputs from Stata Model | 24.3005
DPP2: | saifi_target | Inputs from Stata Model | 0.65364
DPP3: | saidi_target | Inputs from Stata Model | 21.0069
DPP3: | saifi_target | Inputs from Stata Model | 0.55014
Planned disruption standards (minutes)
Final run: | saidi_collar | Inputs from Stata Model | 0
Final run: | saidi_target | Inputs from Stata Model | 7.6329
Final run: | saidi_cap | Inputs from Stata Model | 22.8987
Final run: | saifi_cap | Inputs from Stata Model | 0.10367
Calculations |  | Units | Result
Reliability standards
Planned SAIDI standard for the DPP3 period |  | minutes | 114.4936 | [5 empty] | Planned SAIDI standards are set for the five-year regulatory period
Planned SAIFI standard for the DPP3 period |  | minutes | 0.51834 | [5 empty] | Planned SAIFI standards are set for the five-year regulatory period
Extreme outage standard |  | minutes | 11.0271 | [5 empty] | The extreme outage event standard is set at three times the unplanned SAIDI major event trigger
SAIDI Incentive Rate – DPP2
Average ICPs 2017-2019 |  | ICPs | 17396 | [5 empty] | This is the three-year average of ICPs to calulate the incentive rate per customer
Average GWh 2017-2019 |  | GWh | 252.9125 | [5 empty] | This is the three-year average of electricity volumes to calulate the implied VoLL
Incentive Rate |  | $ / minute | 9619.6002 | [5 empty] | The SAIDI incentive rate set for DPP2
Incentive Rate per customer |  | $ / minute / ICP | 0.55298 | [5 empty] | SAIDI incentive rate per customer in DPP2
Implied VoLL |  | $ / MWh | 19991.3443 | [5 empty] | The estimated amount of SAIDI incentives paid per MWh of electricity lossed
SAIDI Incentive Rate – DPP3
Multiplier |  | 1000 * years / minute | 0.0019026 | [5 empty] | This multiplier is used to calcualte the incentive rate
Average GWh 2017-2019 |  | GWh | 252.9125 | [5 empty] | The incentive rate is calculated using the three-year average of energy delivered by the network
Average ICPs 2017-2019 |  | ICPs | 17396 | [5 empty] | This is the three-year average of ICPs to calulate the incentive rate per customer
Incentive Rate |  | $ / minute | 2261.5848 | [5 empty] | The SAIDI incentive rate is a function of VoLL, and measures the value of losses from each SAIDI minute
Planned Incentive Rate |  | $ / minute | 1130.7924 | [5 empty] | The incentive rate for planned interruptions is set at 50% of unplanned interruptions
Incentive Rate per customer |  | $ / minute / ICP | 0.13001 | [5 empty] | SAIDI incentive rate per customer for draft DPP3
Disruption penalties and rewards
SAIDI percent increase in DPP3 vs DPP2 |  | percent | -13.55% | [5 empty] | This calculates the difference in reliability targets (average reliability) between the DPP2 and DPP3 reference periods, after normalisation
SAIDI amendment |  | percent | 9.894% | [5 empty] | This calcualtes the adjustment necessary to reflect the 5% cap on increases we'll allow in SAIDI
Adjusted SAIDI target |  | minutes | 18.0703 | [5 empty] | This adjusts the SAIDI target if the +/- 5% cap is reached
Adjusted SAIDI collar |  | minutes | 0 | [5 empty] | This adjusts the SAIDI collar if the +/- 5% cap is reached
Adjusted SAIDI cap |  | minutes | 26.761 | [5 empty] | This adjusts the SAIDI cap if the +/- 5% cap is reached
SAIFI percent increase in DPP3 vs DPP2 |  | percent | -15.83% | [5 empty] | These calculations repeat those from above for SAIFI
SAIFI amendment |  | percent | 12.87% | [5 empty] | These calculations repeat those from above for SAIFI
Adjusted SAIFI target |  | minutes | 0.48394 | [5 empty] | These calculations repeat those from above for SAIFI
Adjusted SAIFI collar |  | minutes | 0 | [5 empty] | These calculations repeat those from above for SAIFI
Adjusted SAIFI cap |  | minutes | 0.71003 | [5 empty] | These calculations repeat those from above for SAIFI
Average MAR or net allowable revenue |  | $ nominal | 12678979.7341 | [5 empty] | This calculates the average annual MAR over the DPP3 period
Unplanned: Maximum revenue loss |  | percent of MAR | 0.155% | [5 empty] | This calculates the maximum loss for unplanned disruptions as a proportion of the MAR
Unplanned: Maximum revenue gain |  | percent of MAR | 0.3223% | [5 empty] | This calculates the maximum gain for unplanned disruptions as a proportion of the MAR
Planned: Maximum revenue loss |  | percent of MAR | 0.2042% | [5 empty] | This calculates the maximum loss for planned disruptions as a proportion of the MAR
Planned: Maximum revenue gain |  | percent of MAR | 0.06808% | [5 empty] | This calculates the maximum gain for planned disruptions as a proportion of the MAR
Total: Maximum revenue loss |  | percent of MAR | 0.3592% | [5 empty] | This calculates the maximum loss for all disruptions as a proportion of the MAR (with cap applied)
Total: Maximum revenue gain |  | percent of MAR | 0.3904% | [5 empty] | This calculates the maximum gain for all disruptions as a proportion of the MAR (with cap applied)
Implied value of lost load |  | $/MWh | 4700 | [5 empty] | The estimated amount of SAIDI incentives paid per MWh of electricity lossed
Outputs |  | Output | Value
Planned SAIDI standard for the DPP3 period - minutes |  |  | 114.4936
Planned SAIFI standard for the DPP3 period - minutes |  |  | 0.51834
Extreme outage standard - minutes |  |  | 11.0271
Incentive Rate - $ / minute |  | DPP2 | 9619.6002
Incentive Rate per customer - $ / minute / ICP |  | DPP2 | 0.55298
Implied VoLL - $ / MWh |  | DPP2 | 19991.3443
Incentive Rate - $ / minute |  | DPP3 | 2261.5848
Planned Incentive Rate - $ / minute |  | DPP3 | 1130.7924
Incentive Rate per customer - $ / minute / ICP |  | DPP3 | 0.13001
Unplanned: Maximum revenue loss |  |  | 0.155%
Unplanned: Maximum revenue gain |  |  | 0.3223%
Planned: Maximum revenue loss |  |  | 0.2042%
Planned: Maximum revenue gain |  |  | 0.06808%
Total: Maximum revenue loss |  |  | 0.3592%
Total: Maximum revenue gain |  |  | 0.3904%
SAIDI target - minutes |  |  | 18.0703
SAIDI collar - minutes |  |  | 0
SAIDI cap - minutes |  |  | 26.761
SAIFI target - minutes |  |  | 0.48394
SAIFI collar - minutes |  |  | 0
SAIFI cap - minutes |  |  | 0.71003
SAIDI percent increase in DPP3 vs DPP2 |  |  | -13.55%
SAIDI amendment |  |  | 9.894%
SAIFI percent increase in DPP3 vs DPP2 |  |  | -15.83%
SAIFI amendment |  |  | 12.87%
Implied value of lost load |  |  | 4700

## Calculations-Chartbook
Calculations Chartbook
Inputs
Inputs from Stata Model
| Distributor | Start_Date | Planned_Unplanned | saidi_live_value | saidi_live_est | saidi_live_not
| Centralines | 2017-09-05 | Planned | 1.7287 | 1.7287 | 26.0269
| EA Networks | 2017-04-18 | Planned | 50.4286 | 50.4286 | 159.664
| Electricity Invercargill | 2018-02-26 | Planned | 0.60385 | 0.60385 | 0.60385
| OtagoNet | 2015-05-08 | Planned | 181.1619 | 181.1619 | 408.5415
| Top Energy | 2016-07-22 | Planned | 35.2834 | 34.7899 | 245.113
| Unison Networks | 2016-04-05 | Planned | 18.948 | 20.6708 | 116.4251
| Vector Lines | 2015-08-03 | Planned | 104.8756 | 125.1324 | 185.7791
| Wellington Electricity | 2016-04-01 | Planned | 0 | 8.1263 | 22.3223
Circuit Length
| Distributor | 2019 Circuit length (km)
| Electricity Invercargill | 658.0209
| Nelson Electricity | 297.553
Calculations
Estimated planned SAIDI impact of health and safety practices
| Distributor | Date started (first impact) | SAIDI impact of HSWA | Other SAIDI since start | Percent of planned SAIDI
| Centralines | 2017-09-05 | 1.7287 | 24.2982 | 6.642%
| EA Networks | 2017-04-18 | 50.4286 | 109.2354 | 31.58%
| Electricity Invercargill | 2018-02-26 | 0.60385 | 0 | *
| OtagoNet | 2015-05-08 | 181.1619 | 227.3796 | 44.34%
| Top Energy | 2016-07-22 | 35.2834 | 209.8296 | 14.39%
| Unison Networks | 2016-04-05 | 18.948 | 97.4771 | 16.27%
| Vector Lines | 2015-08-03 | 104.8756 | 80.9035 | 56.45%
| Wellington Electricity | 2016-04-01 | 8.1263 | 14.196 | 36.4%
Reduced frequency of major events
| Distributor | 2019 Circuit length (km) | Major events (compared to 25) | ‘Major half hours’ (compared to 150)
| Electricity Invercargill | 658.0209 | 16.4505 | 98.7031
| Nelson Electricity | 297.553 | 7.4388 | 44.6329
Ouputs
Estimated planned SAIDI impact of health and safety practices
| Distributor | Date started (first impact) | SAIDI impact of HSWA | Other SAIDI since start | Percent of planned SAIDI
| Centralines | 2017-09-05 | 1.7287 | 24.2982 | 6.642%
| EA Networks | 2017-04-18 | 50.4286 | 109.2354 | 31.58%
| Electricity Invercargill | 2018-02-26 | 0.60385 | 0 | *
| OtagoNet | 2015-05-08 | 181.1619 | 227.3796 | 44.34%
| Top Energy | 2016-07-22 | 35.2834 | 209.8296 | 14.39%
| Unison Networks | 2016-04-05 | 18.948 | 97.4771 | 16.27%
| Vector Lines | 2015-08-03 | 104.8756 | 80.9035 | 56.45%
| Wellington Electricity | 2016-04-01 | 8.1263 | 14.196 | 36.4%
* Electricity Invercargill sample is only one month, with only one planned interruption
Reduced frequency of major events
| Distributor | 2019 Circuit length (km) | Major events (compared to 25) | ‘Major half hours’ (compared to 150)
| Electricity Invercargill | 658.0209 | 16.4505 | 98.7031
| Nelson Electricity | 297.553 | 7.4388 | 44.6329

## Output
Outputs
This sheet uses Excel's data table facility to display the quality standards for each EDB.
Distributor |  | Scenario
Active EDB |  | Electricity Invercargill
| Active EDB outputs | Alpine Energy | Aurora Energy | Centralines | EA Networks | Eastland Network | Electricity Invercargill | Horizon Energy | Nelson Electricity | Network Tasman | Orion NZ | OtagoNet | Powerco | The Lines Company | Top Energy | Unison Networks | Vector Lines | Wellington Electricity
Reliability standards
Planned SAIDI standard for the DPP3 period - minutes | 114.4936 | 822.992 | 974.2415 | 542.069 | 1376.082 | 1353.6215 | 114.4936 | 858.6325 | 180.111 | 1129.1355 | 198.403 | 2107.2395 | 773.4485 | 1343.3985 | 1905.363 | 630.6346 | 585.3805 | 69.6951
Planned SAIFI standard for the DPP3 period - minutes | 0.51834 | 3.4862 | 5.6431 | 2.7087 | 4.8939 | 7.6071 | 0.51834 | 5.4414 | 2.3664 | 4.9021 | 0.74806 | 9.5537 | 4.1504 | 8.7544 | 7.7526 | 4.4111 | 2.8783 | 0.55358
Extreme outage standard - minutes | 11.0271 | 27.7383 | 13.4765 | 19.3468 | 17.4639 | 42.2454 | 11.0271 | 39.0366 | 20.3805 | 20.4565 | 20.3833 | 28.8153 | 19.3993 | 26.8699 | 75.2827 | 18.9056 | 12.7482 | 5.2408
SAIDI target - minutes | 18.0703 | 104.3942 | 70.5018 | 65.9235 | 81.2592 | 209.792 | 18.0703 | 155.7948 | 13.2657 | 81.071 | 77.844 | 134.6912 | 166.6171 | 158.9315 | 343.7037 | 77.6693 | 96.4906 | 34.0139
SAIDI collar - minutes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SAIDI cap - minutes | 26.761 | 128.601 | 81.2615 | 83.7586 | 96.5178 | 246.3808 | 26.761 | 192.3465 | 24.7972 | 100.1309 | 90.4002 | 163.5215 | 181.4062 | 184.9569 | 402.116 | 88.7894 | 104.8391 | 40.1118
SAIFI target - minutes | 0.48394 | 0.98973 | 1.2311 | 2.6621 | 1.0918 | 2.7692 | 0.48394 | 1.9534 | 0.26791 | 0.98114 | 0.88228 | 1.8746 | 2.0612 | 2.6717 | 4.4519 | 1.6121 | 1.2273 | 0.52577
SAIFI collar - minutes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SAIFI cap - minutes | 0.71003 | 1.2055 | 1.3802 | 3.2538 | 1.2906 | 3.3119 | 0.71003 | 2.3549 | 0.52757 | 1.2079 | 1.0037 | 2.2529 | 2.2257 | 3.1741 | 5.1596 | 1.824 | 1.3261 | 0.61805
SAIDI percent increase in DPP3 vs DPP2 | -13.55% | 8.311% | 22.61% | -26.55% | 1.126% | -0.05593% | -13.55% | 3.346% | -42.02% | -2.726% | 0% | 6.75% | 0.859% | 5.277% | -6.906% | -8.024% | 21.6% | 7.08%
SAIDI amendment | 9.894% | -3.057% | -14.37% | 29.35% | 0% | 0% | 9.894% | 0% | 63.85% | 0% | 0% | -1.639% | 0% | -0.2635% | 2.048% | 3.288% | -13.65% | -1.942%
SAIFI percent increase in DPP3 vs DPP2 | -15.83% | -7.209% | 22.31% | -33.42% | 1.095% | 1.012% | -15.83% | 0.1196% | -41.68% | -10.27% | 0% | 1.76% | -10.38% | 5.103% | -10.55% | -10.21% | 1.576% | 6.458%
SAIFI amendment | 12.87% | 2.381% | -14.15% | 42.68% | 0% | 0% | 12.87% | 0% | 62.9% | 5.877% | 0% | 0% | 6.009% | -0.09814% | 6.2% | 5.806% | 0% | -1.369%
SAIDI Incentive Rate – DPP2
Incentive Rate - $ / minute | 9619.6002 | 7134.422 | 31741.2987 | 2461.8732 | 9080.4842 | 3560.1831 | 9619.6002 | 4284.8947 | 5663.7743 | 8100.071 | 0 | 4083.9141 | 57525.982 | 6829.9169 | 2619.0376 | 45378.4058 | 242885.1548 | 95090.9696
Incentive Rate per customer - $ / minute / ICP | 0.55298 | 21.62% | 35.86% | 28.76% | 47.26% | 13.96% | 55.3% | 17.13% | 61.49% | 20.49% | 0% | 25.41% | 17.06% | 28.84% | 8.257% | 40.24% | 43.52% | 56.92%
Implied VoLL - $ / MWh | 19991.3443 | 4787.6566 | 12757.6676 | 12157.7029 | 8901.2811 | 6730.1524 | 19991.3443 | 4198.2689 | 21126.8059 | 6841.9505 | 0 | 4976.9662 | 6348.9532 | 9436.0838 | 4218.1733 | 14824.4621 | 15194.8649 | 21658.3309
SAIDI Incentive Rate – DPP3
Incentive Rate - $ / minute | 2261.5848 | 7003.7987 | 11693.6817 | 951.7262 | 4794.6217 | 2486.2528 | 2261.5848 | 4796.9784 | 1259.9983 | 5564.2516 | 28165.4372 | 3856.6459 | 42585.3063 | 3401.8996 | 2918.2008 | 14386.9306 | 75128.0275 | 20635.3648
Planned Incentive Rate - $ / minute | 1130.7924 | 3501.8993 | 5846.8408 | 475.8631 | 2397.3109 | 1243.1264 | 1130.7924 | 2398.4892 | 629.9991 | 2782.1258 | 14082.7186 | 1928.323 | 21292.6531 | 1700.9498 | 1459.1004 | 7193.4653 | 37564.0138 | 10317.6824
Incentive Rate per customer - $ / minute / ICP | 0.13001 | 0.2122 | 0.1321 | 0.11118 | 0.24953 | 0.09748 | 0.13001 | 0.19175 | 0.1368 | 0.14078 | 0.14101 | 0.23999 | 0.1263 | 0.14367 | 0.091997 | 0.12758 | 0.1346 | 0.12352
Disruption penalties and rewards
Unplanned: Maximum revenue loss | 0.155% | 0.3824% | 0.1379% | 0.1772% | 0.2058% | 0.3659% | 0.155% | 0.7035% | 0.2528% | 0.3915% | 0.2147% | 0.4151% | 0.2122% | 0.2452% | 0.4285% | 0.1536% | 0.1532% | 0.1326%
Unplanned: Maximum revenue gain | 0.3223% | 1.649% | 0.9033% | 0.6548% | 1.096% | 2.098% | 0.3223% | 2.999% | 0.2909% | 1.665% | 1.331% | 1.939% | 2.391% | 1.498% | 2.521% | 1.073% | 1.771% | 0.7394%
Planned: Maximum revenue loss | 0.2042% | 1.3% | 1.248% | 0.5384% | 1.856% | 1.354% | 0.2042% | 1.653% | 0.3949% | 2.319% | 0.3392% | 3.034% | 1.11% | 1.266% | 1.398% | 0.8713% | 1.074% | 0.1515%
Planned: Maximum revenue gain | 0.06808% | 0.4333% | 0.4161% | 0.1795% | 0.6186% | 0.4512% | 0.06808% | 0.5509% | 0.1316% | 0.773% | 0.1131% | 1.011% | 0.37% | 0.422% | 0.4659% | 0.2904% | 0.3581% | 0.0505%
Total: Maximum revenue loss | 0.3592% | 1.682% | 1.386% | 0.7156% | 2% | 1.72% | 0.3592% | 2% | 0.6478% | 2% | 0.5539% | 2% | 1.322% | 1.511% | 1.826% | 1.025% | 1.227% | 0.2841%
Total: Maximum revenue gain | 0.3904% | 2% | 1.319% | 0.8343% | 1.715% | 2% | 0.3904% | 2% | 0.4225% | 2% | 1.444% | 2% | 2% | 1.92% | 2% | 1.364% | 2% | 0.7899%
|  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
Inputs from Stata model |  | Alpine Energy | Aurora Energy | Centralines | EA Networks | Eastland Network | Electricity Invercargill | Horizon Energy | Nelson Electricity | Network Tasman | Orion NZ | OtagoNet | Powerco | The Lines Company | Top Energy | Unison Networks | Vector Lines | Wellington Electricity
Unplanned disruption standards
bound_saidi |  | 9.2461 | 4.4922 | 6.4489 | 5.8213 | 14.0818 | 3.6757 | 13.0122 | 6.7935 | 6.8188 | 6.7944 | 9.6051 | 6.4664 | 8.9566 | 25.0942 | 6.3019 | 4.2494 | 1.7469
saidi_target |  | 107.6859 | 82.3286 | 50.9668 | 81.2592 | 209.792 | 16.4433 | 155.7948 | 8.096 | 81.071 | 77.844 | 136.9361 | 166.6171 | 159.3515 | 336.8066 | 75.1969 | 111.7443 | 34.6876
saidi_collar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
saidi_cap |  | 132.656 | 94.8932 | 64.7556 | 96.5178 | 246.3808 | 24.3516 | 192.3465 | 15.1337 | 100.1309 | 90.4002 | 166.247 | 181.4062 | 185.4456 | 394.0467 | 85.9629 | 121.4125 | 40.9063
saidi_deviation |  | 16.6467 | 8.3764 | 9.1925 | 10.1724 | 24.3925 | 5.2722 | 24.3678 | 4.6918 | 12.7066 | 8.3708 | 19.5406 | 9.8594 | 17.3961 | 38.1601 | 7.1774 | 6.4455 | 4.1458
bound_saifi |  | 0.060455 | 0.05674 | 0.0985 | 0.067993 | 0.2135 | 0.078171 | 0.08413 | 0.14105 | 0.066669 | 0.060096 | 0.13655 | 0.037258 | 0.13396 | 0.19197 | 0.067869 | 0.02593 | 0.0292
saifi_target |  | 0.96671 | 1.4341 | 1.8657 | 1.0918 | 2.7692 | 0.42875 | 1.9534 | 0.16446 | 0.92668 | 0.88228 | 1.8746 | 1.9444 | 2.6743 | 4.192 | 1.5237 | 1.2273 | 0.53307
saifi_collar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
saifi_cap |  | 1.1774 | 1.6078 | 2.2804 | 1.2906 | 3.3119 | 0.62906 | 2.3549 | 0.32386 | 1.1408 | 1.0037 | 2.2529 | 2.0995 | 3.1773 | 4.8584 | 1.7239 | 1.3261 | 0.62663
saifi_deviation |  | 0.14049 | 0.11578 | 0.27646 | 0.13253 | 0.36179 | 0.13354 | 0.26766 | 0.10627 | 0.14275 | 0.080943 | 0.2522 | 0.1034 | 0.33529 | 0.44426 | 0.13351 | 0.065853 | 0.062373
Planned disruption standards
saidi_collar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
saidi_target |  | 54.8661 | 64.9494 | 36.1379 | 91.7388 | 90.2414 | 7.6329 | 57.2422 | 12.0074 | 75.2757 | 13.2269 | 140.4826 | 51.5632 | 89.5599 | 127.0242 | 42.0423 | 39.0254 | 4.6463
saidi_cap |  | 164.5984 | 194.8483 | 108.4138 | 275.2164 | 270.7243 | 22.8987 | 171.7265 | 36.0222 | 225.8271 | 39.6806 | 421.4479 | 154.6897 | 268.6797 | 381.0726 | 126.1269 | 117.0761 | 13.939
saidi_limit |  | 822.9921 | 974.2413 | 542.0692 | 1376.082 | 1353.622 | 114.4936 | 858.6327 | 180.1109 | 1129.136 | 198.403 | 2107.24 | 773.4484 | 1343.398 | 1905.363 | 630.6346 | 585.3804 | 69.6951
saifi_collar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
saifi_target |  | 0.23242 | 0.37621 | 0.18058 | 0.32626 | 0.50714 | 0.034556 | 0.36276 | 0.15776 | 0.32681 | 0.049871 | 0.63691 | 0.2767 | 0.58363 | 0.51684 | 0.29407 | 0.19189 | 0.036905

## Chart book
Outputs Chart book
Table 3.2 | Proposed quality standards
|  | Unplanned SAIDI | Unplanned SAIFI | Planned SAIDI | Planned SAIFI | Extreme outage SAIDI
| Distributor | (1-year) | (1-year) | (5-year) | (5-year)
| Alpine Energy | 128.601 | 1.2055 | 822.992 | 3.4862 | 27.7383
| Aurora Energy | 81.2615 | 1.3802 | 974.2415 | 5.6431 | 13.4765
| Centralines | 83.7586 | 3.2538 | 542.069 | 2.7087 | 19.3468
| EA Networks | 96.5178 | 1.2906 | 1376.082 | 4.8939 | 17.4639
| Eastland Network | 246.3808 | 3.3119 | 1353.6215 | 7.6071 | 42.2454
| Electricity Invercargill | 26.761 | 0.71003 | 114.4936 | 0.51834 | 11.0271
| Horizon Energy | 192.3465 | 2.3549 | 858.6325 | 5.4414 | 39.0366
| Nelson Electricity | 24.7972 | 0.52757 | 180.111 | 2.3664 | 20.3805
| Network Tasman | 100.1309 | 1.2079 | 1129.1355 | 4.9021 | 20.4565
| Orion NZ | 90.4002 | 1.0037 | 198.403 | 0.74806 | 20.3833
| OtagoNet | 163.5215 | 2.2529 | 2107.2395 | 9.5537 | 28.8153
| Powerco | 181.4062 | 2.2257 | 773.4485 | 4.1504 | 19.3993
| The Lines Company | 184.9569 | 3.1741 | 1343.3985 | 8.7544 | 26.8699
| Top Energy | 402.116 | 5.1596 | 1905.363 | 7.7526 | 75.2827
| Unison Networks | 88.7894 | 1.824 | 630.6346 | 4.4111 | 18.9056
| Vector Lines | 104.8391 | 1.3261 | 585.3805 | 2.8783 | 12.7482
| Wellington Electricity | 40.1118 | 0.61805 | 69.6951 | 0.55358 | 5.2408
Table 3.3 | Propose quality incentive scheme parameters
| Unplanned SAIDI | Unplanned collar | Unplanned target | Unplanned cap | Incentive rate | Maximum loss | Maximum gain
| Alpine Energy | 0 | 104.3942 | 128.601 | 7003.7987 | 0.3824% | 1.649%
| Aurora Energy | 0 | 70.5018 | 81.2615 | 11693.6817 | 0.1379% | 0.9033%
| Centralines | 0 | 65.9235 | 83.7586 | 951.7262 | 0.1772% | 0.6548%
| EA Networks | 0 | 81.2592 | 96.5178 | 4794.6217 | 0.2058% | 1.096%
| Eastland Network | 0 | 209.792 | 246.3808 | 2486.2528 | 0.3659% | 2.098%
| Electricity Invercargill | 0 | 18.0703 | 26.761 | 2261.5848 | 0.155% | 0.3223%
| Horizon Energy | 0 | 155.7948 | 192.3465 | 4796.9784 | 0.7035% | 2.999%
| Nelson Electricity | 0 | 13.2657 | 24.7972 | 1259.9983 | 0.2528% | 0.2909%
| Network Tasman | 0 | 81.071 | 100.1309 | 5564.2516 | 0.3915% | 1.665%
| Orion NZ | 0 | 77.844 | 90.4002 | 28165.4372 | 0.2147% | 1.331%
| OtagoNet | 0 | 134.6912 | 163.5215 | 3856.6459 | 0.4151% | 1.939%
| Powerco | 0 | 166.6171 | 181.4062 | 42585.3063 | 0.2122% | 2.391%
| The Lines Company | 0 | 158.9315 | 184.9569 | 3401.8996 | 0.2452% | 1.498%
| Top Energy | 0 | 343.7037 | 402.116 | 2918.2008 | 0.4285% | 2.521%
| Unison Networks | 0 | 77.6693 | 88.7894 | 14386.9306 | 0.1536% | 1.073%
| Vector Lines | 0 | 96.4906 | 104.8391 | 75128.0275 | 0.1532% | 1.771%
| Wellington Electricity | 0 | 34.0139 | 40.1118 | 20635.3648 | 0.1326% | 0.7394%
| Planned SAIDI | Planned collar | Planned target | Planned cap | Incentive rate | Maximum loss | Maximum gain
| Alpine Energy | 0 | 54.8661 | 164.5984 | 3501.8993 | 1.3% | 0.4333%
| Aurora Energy | 0 | 64.9494 | 194.8483 | 5846.8408 | 1.248% | 0.4161%
| Centralines | 0 | 36.1379 | 108.4138 | 475.8631 | 0.5384% | 0.1795%
| EA Networks | 0 | 91.7388 | 275.2164 | 2397.3109 | 1.856% | 0.6186%
| Eastland Network | 0 | 90.2414 | 270.7243 | 1243.1264 | 1.354% | 0.4512%
| Electricity Invercargill | 0 | 7.6329 | 22.8987 | 1130.7924 | 0.2042% | 0.06808%
| Horizon Energy | 0 | 57.2422 | 171.7265 | 2398.4892 | 1.653% | 0.5509%
| Nelson Electricity | 0 | 12.0074 | 36.0222 | 629.9991 | 0.3949% | 0.1316%
| Network Tasman | 0 | 75.2757 | 225.8271 | 2782.1258 | 2.319% | 0.773%
| Orion NZ | 0 | 13.2269 | 39.6806 | 14082.7186 | 0.3392% | 0.1131%
| OtagoNet | 0 | 140.4826 | 421.4479 | 1928.323 | 3.034% | 1.011%
| Powerco | 0 | 51.5632 | 154.6897 | 21292.6531 | 1.11% | 0.37%
| The Lines Company | 0 | 89.5599 | 268.6797 | 1700.9498 | 1.266% | 0.422%
| Top Energy | 0 | 127.0242 | 381.0726 | 1459.1004 | 1.398% | 0.4659%
| Unison Networks | 0 | 42.0423 | 126.1269 | 7193.4653 | 0.8713% | 0.2904%
| Vector Lines | 0 | 39.0254 | 117.0761 | 37564.0138 | 1.074% | 0.3581%
| Wellington Electricity | 0 | 4.6463 | 13.939 | 10317.6824 | 0.1515% | 0.0505%
Table 3.1 | Proposed major event boundary values
| Distributor | SAIDI boundary | SAIFI boundary
| Alpine Energy | 9.2461 | 0.060455
| Aurora Energy | 4.4922 | 0.05674
| Centralines | 6.4489 | 0.0985
| EA Networks | 5.8213 | 0.067993
| Eastland Network | 14.0818 | 0.2135
| Electricity Invercargill | 3.6757 | 0.078171
| Horizon Energy | 13.0122 | 0.08413
| Nelson Electricity | 6.7935 | 0.14105
| Network Tasman | 6.8188 | 0.066669
| Orion NZ | 6.7944 | 0.060096
| OtagoNet | 9.6051 | 0.13655
| Powerco | 6.4664 | 0.037258
| The Lines Company | 8.9566 | 0.13396
| Top Energy | 25.0942 | 0.19197
| Unison Networks | 6.3019 | 0.067869
| Vector Lines | 4.2494 | 0.02593
| Wellington Electricity | 1.7469 | 0.0292