## CoverSheet
Electricity Distribution Business
Price-Quality Regulation 1 April 2020 Reset
Reliability standards and incentives model
Draft determination
Published 29 May 2019 v1

## Description
Description
This model has been prepared and published for consultation purposes only.
General description
This model calculates quality standards which must be met by price-quality regulated EDBs during the DPP3 regulatory period
User Inputs: Users can select a distributor in the 'Output' sheet from the dropdown list in cell C4. The 'calculation' sheet only shows results for the selected distributor.
Notes: 1 - Financial quantities in this model are expressed in NZD. 2 - Annual quantities relate to years ending on 31 March. 3 - All data used by the model is entered in the two 'Input' sheets for the distributor selected in cell C4 of the 'Ouput' sheet: ● the 'Inputs from Stata Model' sheet uses the raw output of the Stata model ● all other inputs are in the 'Other inputs' sheet 4 - Derivations are shown in the Calculations sheet 5 - The 'Output' sheet uses Excel's data table facility to display results for all distributors.
Notes
Powerco revenue data are from 'Powerco Limited Electricity Distribution Customised Price-Quality Path Determination 2018'.
https://comcom.govt.nz/__data/assets/pdf_file/0029/78716/2018-NZCC-5-Powerco-customised-price-quality-path-determination-with-IM-variations-28-March-2018.pdf
Model suite
Data flow map of the draft EDB DPP3 (1 April 2020–31 March 2025) model suite

## Table of Contents
Table of Contents
| Sheet Name | Link
| Inputs from Stata Model | Inputs from Stata model
Unplanned disruption standards
Planned disruption standards
| Other Inputs | Other Inputs
Inputs that are the same for all distributors
Inputs that are specific to individual distributors
| Calculations | Calculations for the selected distributor
Inputs
Calculations
Outputs
| Calculations-Chartbook | Calculations Chartbook
Inputs
Calculations
Ouputs
| Output | Outputs
| Chart book | Outputs Chart book

## Inputs from Stata Model
Inputs from Stata model
This sheet contains the raw output from Stata models
Unplanned disruption standards
This is raw output from Stata models
Distributor | bound_saidi | saidi_target | saidi_collar | saidi_cap | saidi_deviation | bound_saifi | saifi_target | saifi_collar | saifi_cap | saifi_deviation
Alpine Energy | 9.2462 | 107.7905 | 0 | 132.9788 | 16.7922 | 0.061073 | 0.98689 | 0 | 1.2056 | 0.14582
Aurora Energy | 4.1425 | 75.7523 | 0 | 87.8715 | 8.0794 | 0.055751 | 1.2114 | 0 | 1.3748 | 0.10897
Centralines | 7.2143 | 58.8575 | 0 | 74.7041 | 10.5644 | 0.14452 | 2.0666 | 0 | 2.5235 | 0.30454
EA Networks | 7.6129 | 86.6298 | 0 | 103.6177 | 11.3253 | 0.070231 | 1.1449 | 0 | 1.362 | 0.14475
Eastland Network | 13.626 | 210.1172 | 0 | 246.5573 | 24.2934 | 0.19706 | 2.7905 | 0 | 3.3273 | 0.35782
Electricity Invercargill | 3.4043 | 16.8773 | 0 | 24.6017 | 5.1496 | 0.0688 | 0.43808 | 0 | 0.63358 | 0.13033
Horizon Energy | 9.5353 | 131.188 | 0 | 161.2383 | 20.0335 | 0.083214 | 1.7538 | 0 | 2.1374 | 0.25575
Nelson Electricity | 8.2411 | 9.7174 | 0 | 17.8034 | 5.3907 | 0.12082 | 0.12678 | 0 | 0.22045 | 0.062449
Network Tasman | 6.7872 | 81.2943 | 0 | 100.6883 | 12.9293 | 0.067328 | 0.95107 | 0 | 1.1737 | 0.14842
Orion NZ | 6.7944 | 76.3774 | 0 | 88.7325 | 8.2368 | 0.060097 | 0.86257 | 0 | 0.97983 | 0.078175
OtagoNet | 9.7084 | 133.2553 | 0 | 162.1496 | 19.2628 | 0.1232 | 1.8531 | 0 | 2.2258 | 0.24845
Powerco | 3.2691 | 149.0088 | 0 | 160.6005 | 7.7278 | 0.037105 | 1.9733 | 0 | 2.1303 | 0.10466
The Lines Company | 8.203 | 161.2419 | 0 | 187.0433 | 17.201 | 0.13084 | 2.7149 | 0 | 3.212 | 0.3314
Top Energy | 27.4066 | 377.92 | 0 | 441.7878 | 42.5785 | 0.21613 | 4.7908 | 0 | 5.5436 | 0.50186
Unison Networks | 6.3018 | 75.6267 | 0 | 86.9569 | 7.5535 | 0.065934 | 1.544 | 0 | 1.7519 | 0.1386
Vector Lines | 4.5433 | 106.9432 | 0 | 116.4305 | 6.3248 | 0.03454 | 1.2514 | 0 | 1.3591 | 0.071815
Wellington Electricity | 1.7646 | 35.3185 | 0 | 41.6467 | 4.2188 | 0.0292 | 0.54327 | 0 | 0.63905 | 0.063857
Planned disruption standards
This is raw output from Stata models
Distributor | saidi_collar | saidi_target | saidi_cap | saidi_limit | saifi_collar | saifi_target | saifi_cap | saifi_limit
Alpine Energy | 0 | 57.1381 | 171.4144 | 857.072 | 0 | 0.2469 | 0.74069 | 3.7035
Aurora Energy | 0 | 50.8584 | 152.5753 | 762.8767 | 0 | 0.26551 | 0.79653 | 3.9827
Centralines | 0 | 34.3612 | 103.0835 | 515.4177 | 0 | 0.16529 | 0.49588 | 2.4794
EA Networks | 0 | 87.9635 | 263.8904 | 1319.452 | 0 | 0.32407 | 0.97221 | 4.861
Eastland Network | 0 | 89.1067 | 267.32 | 1336.6 | 0 | 0.51483 | 1.5445 | 7.7224
Electricity Invercargill | 0 | 7.3016 | 21.9049 | 109.5247 | 0 | 0.032835 | 0.098506 | 0.49253
Horizon Energy | 0 | 35.2486 | 105.7458 | 528.7288 | 0 | 0.229 | 0.68699 | 3.435
Nelson Electricity | 0 | 13.1949 | 39.5847 | 197.9237 | 0 | 0.17468 | 0.52403 | 2.6201
Network Tasman | 0 | 68.5275 | 205.5825 | 1027.912 | 0 | 0.30588 | 0.91763 | 4.5881
Orion NZ | 0 | 13.254 | 39.7621 | 198.8107 | 0 | 0.050703 | 0.15211 | 0.76054
OtagoNet | 0 | 138.4384 | 415.3153 | 2076.577 | 0 | 0.6247 | 1.8741 | 9.3704
Powerco | 0 | 39.8838 | 119.6514 | 598.2568 | 0 | 0.18903 | 0.56709 | 2.8354
The Lines Company | 0 | 81.8882 | 245.6646 | 1228.323 | 0 | 0.5761 | 1.7283 | 8.6415
Top Energy | 0 | 130.6419 | 391.9258 | 1959.629 | 0 | 0.50835 | 1.525 | 7.6252
Unison Networks | 0 | 40.301 | 120.9031 | 604.5154 | 0 | 0.26414 | 0.79242 | 3.9621
Vector Lines | 0 | 30.6965 | 92.0894 | 460.4471 | 0 | 0.15791 | 0.47372 | 2.3686
Wellington Electricity | 0 | 3.9328 | 11.7984 | 58.9918 | 0 | 0.029859 | 0.089578 | 0.44789
DPP2 – counterfactual
This is raw output from Stata models
Distributor | bound_saidi | saidi_target | saidi_cap | bound_saifi | saifi_target | saifi_cap
Alpine Energy | 9.1745 | 108.4091 | 139.7732 | 0.072188 | 1.18 | 1.4914
Aurora Energy | 3.382 | 67.4144 | 80.691 | 0.060741 | 1.2478 | 1.4757
Centralines | 8.5172 | 91.027 | 120.1903 | 0.2937 | 3.3939 | 4.4145
EA Networks | 8.0808 | 91.273 | 117.5533 | 0.098303 | 1.2406 | 1.5767
Eastland Network | 13.3902 | 220.4729 | 270.1836 | 0.20796 | 3.0929 | 3.8262
Electricity Invercargill | 3.8628 | 23.251 | 34.4598 | 0.10037 | 0.62195 | 0.91535
Horizon Energy | 14.6859 | 174.1308 | 224.6307 | 0.10626 | 2.1568 | 2.6378
Nelson Electricity | 8.7205 | 17.182 | 32.9375 | 0.21163 | 0.36393 | 0.706
Network Tasman | 7.2562 | 94.9132 | 121.6013 | 0.077354 | 1.1744 | 1.4816
OtagoNet | 13.2414 | 146.3956 | 189.7038 | 0.17647 | 2.1791 | 2.7807
Powerco | 11.2144 | 171.795 | 204.2157 | 0.064267 | 2.2574 | 2.5254
The Lines Company | 10.9669 | 165.851 | 202.7399 | 0.14446 | 2.7912 | 3.3823
Top Energy | 29.3638 | 391.8646 | 488.0186 | 0.34677 | 5.2585 | 6.456
Unison Networks | 4.541 | 82.4404 | 98.7074 | 0.077048 | 1.826 | 2.1312
Vector Lines | 3.3736 | 90.0972 | 102.3132 | 0.038927 | 1.257 | 1.4131
Wellington Electricity | 2.1026 | 34.8319 | 42.6107 | 0.031245 | 0.542 | 0.65946
DPP3 – counterfactual
This is raw output from Stata models
Distributor | bound_saidi | saidi_target | saidi_cap | bound_saifi | saifi_target | saifi_cap
Alpine Energy | 9.1745 | 117.5864 | 150.4928 | 0.072188 | 1.1233 | 1.4126
Aurora Energy | 3.382 | 77.6096 | 92.7447 | 0.060741 | 1.3084 | 1.549
Centralines | 8.5172 | 73.6405 | 99.2258 | 0.2937 | 2.5822 | 3.369
EA Networks | 8.0808 | 95.781 | 120.9151 | 0.098303 | 1.2968 | 1.6112
Eastland Network | 13.3902 | 221.044 | 270.616 | 0.20796 | 3.1545 | 3.895
Electricity Invercargill | 3.8628 | 22.0238 | 32.913 | 0.10037 | 0.59369 | 0.87587
Horizon Energy | 14.6859 | 156.1377 | 200.4807 | 0.10626 | 1.9481 | 2.408
Nelson Electricity | 8.7205 | 16.2224 | 31.4417 | 0.21163 | 0.36093 | 0.71193
Network Tasman | 7.2562 | 91.6711 | 117.6644 | 0.077354 | 1.0786 | 1.3705
OtagoNet | 13.2414 | 152.8372 | 195.464 | 0.17647 | 2.2084 | 2.8006
Powerco | 11.2144 | 162.6328 | 190.631 | 0.064267 | 2.0764 | 2.3307
The Lines Company | 10.9669 | 175.4553 | 214.8041 | 0.14446 | 2.9498 | 3.5909
Top Energy | 29.3638 | 395.5114 | 491.1006 | 0.34677 | 5.2563 | 6.3921
Unison Networks | 4.541 | 76.2834 | 91.4941 | 0.077048 | 1.6589 | 1.9468
Vector Lines | 3.3736 | 105.671 | 119.2843 | 0.038927 | 1.302 | 1.4613
Wellington Electricity | 2.1026 | 38.0503 | 46.3336 | 0.031245 | 0.58713 | 0.71223
Live-lines analysis of planned interruptions
This is raw output from Stata models
Distributor | Start_Date | Planned_Unplanned | saidi_live_value | saidi_live_est | saidi_live_not
Centralines | 2017-09-05 | Planned | 1.7287 | 1.7287 | 26.0269
EA Networks | 2017-04-18 | Planned | 50.4286 | 50.4286 | 159.664
Electricity Invercargill | 2018-02-26 | Planned | 0.60385 | 0.60385 | 0.60385
OtagoNet | 2015-05-08 | Planned | 181.1619 | 181.1619 | 408.5415
Top Energy | 2016-07-22 | Planned | 35.2834 | 34.7899 | 245.113
Unison Networks | 2016-04-05 | Planned | 18.948 | 20.6708 | 116.4251
Vector Lines | 2015-08-03 | Planned | 104.8756 | 125.1324 | 185.7791
Wellington Electricity | 2016-04-01 | Planned | 0 | 8.1263 | 22.3223

## Other Inputs
Other Inputs
This sheet contains all inputs that are not from Stata models
Inputs that are the same for all distributors
Constants |  | Value
Minutes per hour |  | 60
Hours per day |  | 24
Days per year |  | 365
Commission-defined constants
Value of lost load |  | 25000
IRIS retention rate |  | 26%
SAIDI weighting |  | 80%
SAIFI weighting |  | 0%
Maximum revenue at risk |  | 2%
Extreme outage standard multiplier |  | 3
Years in regulatory period |  | 5
SAIDI % increase/decrease cap |  | 5%
SAIFI % increase/decrease cap |  | 5%
Inputs that are specific to individual distributors
Energy delivered (GWh)
This data is the total 'energy delivered to ICPs in the disclosure year' for all customers, from schedule 8(i) in ID Years end on 31 March |  | Value | 2016 | 2017 | 2018
Alpine Energy |  |  | 810.4432 | 764.0616 | 776.5624
Aurora Energy |  |  | 1303.4496 | 1284.17 | 1308.2926
Centralines |  |  | 106.3576 | 105.187 | 105.375
EA Networks |  |  | 602.7687 | 563.2358 | 543.2349
Eastland Network |  |  | 279.4878 | 273.4251 | 279.4825
Electricity Invercargill |  |  | 265.5625 | 253.551 | 250.9066
Horizon Energy |  |  | 527.1611 | 532.4472 | 537.656
Nelson Electricity |  |  | 140.3247 | 139.6067 | 140.3423
Network Tasman |  |  | 603.79 | 614.386 | 617.2147
Orion NZ |  |  | 3153.9988 | 3092.6107 | 3172.5207
OtagoNet |  |  | 432.3611 | 422.6975 | 433.0158
Powerco |  |  | 4530.4591 | 4530.8664 | 4847.8196
The Lines Company |  |  | 368.7496 | 380.59 | 379.8947
Top Energy |  |  | 324.1312 | 321.7805 | 325.3432
Unison Networks |  |  | 1585.8281 | 1582.854 | 1615.3051
Vector Lines |  |  | 8429 | 8302.374 | 8406.577
Wellington Electricity |  |  | 2353.7672 | 2324.9208 | 2296.9197
ICPs
This data is the 'average no. of ICPs in the disclosure year' for all customers, from schedule 8(i) in ID Years end on 31 March |  | Value | 2016 | 2017 | 2018
Alpine Energy |  |  | 31936 | 32829 | 32975
Aurora Energy |  |  | 85966 | 87102.0356 | 88588.0986
Centralines |  |  | 8465.6667 | 8496 | 8561
EA Networks |  |  | 18774.1667 | 18986.1667 | 19216.5833
Eastland Network |  |  | 25415 | 25407 | 25512
Electricity Invercargill |  |  | 17372 | 17364 | 17404
Horizon Energy |  |  | 24818 | 24913 | 25000
Nelson Electricity |  |  | 9206.5 | 9202.5 | 9209.5
Network Tasman |  |  | 38535 | 39028 | 39578
Orion NZ |  |  | 192857 | 196421 | 199838
OtagoNet |  |  | 15440 | 15623 | 16000
Powerco |  |  | 330577 | 334042 | 337134.5
The Lines Company |  |  | 23652 | 23691 | 23768
Top Energy |  |  | 31025 | 31365 | 31641
Unison Networks |  |  | 111045.3333 | 111842 | 112781
Vector Lines |  |  | 545968 | 551728 | 557490
Wellington Electricity |  |  | 166590.526 | 166344 | 166909.5833
Maximum allowable revenue for DPP3 period ($000 nominal)
This is the 'MAR (applicable X factor)' series from the outputs of the Financial model |  | Value | 2021 | 2022 | 2023 | 2024 | 2025
Alpine Energy |  |  | 45361.3803 | 46302.6074 | 47259.5279 | 48220.4717 | 49184.8811
Aurora Energy |  |  | 72030.7275 | 80069.0853 | 88997.2687 | 98888.6921 | 109843.5814
Centralines |  |  | 9398.5396 | 9593.5549 | 9791.8217 | 9990.922 | 10190.7405
EA Networks |  |  | 37696.145 | 38478.3221 | 39273.5408 | 40072.1027 | 40873.5448
Eastland Network |  |  | 25055.1106 | 25574.9922 | 26103.5421 | 26634.3141 | 27167.0004
Electricity Invercargill |  |  | 12291.5923 | 12546.637 | 12805.9342 | 13066.3215 | 13327.6479
Horizon Energy |  |  | 25008.5522 | 25527.4678 | 26055.0354 | 26584.8212 | 27116.5176
Nelson Electricity |  |  | 5588.2463 | 5704.1997 | 5822.0865 | 5940.469 | 6059.2783
Network Tasman |  |  | 28780.563 | 29377.746 | 29984.8861 | 30594.5787 | 31206.4703
Orion NZ |  |  | 161170.0707 | 164514.2729 | 167914.2346 | 171328.4907 | 174755.0605
OtagoNet |  |  | 25084.6006 | 25605.0941 | 26134.266 | 26665.6628 | 27198.976
The Lines Company |  |  | 33943.504 | 34647.8156 | 35363.8704 | 36082.9358 | 36804.5945
Top Energy |  |  | 42189.2595 | 43064.6666 | 43954.6697 | 44848.4146 | 45745.3829
Unison Networks |  |  | 102250.9767 | 104372.6358 | 106529.6703 | 108695.7736 | 110869.6891
Vector Lines |  |  | 403345.7655 | 411714.9982 | 420223.7748 | 428768.3249 | 437343.6914
Wellington Electricity |  |  | 100807.9431 | 102899.6599 | 105026.2529 | 107161.7867 | 109305.0224
Maximum allowable revenue for Powerco CPP ($000 nominal)
Source: Powerco Limited Electricity Distribution Customised Price-Quality Path Determination 2018
|  |  | 2021 | 2022 | 2023
Powerco |  |  | 290852 | 296750 | 302685
SAIDI incentives rates for DPP2 ($/SAIDI)
Source: Quality of service targets model EDB DPP 2015-2020 |  | Value
Alpine Energy |  | 7134.422
Aurora Energy |  | 31741.2987
Centralines |  | 2461.8732
EA Networks |  | 9080.4842
Eastland Network |  | 3560.1831
Electricity Invercargill |  | 9619.6002
Horizon Energy |  | 4284.8947
Nelson Electricity |  | 5663.7743
Network Tasman |  | 8100.071
Orion NZ
OtagoNet |  | 4083.9141
Powerco |  | 57525.982
The Lines Company |  | 6829.9169
Top Energy |  | 2619.0376
Unison Networks |  | 45378.4058
Vector Lines |  | 242885.1548
Wellington Electricity |  | 95090.9696
Circuit Length
Source: 2018 Information Disclosures, Section 9 (c) Total circuit length (for supply) | 2018 Circuit length (km)
Electricity Invercargill | 656
Nelson Electricity | 297

## Calculations
Calculations for the selected distributor
This sheet calculates the quality standards that will apply for the DPP3 period
The calculations are for the distributor selected in the 'Output' sheet.
Electricity Invercargill
Inputs
|  | From | Value | [5 empty] | Notes
Constants
Minutes per hour |  | Other inputs | 60
Hours per day |  | Other inputs | 24
Days per year |  | Other inputs | 365
Commission-defined constants
Value of lost load |  | Other inputs | 25000
IRIS retention rate |  | Other inputs | 26%
SAIDI weighting |  | Other inputs | 80%
SAIFI weighting |  | Other inputs | 0%
Maximum revenue at risk |  | Other inputs | 2%
Extreme outage standard multiplier |  | Other inputs | 3
Years in regulatory period |  | Other inputs | 5
SAIDI % increase/decrease cap |  | Other inputs | 5%
SAIFI % increase/decrease cap |  | Other inputs | 5%
EDB-specific inputs
|  |  |  | 2016 | 2017 | 2018
Energy delivered (GWh) |  | Other inputs |  | 265.5625 | 253.551 | 250.9066
ICPs |  | Other inputs |  | 17372 | 17364 | 17404
|  |  |  | 2021 | 2022 | 2023 | 2024 | 2025
MAR or net allowable revenue |  | Other inputs |  | 12291.5923 | 12546.637 | 12805.9342 | 13066.3215 | 13327.6479
SAIDI incentives rates for DPP2 ($/SAIDI) |  | Other inputs | 9619.6002
Unplanned disruption standards(minutes)
Final run: | bound_saidi | Inputs from Stata Model | 3.4043
Final run: | saidi_target | Inputs from Stata Model | 16.8773
Final run: | saidi_collar | Inputs from Stata Model | 0
Final run: | saidi_cap | Inputs from Stata Model | 24.6017
Final run: | bound_saifi | Inputs from Stata Model | 0.0688
Final run: | saifi_target | Inputs from Stata Model | 0.43808
Final run: | saifi_collar | Inputs from Stata Model | 0
Final run: | saifi_cap | Inputs from Stata Model | 0.63358
DPP2: | saidi_target | Inputs from Stata Model | 23.251
DPP2: | saifi_target | Inputs from Stata Model | 0.62195
DPP3: | saidi_target | Inputs from Stata Model | 22.0238
DPP3: | saifi_target | Inputs from Stata Model | 0.59369
Planned disruption standards (minutes)
Final run: | saidi_collar | Inputs from Stata Model | 0
Final run: | saidi_target | Inputs from Stata Model | 7.3016
Final run: | saidi_cap | Inputs from Stata Model | 21.9049
Final run: | saifi_cap | Inputs from Stata Model | 0.098506
Calculations |  | Units | Result
Reliability standards
Planned SAIDI standard for the DPP3 period |  | minutes | 109.5247 | [5 empty] | Planned SAIDI standards are set for the five-year regulatory period
Planned SAIFI standard for the DPP3 period |  | minutes | 0.49253 | [5 empty] | Planned SAIFI standards are set for the five-year regulatory period
Extreme outage standard |  | minutes | 10.2129 | [5 empty] | The extreme outage event standard is set at three times the unplanned SAIDI major event trigger
SAIDI Incentive Rate – DPP2
Average ICPs 2016-2018 |  | ICPs | 17380 | [5 empty] | This is the three-year average of ICPs to calulate the incentive rate per customer
Average GWh 2016-2018 |  | GWh | 256.6734 | [5 empty] | This is the three-year average of electricity volumes to calulate the implied VoLL
Incentive Rate |  | $ / minute | 9619.6002 | [5 empty] | The SAIDI incentive rate set for DPP2
Incentive Rate per customer |  | $ / minute / ICP | 0.55349 | [5 empty] | SAIDI incentive rate per customer in DPP2
Implied VoLL |  | $ / MWh | 19698.4275 | [5 empty] | The estimated amount of SAIDI incentives paid per MWh of electricity lossed
SAIDI Incentive Rate – DPP3
Multiplier |  | 1000 * years / minute | 0.0019026 | [5 empty] | This multiplier is used to calcualte the incentive rate
Average GWh 2016-2018 |  | GWh | 256.6734 | [5 empty] | The incentive rate is calculated using the three-year average of energy delivered by the network
Average ICPs 2016-2018 |  | ICPs | 17380 | [5 empty] | This is the three-year average of ICPs to calulate the incentive rate per customer
Incentive Rate |  | $ / minute | 2539.3865 | [5 empty] | The SAIDI incentive rate is a function of VoLL, and measures the value of losses from each SAIDI minute
Planned Incentive Rate |  | $ / minute | 1269.6932 | [5 empty] | The incentive rate for planned interruptions is set at 50% of unplanned interruptions
Incentive Rate per customer |  | $ / minute / ICP | 0.14611 | [5 empty] | SAIDI incentive rate per customer for draft DPP3
Disruption penalties and rewards
SAIDI percent increase in DPP3 vs DPP2 |  | percent | -5.278% | [5 empty] | This calculates the difference in reliability targets (average reliability) between the DPP2 and DPP3 reference periods, after normalisation
SAIDI amendment |  | percent | 0.2779% | [5 empty] | This calcualtes the adjustment necessary to reflect the 5% cap on increases we'll allow in SAIDI
Adjusted SAIDI target |  | minutes | 16.9242 | [5 empty] | This adjusts the SAIDI target if the +/- 5% cap is reached
Adjusted SAIDI collar |  | minutes | 0 | [5 empty] | This adjusts the SAIDI collar if the +/- 5% cap is reached
Adjusted SAIDI cap |  | minutes | 24.67 | [5 empty] | This adjusts the SAIDI cap if the +/- 5% cap is reached
SAIFI percent increase in DPP3 vs DPP2 |  | percent | -4.545% | [5 empty] | These calculations repeat those from above for SAIFI
SAIFI amendment |  | percent | 0% | [5 empty] | These calculations repeat those from above for SAIFI
Adjusted SAIFI target |  | minutes | 0.43808 | [5 empty] | These calculations repeat those from above for SAIFI
Adjusted SAIFI collar |  | minutes | 0 | [5 empty] | These calculations repeat those from above for SAIFI
Adjusted SAIFI cap |  | minutes | 0.63358 | [5 empty] | These calculations repeat those from above for SAIFI
Average MAR or net allowable revenue |  | $ nominal | 12807626.5738 | [5 empty] | This calculates the average annual MAR over the DPP3 period
Unplanned: Maximum revenue loss |  | percent of MAR | 0.1536% | [5 empty] | This calculates the maximum loss for unplanned disruptions as a proportion of the MAR
Unplanned: Maximum revenue gain |  | percent of MAR | 0.3356% | [5 empty] | This calculates the maximum gain for unplanned disruptions as a proportion of the MAR
Planned: Maximum revenue loss |  | percent of MAR | 0.2172% | [5 empty] | This calculates the maximum loss for planned disruptions as a proportion of the MAR
Planned: Maximum revenue gain |  | percent of MAR | 0.07239% | [5 empty] | This calculates the maximum gain for planned disruptions as a proportion of the MAR
Total: Maximum revenue loss |  | percent of MAR | 0.3707% | [5 empty] | This calculates the maximum loss for all disruptions as a proportion of the MAR (with cap applied)
Total: Maximum revenue gain |  | percent of MAR | 0.4079% | [5 empty] | This calculates the maximum gain for all disruptions as a proportion of the MAR (with cap applied)
Implied value of lost load |  | $/MWh | 5200 | [5 empty] | The estimated amount of SAIDI incentives paid per MWh of electricity lossed
Outputs |  | Output | Value
Planned SAIDI standard for the DPP3 period - minutes |  |  | 109.5247
Planned SAIFI standard for the DPP3 period - minutes |  |  | 0.49253
Extreme outage standard - minutes |  |  | 10.2129
Incentive Rate - $ / minute |  | DPP2 | 9619.6002
Incentive Rate per customer - $ / minute / ICP |  | DPP2 | 0.55349
Implied VoLL - $ / MWh |  | DPP2 | 19698.4275
Incentive Rate - $ / minute |  | DPP3 | 2539.3865
Planned Incentive Rate - $ / minute |  | DPP3 | 1269.6932
Incentive Rate per customer - $ / minute / ICP |  | DPP3 | 0.14611
Unplanned: Maximum revenue loss |  |  | 0.1536%
Unplanned: Maximum revenue gain |  |  | 0.3356%
Planned: Maximum revenue loss |  |  | 0.2172%
Planned: Maximum revenue gain |  |  | 0.07239%
Total: Maximum revenue loss |  |  | 0.3707%
Total: Maximum revenue gain |  |  | 0.4079%
SAIDI target - minutes |  |  | 16.9242
SAIDI collar - minutes |  |  | 0
SAIDI cap - minutes |  |  | 24.67
SAIFI target - minutes |  |  | 0.43808
SAIFI collar - minutes |  |  | 0
SAIFI cap - minutes |  |  | 0.63358
SAIDI percent increase in DPP3 vs DPP2 |  |  | -5.278%
SAIDI amendment |  |  | 0.2779%
SAIFI percent increase in DPP3 vs DPP2 |  |  | -4.545%
SAIFI amendment |  |  | 0%
Implied value of lost load |  |  | 5200

## Calculations-Chartbook
Calculations Chartbook
Inputs
Inputs from Stata Model
| Distributor | Start_Date | Planned_Unplanned | saidi_live_value | saidi_live_est | saidi_live_not
| Centralines | 2017-09-05 | Planned | 1.7287 | 1.7287 | 26.0269
| EA Networks | 2017-04-18 | Planned | 50.4286 | 50.4286 | 159.664
| Electricity Invercargill | 2018-02-26 | Planned | 0.60385 | 0.60385 | 0.60385
| OtagoNet | 2015-05-08 | Planned | 181.1619 | 181.1619 | 408.5415
| Top Energy | 2016-07-22 | Planned | 35.2834 | 34.7899 | 245.113
| Unison Networks | 2016-04-05 | Planned | 18.948 | 20.6708 | 116.4251
| Vector Lines | 2015-08-03 | Planned | 104.8756 | 125.1324 | 185.7791
| Wellington Electricity | 2016-04-01 | Planned | 0 | 8.1263 | 22.3223
Circuit Length
| Distributor | 2018 Circuit length (km)
| Electricity Invercargill | 656
| Nelson Electricity | 297
Calculations
Estimated planned SAIDI impact of health and safety practices
| Distributor | Date started (first impact) | SAIDI impact of HSWA | Other SAIDI since start | Percent of planned SAIDI
| Centralines | 2017-09-05 | 1.7287 | 24.2982 | 6.642%
| EA Networks | 2017-04-18 | 50.4286 | 109.2354 | 31.58%
| Electricity Invercargill | 2018-02-26 | 0.60385 | 0 | *
| OtagoNet | 2015-05-08 | 181.1619 | 227.3796 | 44.34%
| Top Energy | 2016-07-22 | 35.2834 | 209.8296 | 14.39%
| Unison Networks | 2016-04-05 | 18.948 | 97.4771 | 16.27%
| Vector Lines | 2015-08-03 | 104.8756 | 80.9035 | 56.45%
| Wellington Electricity | 2016-04-01 | 8.1263 | 14.196 | 36.4%
Reduced frequency of major events
| Distributor | 2018 Circuit length (km) | Major events (compared to 25) | ‘Major half hours’ (compared to 150)
| Electricity Invercargill | 656 | 16.4 | 98.4
| Nelson Electricity | 297 | 7.425 | 44.55
Ouputs
Estimated planned SAIDI impact of health and safety practices
| Distributor | Date started (first impact) | SAIDI impact of HSWA | Other SAIDI since start | Percent of planned SAIDI
| Centralines | 2017-09-05 | 1.7287 | 24.2982 | 6.642%
| EA Networks | 2017-04-18 | 50.4286 | 109.2354 | 31.58%
| Electricity Invercargill | 2018-02-26 | 0.60385 | 0 | *
| OtagoNet | 2015-05-08 | 181.1619 | 227.3796 | 44.34%
| Top Energy | 2016-07-22 | 35.2834 | 209.8296 | 14.39%
| Unison Networks | 2016-04-05 | 18.948 | 97.4771 | 16.27%
| Vector Lines | 2015-08-03 | 104.8756 | 80.9035 | 56.45%
| Wellington Electricity | 2016-04-01 | 8.1263 | 14.196 | 36.4%
* Electricity Invercargill sample is only one month, with only one planned interruption
Reduced frequency of major events
| Distributor | 2018 Circuit length (km) | Major events (compared to 25) | ‘Major half hours’ (compared to 150)
| Electricity Invercargill | 656 | 16.4 | 98.4
| Nelson Electricity | 297 | 7.425 | 44.55

## Output
Outputs
This sheet uses Excel's data table facility to display the quality standards for each EDB.
Distributor |  | Scenario
Active EDB |  | Electricity Invercargill
| Active EDB outputs | Alpine Energy | Aurora Energy | Centralines | EA Networks | Eastland Network | Electricity Invercargill | Horizon Energy | Nelson Electricity | Network Tasman | Orion NZ | OtagoNet | Powerco | The Lines Company | Top Energy | Unison Networks | Vector Lines | Wellington Electricity
Reliability standards
Planned SAIDI standard for the DPP3 period - minutes | 109.5247 | 857.072 | 762.8765 | 515.4175 | 1319.452 | 1336.6 | 109.5247 | 528.729 | 197.9237 | 1027.9125 | 198.8107 | 2076.5765 | 598.257 | 1228.323 | 1959.629 | 604.5155 | 460.4471 | 58.9918
Planned SAIFI standard for the DPP3 period - minutes | 0.49253 | 3.7035 | 3.9827 | 2.4794 | 4.861 | 7.7224 | 0.49253 | 3.435 | 2.6201 | 4.5881 | 0.76054 | 9.3704 | 2.8354 | 8.6415 | 7.6252 | 3.9621 | 2.3686 | 0.44789
Extreme outage standard - minutes | 10.2129 | 27.7385 | 12.4276 | 21.6429 | 22.8387 | 40.8781 | 10.2129 | 28.6058 | 24.7234 | 20.3615 | 20.3833 | 29.1251 | 9.8073 | 24.6089 | 82.2199 | 18.9053 | 13.63 | 5.2939
SAIDI target - minutes | 16.9242 | 104.0551 | 68.0837 | 67.1567 | 86.6298 | 210.1172 | 16.9242 | 138.1844 | 9.7742 | 81.2943 | 76.3774 | 133.2553 | 149.5053 | 159.9666 | 377.92 | 77.4935 | 93.8047 | 33.8211
SAIDI collar - minutes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SAIDI cap - minutes | 24.67 | 128.3705 | 78.976 | 85.2377 | 103.6177 | 246.5573 | 24.67 | 169.8373 | 17.9075 | 100.6883 | 88.7325 | 162.1496 | 161.1356 | 185.5639 | 441.7878 | 89.1034 | 102.1264 | 39.881
SAIFI target - minutes | 0.43808 | 0.98689 | 1.2114 | 2.4576 | 1.1449 | 2.7905 | 0.43808 | 1.8358 | 0.12678 | 0.98103 | 0.86257 | 1.8531 | 2.0329 | 2.6963 | 4.7908 | 1.608 | 1.2514 | 0.5252
SAIFI collar - minutes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SAIFI cap - minutes | 0.63358 | 1.2056 | 1.3748 | 3.0008 | 1.362 | 3.3273 | 0.63358 | 2.2374 | 0.22045 | 1.2107 | 0.97983 | 2.2258 | 2.1946 | 3.19 | 5.5436 | 1.8246 | 1.3591 | 0.6178
SAIDI percent increase in DPP3 vs DPP2 | -5.278% | 8.465% | 15.12% | -19.1% | 4.939% | 0.259% | -5.278% | -10.33% | -5.585% | -3.416% | 0% | 4.4% | -5.333% | 5.791% | 0.9306% | -7.468% | 17.29% | 9.24%
SAIDI amendment | 0.2779% | -3.465% | -10.12% | 14.1% | 0% | 0% | 0.2779% | 5.333% | 0.5848% | 0% | 0% | 0% | 0.3332% | -0.7909% | 0% | 2.468% | -12.29% | -4.24%
SAIFI percent increase in DPP3 vs DPP2 | -4.545% | -4.801% | 4.852% | -23.92% | 4.53% | 1.992% | -4.545% | -9.677% | -0.8239% | -8.15% | 0% | 1.344% | -8.02% | 5.684% | -0.04127% | -9.152% | 3.587% | 8.326%
SAIFI amendment | 0% | 0% | 0% | 18.92% | 0% | 0% | 0% | 4.677% | 0% | 3.15% | 0% | 0% | 3.02% | -0.6839% | 0% | 4.152% | 0% | -3.326%
SAIDI Incentive Rate – DPP2
Incentive Rate - $ / minute | 9619.6002 | 7134.422 | 31741.2987 | 2461.8732 | 9080.4842 | 3560.1831 | 9619.6002 | 4284.8947 | 5663.7743 | 8100.071 | 0 | 4083.9141 | 57525.982 | 6829.9169 | 2619.0376 | 45378.4058 | 242885.1548 | 95090.9696
Incentive Rate per customer - $ / minute / ICP | 0.55349 | 21.9% | 36.39% | 28.94% | 47.81% | 13.99% | 55.35% | 17.2% | 61.52% | 20.74% | 0% | 26.03% | 17.23% | 28.81% | 8.356% | 40.56% | 44.02% | 57.07%
Implied VoLL - $ / MWh | 19698.4275 | 4784.8723 | 12846.7167 | 12248.7909 | 8376.8881 | 6744.027 | 19698.4275 | 4229.9963 | 21249.5817 | 6958.8409 | 0 | 4999.3357 | 6521.3906 | 9536.9168 | 4251.9204 | 14956.7018 | 15235.1841 | 21494.8213
SAIDI Incentive Rate – DPP3
Incentive Rate - $ / minute | 2539.3865 | 7753.3927 | 12848.0107 | 1045.1432 | 5636.7612 | 2745.0886 | 2539.3865 | 5267.4875 | 1385.9862 | 6052.7852 | 31062.5806 | 4247.8351 | 45869.8344 | 3724.0094 | 3203.0223 | 15776.7209 | 82900.3965 | 23004.2872
Planned Incentive Rate - $ / minute | 1269.6932 | 3876.6964 | 6424.0053 | 522.5716 | 2818.3806 | 1372.5443 | 1269.6932 | 2633.7437 | 692.9931 | 3026.3926 | 15531.2903 | 2123.9175 | 22934.9172 | 1862.0047 | 1601.5111 | 7888.3605 | 41450.1982 | 11502.1436
Incentive Rate per customer - $ / minute / ICP | 0.14611 | 0.23798 | 0.14731 | 0.12285 | 0.29679 | 0.10788 | 0.14611 | 0.21146 | 0.15055 | 0.15501 | 0.15818 | 0.27078 | 0.13737 | 0.15711 | 0.10219 | 0.141 | 0.15026 | 0.13807
Disruption penalties and rewards
Unplanned: Maximum revenue loss | 0.1536% | 0.3989% | 0.1556% | 0.193% | 0.2438% | 0.3832% | 0.1536% | 0.6398% | 0.1936% | 0.3914% | 0.2285% | 0.4696% | 0.1798% | 0.2695% | 0.4653% | 0.1719% | 0.1641% | 0.1327%
Unplanned: Maximum revenue gain | 0.3356% | 1.707% | 0.9723% | 0.7167% | 1.243% | 2.209% | 0.3356% | 2.793% | 0.2327% | 1.641% | 1.413% | 2.166% | 2.311% | 1.684% | 2.754% | 1.148% | 1.85% | 0.7407%
Planned: Maximum revenue loss | 0.2172% | 1.406% | 1.089% | 0.5501% | 1.894% | 1.405% | 0.2172% | 1.069% | 0.4711% | 2.075% | 0.3677% | 3.375% | 0.9247% | 1.293% | 1.428% | 0.8952% | 0.9082% | 0.1292%
Planned: Maximum revenue gain | 0.07239% | 0.4686% | 0.3632% | 0.1834% | 0.6312% | 0.4685% | 0.07239% | 0.3563% | 0.157% | 0.6916% | 0.1226% | 1.125% | 0.3082% | 0.4311% | 0.4759% | 0.2984% | 0.3027% | 0.04306%
Total: Maximum revenue loss | 0.3707% | 1.805% | 1.245% | 0.743% | 2% | 1.789% | 0.3707% | 1.709% | 0.6647% | 2% | 0.5963% | 2% | 1.104% | 1.563% | 1.893% | 1.067% | 1.072% | 0.2619%
Total: Maximum revenue gain | 0.4079% | 2% | 1.335% | 0.9001% | 1.874% | 2% | 0.4079% | 2% | 0.3897% | 2% | 1.535% | 2% | 2% | 2% | 2% | 1.446% | 2% | 0.7838%
|  | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
Inputs from Stata model |  | Alpine Energy | Aurora Energy | Centralines | EA Networks | Eastland Network | Electricity Invercargill | Horizon Energy | Nelson Electricity | Network Tasman | Orion NZ | OtagoNet | Powerco | The Lines Company | Top Energy | Unison Networks | Vector Lines | Wellington Electricity
Unplanned disruption standards
bound_saidi |  | 9.2462 | 4.1425 | 7.2143 | 7.6129 | 13.626 | 3.4043 | 9.5353 | 8.2411 | 6.7872 | 6.7944 | 9.7084 | 3.2691 | 8.203 | 27.4066 | 6.3018 | 4.5433 | 1.7646
saidi_target |  | 107.7905 | 75.7523 | 58.8575 | 86.6298 | 210.1172 | 16.8773 | 131.188 | 9.7174 | 81.2943 | 76.3774 | 133.2553 | 149.0088 | 161.2419 | 377.92 | 75.6267 | 106.9432 | 35.3185
saidi_collar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
saidi_cap |  | 132.9788 | 87.8715 | 74.7041 | 103.6177 | 246.5573 | 24.6017 | 161.2383 | 17.8034 | 100.6883 | 88.7325 | 162.1496 | 160.6005 | 187.0433 | 441.7878 | 86.9569 | 116.4305 | 41.6467
saidi_deviation |  | 16.7922 | 8.0794 | 10.5644 | 11.3253 | 24.2934 | 5.1496 | 20.0335 | 5.3907 | 12.9293 | 8.2368 | 19.2628 | 7.7278 | 17.201 | 42.5785 | 7.5535 | 6.3248 | 4.2188
bound_saifi |  | 0.061073 | 0.055751 | 0.14452 | 0.070231 | 0.19706 | 0.0688 | 0.083214 | 0.12082 | 0.067328 | 0.060097 | 0.1232 | 0.037105 | 0.13084 | 0.21613 | 0.065934 | 0.03454 | 0.0292
saifi_target |  | 0.98689 | 1.2114 | 2.0666 | 1.1449 | 2.7905 | 0.43808 | 1.7538 | 0.12678 | 0.95107 | 0.86257 | 1.8531 | 1.9733 | 2.7149 | 4.7908 | 1.544 | 1.2514 | 0.54327
saifi_collar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
saifi_cap |  | 1.2056 | 1.3748 | 2.5235 | 1.362 | 3.3273 | 0.63358 | 2.1374 | 0.22045 | 1.1737 | 0.97983 | 2.2258 | 2.1303 | 3.212 | 5.5436 | 1.7519 | 1.3591 | 0.63905
saifi_deviation |  | 0.14582 | 0.10897 | 0.30454 | 0.14475 | 0.35782 | 0.13033 | 0.25575 | 0.062449 | 0.14842 | 0.078175 | 0.24845 | 0.10466 | 0.3314 | 0.50186 | 0.1386 | 0.071815 | 0.063857
Planned disruption standards
saidi_collar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
saidi_target |  | 57.1381 | 50.8584 | 34.3612 | 87.9635 | 89.1067 | 7.3016 | 35.2486 | 13.1949 | 68.5275 | 13.254 | 138.4384 | 39.8838 | 81.8882 | 130.6419 | 40.301 | 30.6965 | 3.9328
saidi_cap |  | 171.4144 | 152.5753 | 103.0835 | 263.8904 | 267.32 | 21.9049 | 105.7458 | 39.5847 | 205.5825 | 39.7621 | 415.3153 | 119.6514 | 245.6646 | 391.9258 | 120.9031 | 92.0894 | 11.7984
saidi_limit |  | 857.072 | 762.8767 | 515.4177 | 1319.452 | 1336.6 | 109.5247 | 528.7288 | 197.9237 | 1027.912 | 198.8107 | 2076.577 | 598.2568 | 1228.323 | 1959.629 | 604.5154 | 460.4471 | 58.9918
saifi_collar |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
saifi_target |  | 0.2469 | 0.26551 | 0.16529 | 0.32407 | 0.51483 | 0.032835 | 0.229 | 0.17468 | 0.30588 | 0.050703 | 0.6247 | 0.18903 | 0.5761 | 0.50835 | 0.26414 | 0.15791 | 0.029859

## Chart book
Outputs Chart book
Table 7.1 | Proposed quality standards
|  | Unplanned SAIDI | Unplanned SAIFI | Planned SAIDI | Planned SAIFI | Extreme outage SAIDI
| Distributor | (1-year) | (1-year) | (5-year) | (5-year)
| Alpine Energy | 128.3705 | 1.2056 | 857.072 | 3.7035 | 27.7385
| Aurora Energy | 78.976 | 1.3748 | 762.8765 | 3.9827 | 12.4276
| Centralines | 85.2377 | 3.0008 | 515.4175 | 2.4794 | 21.6429
| EA Networks | 103.6177 | 1.362 | 1319.452 | 4.861 | 22.8387
| Eastland Network | 246.5573 | 3.3273 | 1336.6 | 7.7224 | 40.8781
| Electricity Invercargill | 24.67 | 0.63358 | 109.5247 | 0.49253 | 10.2129
| Horizon Energy | 169.8373 | 2.2374 | 528.729 | 3.435 | 28.6058
| Nelson Electricity | 17.9075 | 0.22045 | 197.9237 | 2.6201 | 24.7234
| Network Tasman | 100.6883 | 1.2107 | 1027.9125 | 4.5881 | 20.3615
| Orion NZ | 88.7325 | 0.97983 | 198.8107 | 0.76054 | 20.3833
| OtagoNet | 162.1496 | 2.2258 | 2076.5765 | 9.3704 | 29.1251
| Powerco | 161.1356 | 2.1946 | 598.257 | 2.8354 | 9.8073
| The Lines Company | 185.5639 | 3.19 | 1228.323 | 8.6415 | 24.6089
| Top Energy | 441.7878 | 5.5436 | 1959.629 | 7.6252 | 82.2199
| Unison Networks | 89.1034 | 1.8246 | 604.5155 | 3.9621 | 18.9053
| Vector Lines | 102.1264 | 1.3591 | 460.4471 | 2.3686 | 13.63
| Wellington Electricity | 39.881 | 0.6178 | 58.9918 | 0.44789 | 5.2939
Table 7.2 | Propose quality incentive scheme parameters
| Unplanned SAIDI | Unplanned collar | Unplanned target | Unplanned cap | Incentive rate | Maximum loss | Maximum gain
| Alpine Energy | 0 | 104.0551 | 128.3705 | 7753.3927 | 0.3989% | 1.707%
| Aurora Energy | 0 | 68.0837 | 78.976 | 12848.0107 | 0.1556% | 0.9723%
| Centralines | 0 | 67.1567 | 85.2377 | 1045.1432 | 0.193% | 0.7167%
| EA Networks | 0 | 86.6298 | 103.6177 | 5636.7612 | 0.2438% | 1.243%
| Eastland Network | 0 | 210.1172 | 246.5573 | 2745.0886 | 0.3832% | 2.209%
| Electricity Invercargill | 0 | 16.9242 | 24.67 | 2539.3865 | 0.1536% | 0.3356%
| Horizon Energy | 0 | 138.1844 | 169.8373 | 5267.4875 | 0.6398% | 2.793%
| Nelson Electricity | 0 | 9.7742 | 17.9075 | 1385.9862 | 0.1936% | 0.2327%
| Network Tasman | 0 | 81.2943 | 100.6883 | 6052.7852 | 0.3914% | 1.641%
| Orion NZ | 0 | 76.3774 | 88.7325 | 31062.5806 | 0.2285% | 1.413%
| OtagoNet | 0 | 133.2553 | 162.1496 | 4247.8351 | 0.4696% | 2.166%
| Powerco | 0 | 149.5053 | 161.1356 | 45869.8344 | 0.1798% | 2.311%
| The Lines Company | 0 | 159.9666 | 185.5639 | 3724.0094 | 0.2695% | 1.684%
| Top Energy | 0 | 377.92 | 441.7878 | 3203.0223 | 0.4653% | 2.754%
| Unison Networks | 0 | 77.4935 | 89.1034 | 15776.7209 | 0.1719% | 1.148%
| Vector Lines | 0 | 93.8047 | 102.1264 | 82900.3965 | 0.1641% | 1.85%
| Wellington Electricity | 0 | 33.8211 | 39.881 | 23004.2872 | 0.1327% | 0.7407%
| Planned SAIDI | Planned collar | Planned target | Planned cap | Incentive rate | Maximum loss | Maximum gain
| Alpine Energy | 0 | 57.1381 | 171.4144 | 3876.6964 | 1.406% | 0.4686%
| Aurora Energy | 0 | 50.8584 | 152.5753 | 6424.0053 | 1.089% | 0.3632%
| Centralines | 0 | 34.3612 | 103.0835 | 522.5716 | 0.5501% | 0.1834%
| EA Networks | 0 | 87.9635 | 263.8904 | 2818.3806 | 1.894% | 0.6312%
| Eastland Network | 0 | 89.1067 | 267.32 | 1372.5443 | 1.405% | 0.4685%
| Electricity Invercargill | 0 | 7.3016 | 21.9049 | 1269.6932 | 0.2172% | 0.07239%
| Horizon Energy | 0 | 35.2486 | 105.7458 | 2633.7437 | 1.069% | 0.3563%
| Nelson Electricity | 0 | 13.1949 | 39.5847 | 692.9931 | 0.4711% | 0.157%
| Network Tasman | 0 | 68.5275 | 205.5825 | 3026.3926 | 2.075% | 0.6916%
| Orion NZ | 0 | 13.254 | 39.7621 | 15531.2903 | 0.3677% | 0.1226%
| OtagoNet | 0 | 138.4384 | 415.3153 | 2123.9175 | 3.375% | 1.125%
| Powerco | 0 | 39.8838 | 119.6514 | 22934.9172 | 0.9247% | 0.3082%
| The Lines Company | 0 | 81.8882 | 245.6646 | 1862.0047 | 1.293% | 0.4311%
| Top Energy | 0 | 130.6419 | 391.9258 | 1601.5111 | 1.428% | 0.4759%
| Unison Networks | 0 | 40.301 | 120.9031 | 7888.3605 | 0.8952% | 0.2984%
| Vector Lines | 0 | 30.6965 | 92.0894 | 41450.1982 | 0.9082% | 0.3027%
| Wellington Electricity | 0 | 3.9328 | 11.7984 | 11502.1436 | 0.1292% | 0.04306%
Table 7.3 | Proposed major event boundary values
| Distributor | SAIDI boundary | SAIFI boundary
| Alpine Energy | 9.2462 | 0.061073
| Aurora Energy | 4.1425 | 0.055751
| Centralines | 7.2143 | 0.14452
| EA Networks | 7.6129 | 0.070231
| Eastland Network | 13.626 | 0.19706
| Electricity Invercargill | 3.4043 | 0.0688
| Horizon Energy | 9.5353 | 0.083214
| Nelson Electricity | 8.2411 | 0.12082
| Network Tasman | 6.7872 | 0.067328
| Orion NZ | 6.7944 | 0.060097
| OtagoNet | 9.7084 | 0.1232
| Powerco | 3.2691 | 0.037105
| The Lines Company | 8.203 | 0.13084
| Top Energy | 27.4066 | 0.21613
| Unison Networks | 6.3018 | 0.065934
| Vector Lines | 4.5433 | 0.03454
| Wellington Electricity | 1.7646 | 0.0292
Figure J1 | Difference between DPP2 and uncapped DPP3 SAIDI targets
| Distributor | SAIDI target
| Alpine Energy | 8.465%
| Aurora Energy | 15.12%
| Centralines | -19.1%
| EA Networks | 4.939%
| Eastland Network | 0.259%
| Electricity Invercargill | -5.278%
| Horizon Energy | -10.33%
| Nelson Electricity | -5.585%
| Network Tasman | -3.416%
| Orion NZ | 0%
| OtagoNet | 4.4%
| Powerco | -5.333%
| The Lines Company | 5.791%
| Top Energy | 0.9306%
| Unison Networks | -7.468%
| Vector Lines | 17.29%
| Wellington Electricity | 9.24%
Figure J2 | Difference between DPP2 and uncapped DPP3 SAIFI targets
| Distributor | SAIFI target
| Alpine Energy | -4.801%
| Aurora Energy | 4.852%
| Centralines | -23.92%
| EA Networks | 4.53%
| Eastland Network | 1.992%
| Electricity Invercargill | -4.545%
| Horizon Energy | -9.677%
| Nelson Electricity | -0.8239%
| Network Tasman | -8.15%
| Orion NZ | 0%
| OtagoNet | 1.344%
| Powerco | -8.02%
| The Lines Company | 5.684%
| Top Energy | -0.04127%
| Unison Networks | -9.152%
| Vector Lines | 3.587%
| Wellington Electricity | 8.326%
Table J1 | Indicative adjustments to DPP3 targets based on 5% cap
| Distributor | SAIDI Adjustment | SAIFI Adjustment
| Alpine Energy | -3.465% | 0%
| Aurora Energy | -10.12% | 0%
| Centralines | 14.1% | 18.92%
| EA Networks | 0% | 0%
| Eastland Network | 0% | 0%
| Electricity Invercargill | 0.2779% | 0%
| Horizon Energy | 5.333% | 4.677%
| Nelson Electricity | 0.5848% | 0%
| Network Tasman | 0% | 3.15%
| Orion NZ | 0% | 0%
| OtagoNet | 0% | 0%
| Powerco | 0.3332% | 3.02%
| The Lines Company | -0.7909% | -0.6839%
| Top Energy | 0% | 0%
| Unison Networks | 2.468% | 4.152%
| Vector Lines | -12.29% | 0%
| Wellington Electricity | -4.24% | -3.326%
Table J2 | Estimated planned SAIDI impact of health and safety practices
| Distributor | Date started (first impact) | SAIDI impact of HSWA | Other SAIDI since start | Percent of planned SAIDI
| Centralines | 2017-09-05 | 1.7287 | 24.2982 | 6.642%
| EA Networks | 2017-04-18 | 50.4286 | 109.2354 | 31.58%
| Electricity Invercargill | 2018-02-26 | 0.60385 | 0 | *
| OtagoNet | 2015-05-08 | 181.1619 | 227.3796 | 44.34%
| Top Energy | 2016-07-22 | 35.2834 | 209.8296 | 14.39%
| Unison Networks | 2016-04-05 | 18.948 | 97.4771 | 16.27%
| Vector Lines | 2015-08-03 | 104.8756 | 80.9035 | 56.45%
| Wellington Electricity | 2016-04-01 | 8.1263 | 14.196 | 36.4%
* Electricity Invercargill sample is only one month, with only one planned interruption
Table K1 | Reduced frequency of major events
| Distributor | 2018 Circuit length (km) | Major events (compared to 25) | ‘Major half hours’ (compared to 150)
| Electricity Invercargill | 656 | 16.4 | 98.4
| Nelson Electricity | 297 | 7.425 | 44.55
Table K2 | Unplanned boundary values
Same as Table 7.3, Proposed major event boundary values
Table L1 | Draft annual unplanned limits
| Distributor | Unplanned SAIDI | Unplanned SAIFI
| Alpine Energy | 128.3705 | 1.2056
| Aurora Energy | 78.976 | 1.3748
| Centralines | 85.2377 | 3.0008
| EA Networks | 103.6177 | 1.362
| Eastland Network | 246.5573 | 3.3273
| Electricity Invercargill | 24.67 | 0.63358
| Horizon Energy | 169.8373 | 2.2374
| Nelson Electricity | 17.9075 | 0.22045
| Network Tasman | 100.6883 | 1.2107
| Orion NZ | 88.7325 | 0.97983
| OtagoNet | 162.1496 | 2.2258
| Powerco | 161.1356 | 2.1946
| The Lines Company | 185.5639 | 3.19
| Top Energy | 441.7878 | 5.5436
| Unison Networks | 89.1034 | 1.8246
| Vector Lines | 102.1264 | 1.3591
| Wellington Electricity | 39.881 | 0.6178
Table L2 | Draft regulatory period planned limits (5-year total)
| Distributor | Planned SAIDI | Planned SAIFI
| Alpine Energy | 857.072 | 3.7035
| Aurora Energy | 762.8765 | 3.9827
| Centralines | 515.4175 | 2.4794
| EA Networks | 1319.452 | 4.861
| Eastland Network | 1336.6 | 7.7224
| Electricity Invercargill | 109.5247 | 0.49253
| Horizon Energy | 528.729 | 3.435
| Nelson Electricity | 197.9237 | 2.6201
| Network Tasman | 1027.9125 | 4.5881
| Orion NZ | 198.8107 | 0.76054
| OtagoNet | 2076.5765 | 9.3704
| Powerco | 598.257 | 2.8354
| The Lines Company | 1228.323 | 8.6415
| Top Energy | 1959.629 | 7.6252
| Unison Networks | 604.5155 | 3.9621
| Vector Lines | 460.4471 | 2.3686
| Wellington Electricity | 58.9918 | 0.44789
Table L3 | Draft extreme outage event standard
| Distributor | Major event SAIDI limit
| Alpine Energy | 27.7385
| Aurora Energy | 12.4276
| Centralines | 21.6429
| EA Networks | 22.8387
| Eastland Network | 40.8781
| Electricity Invercargill | 10.2129
| Horizon Energy | 28.6058
| Nelson Electricity | 24.7234
| Network Tasman | 20.3615
| Orion NZ | 20.3833
| OtagoNet | 29.1251
| Powerco | 9.8073
| The Lines Company | 24.6089
| Top Energy | 82.2199
| Unison Networks | 18.9053
| Vector Lines | 13.63
| Wellington Electricity | 5.2939
TableM1 | DPP2 SAIDI incentive rates
| Distributor | Incentive rate | Incentive rate per customer | Implied VoLL
| Alpine Energy | 7134.422 | 0.21898 | 4784.8723
| Aurora Energy | 31741.2987 | 0.36393 | 12846.7167
| Centralines | 2461.8732 | 0.28937 | 12248.7909
| EA Networks | 9080.4842 | 0.47811 | 8376.8881
| Eastland Network | 3560.1831 | 0.13992 | 6744.027
| Electricity Invercargill | 9619.6002 | 0.55349 | 19698.4275
| Horizon Energy | 4284.8947 | 0.17201 | 4229.9963
| Nelson Electricity | 5663.7743 | 0.61522 | 21249.5817
| Network Tasman | 8100.071 | 0.20744 | 6958.8409
| Orion NZ | 0 | 0 | 0
| OtagoNet | 4083.9141 | 0.26033 | 4999.3357
| Powerco | 57525.982 | 0.17228 | 6521.3906
| The Lines Company | 6829.9169 | 0.28814 | 9536.9168
| Top Energy | 2619.0376 | 0.083559 | 4251.9204
| Unison Networks | 45378.4058 | 0.40556 | 14956.7018
| Vector Lines | 242885.1548 | 0.44023 | 15235.1841
| Wellington Electricity | 95090.9696 | 0.57072 | 21494.8213
Table M2 | Draft DPP3 SAIDI incentive rates
| Distributor | Incentive rate | Incentive rate per customer | Implied VoLL
| Alpine Energy | 7753.3927 | 0.23798 | 5200
| Aurora Energy | 12848.0107 | 0.14731 | 5200
| Centralines | 1045.1432 | 0.12285 | 5200
| EA Networks | 5636.7612 | 0.29679 | 5200
| Eastland Network | 2745.0886 | 0.10788 | 5200
| Electricity Invercargill | 2539.3865 | 0.14611 | 5200
| Horizon Energy | 5267.4875 | 0.21146 | 5200
| Nelson Electricity | 1385.9862 | 0.15055 | 5200
| Network Tasman | 6052.7852 | 0.15501 | 5200
| Orion NZ | 31062.5806 | 0.15818 | 5200
| OtagoNet | 4247.8351 | 0.27078 | 5200
| Powerco | 45869.8344 | 0.13737 | 5200
| The Lines Company | 3724.0094 | 0.15711 | 5200
| Top Energy | 3203.0223 | 0.10219 | 5200
| Unison Networks | 15776.7209 | 0.141 | 5200
| Vector Lines | 82900.3965 | 0.15026 | 5200
| Wellington Electricity | 23004.2872 | 0.13807 | 5200
Table M3 | Draft unplanned incentive parameters
| Distributor | Unplanned SAIDI collar | Unplanned SAIDI target | Unplanned SAIDI cap | Incentive rate per SAIDI
| Alpine Energy | 0 | 104.0551 | 128.3705 | 7753.3927
| Aurora Energy | 0 | 68.0837 | 78.976 | 12848.0107
| Centralines | 0 | 67.1567 | 85.2377 | 1045.1432
| EA Networks | 0 | 86.6298 | 103.6177 | 5636.7612
| Eastland Network | 0 | 210.1172 | 246.5573 | 2745.0886
| Electricity Invercargill | 0 | 16.9242 | 24.67 | 2539.3865
| Horizon Energy | 0 | 138.1844 | 169.8373 | 5267.4875
| Nelson Electricity | 0 | 9.7742 | 17.9075 | 1385.9862
| Network Tasman | 0 | 81.2943 | 100.6883 | 6052.7852
| Orion NZ | 0 | 76.3774 | 88.7325 | 31062.5806
| OtagoNet | 0 | 133.2553 | 162.1496 | 4247.8351
| Powerco | 0 | 149.5053 | 161.1356 | 45869.8344
| The Lines Company | 0 | 159.9666 | 185.5639 | 3724.0094
| Top Energy | 0 | 377.92 | 441.7878 | 3203.0223
| Unison Networks | 0 | 77.4935 | 89.1034 | 15776.7209
| Vector Lines | 0 | 93.8047 | 102.1264 | 82900.3965
| Wellington Electricity | 0 | 33.8211 | 39.881 | 23004.2872
Table M4 | Draft planned incentive parameters
| Distributor | Planned SAIDI collar | Planned SAIDI target | Planned SAIDI cap | Incentive rate per SAIDI
| Alpine Energy | 0 | 57.1381 | 171.4144 | 3876.6964
| Aurora Energy | 0 | 50.8584 | 152.5753 | 6424.0053
| Centralines | 0 | 34.3612 | 103.0835 | 522.5716
| EA Networks | 0 | 87.9635 | 263.8904 | 2818.3806
| Eastland Network | 0 | 89.1067 | 267.32 | 1372.5443
| Electricity Invercargill | 0 | 7.3016 | 21.9049 | 1269.6932
| Horizon Energy | 0 | 35.2486 | 105.7458 | 2633.7437
| Nelson Electricity | 0 | 13.1949 | 39.5847 | 692.9931
| Network Tasman | 0 | 68.5275 | 205.5825 | 3026.3926
| Orion NZ | 0 | 13.254 | 39.7621 | 15531.2903
| OtagoNet | 0 | 138.4384 | 415.3153 | 2123.9175
| Powerco | 0 | 39.8838 | 119.6514 | 22934.9172
| The Lines Company | 0 | 81.8882 | 245.6646 | 1862.0047
| Top Energy | 0 | 130.6419 | 391.9258 | 1601.5111
| Unison Networks | 0 | 40.301 | 120.9031 | 7888.3605
| Vector Lines | 0 | 30.6965 | 92.0894 | 41450.1982
| Wellington Electricity | 0 | 3.9328 | 11.7984 | 11502.1436
Table M5 | Implied maximum revenue at risk
| Distributor | Maximum loss |  |  | Maximum gain
|  | Unplanned | Planned | Total | Unplanned | Planned | Total
| Alpine Energy | 0.3989% | 1.406% | 1.805% | 1.707% | 0.4686% | 2%
| Aurora Energy | 0.1556% | 1.089% | 1.245% | 0.9723% | 0.3632% | 1.335%
| Centralines | 0.193% | 0.5501% | 0.743% | 0.7167% | 0.1834% | 0.9001%
| EA Networks | 0.2438% | 1.894% | 2% | 1.243% | 0.6312% | 1.874%
| Eastland Network | 0.3832% | 1.405% | 1.789% | 2.209% | 0.4685% | 2%
| Electricity Invercargill | 0.1536% | 0.2172% | 0.3707% | 0.3356% | 0.07239% | 0.4079%
| Horizon Energy | 0.6398% | 1.069% | 1.709% | 2.793% | 0.3563% | 2%
| Nelson Electricity | 0.1936% | 0.4711% | 0.6647% | 0.2327% | 0.157% | 0.3897%
| Network Tasman | 0.3914% | 2.075% | 2% | 1.641% | 0.6916% | 2%
| Orion NZ | 0.2285% | 0.3677% | 0.5963% | 1.413% | 0.1226% | 1.535%
| OtagoNet | 0.4696% | 3.375% | 2% | 2.166% | 1.125% | 2%
| Powerco | 0.1798% | 0.9247% | 1.104% | 2.311% | 0.3082% | 2%
| The Lines Company | 0.2695% | 1.293% | 1.563% | 1.684% | 0.4311% | 2%
| Top Energy | 0.4653% | 1.428% | 1.893% | 2.754% | 0.4759% | 2%
| Unison Networks | 0.1719% | 0.8952% | 1.067% | 1.148% | 0.2984% | 1.446%
| Vector Lines | 0.1641% | 0.9082% | 1.072% | 1.85% | 0.3027% | 2%
| Wellington Electricity | 0.1327% | 0.1292% | 0.2619% | 0.7407% | 0.04306% | 0.7838%
Table 3.1.1 | Table 3.1.1: Accumulated SAIDI limits and accumulated SAIFI limits for planned interruptions for non-exempt EDBs for the
DPP regulatory period 1 April 2020 – 31 March 2025
Non-exempt EDB
|  | Accumulated SAIDI limit for the assessment period ending 31 March 2025 | Accumulated SAIFI limit for the assessment period ending 31 March 2025
| Alpine Energy Limited | 857.072 | 3.7035
| Aurora Energy Limited | 762.8765 | 3.9827
| Centralines Limited | 515.4175 | 2.4794
| Electricity Ashburton Limited | 1319.452 | 4.861
| Eastland Network Limited | 1336.6 | 7.7224
| Electricity Invercargill Limited | 109.5247 | 0.49253
| Horizon Energy Distribution Limited | 528.729 | 3.435
| Nelson Electricity Limited | 197.9237 | 2.6201
| Network Tasman Limited | 1027.9125 | 4.5881
| Orion New Zealand Limited | 198.8107 | 0.76054
| OtagoNet Joint Venture | 2076.5765 | 9.3704
| Powerco Limited | 598.257 | 2.8354
| The Lines Company Limited | 1228.323 | 8.6415
| Top Energy Limited | 1959.629 | 7.6252
| Unison Networks Limited | 604.5155 | 3.9621
| Vector Limited | 460.4471 | 2.3686
| Wellington Electricity Lines Limited | 58.9918 | 0.44789
Table 3.2.1 | Table 3.2.1: SAIDI limits, SAIFI limits, SAIDI unplanned boundary values and SAIFI unplanned boundary values for unplanned interruptions for non-exempt EDBs for the
DPP regulatory period 1 April 2020 – 31 March 2025
| Non-exempt EDB | Unplanned standard
|  | SAIDI limit | SAIFI limit | Unplanned SAIDI boundary value | Unplanned SAIFI boundary value
| Alpine Energy Limited | 128.3705 | 1.2056 | 9.2462 | 0.061073
| Aurora Energy Limited | 78.976 | 1.3748 | 4.1425 | 0.055751
| Centralines Limited | 85.2377 | 3.0008 | 7.2143 | 0.14452
| Electricity Ashburton Limited | 103.6177 | 1.362 | 7.6129 | 0.070231
| Eastland Network Limited | 246.5573 | 3.3273 | 13.626 | 0.19706
| Electricity Invercargill Limited | 24.67 | 0.63358 | 3.4043 | 0.0688
| Horizon Energy Distribution Limited | 169.8373 | 2.2374 | 9.5353 | 0.083214
| Nelson Electricity Limited | 17.9075 | 0.22045 | 8.2411 | 0.12082
| Network Tasman Limited | 100.6883 | 1.2107 | 6.7872 | 0.067328
| Orion New Zealand Limited | 88.7325 | 0.97983 | 6.7944 | 0.060097
| OtagoNet Joint Venture | 162.1496 | 2.2258 | 9.7084 | 0.1232
| Powerco Limited | 161.1356 | 2.1946 | 3.2691 | 0.037105
| The Lines Company Limited | 185.5639 | 3.19 | 8.203 | 0.13084
| Top Energy Limited | 441.7878 | 5.5436 | 27.4066 | 0.21613
| Unison Networks Limited | 89.1034 | 1.8246 | 6.3018 | 0.065934
| Vector Limited | 102.1264 | 1.3591 | 4.5433 | 0.03454
| Wellington Electricity Lines Limited | 39.881 | 0.6178 | 1.7646 | 0.0292
Table 3.3.1 | Table 3.3.1: Extreme event interruptions reliability assessment limits for unplanned interruptions for non-exempt EDBs for the
DPP regulatory period 1 April 2020 – 31 March 2025
Non-exempt EDB
Extreme event interruptions reliability assessment limit
| Alpine Energy Limited | 27.7385
| Aurora Energy Limited | 12.4276
| Centralines Limited | 21.6429
| Electricity Ashburton Limited | 22.8387
| Eastland Network Limited | 40.8781
| Electricity Invercargill Limited | 10.2129
| Horizon Energy Distribution Limited | 28.6058
| Nelson Electricity Limited | 24.7234
| Network Tasman Limited | 20.3615
| Orion New Zealand Limited | 20.3833
| OtagoNet Joint Venture | 29.1251
| Powerco Limited | 9.8073
| The Lines Company Limited | 24.6089
| Top Energy Limited | 82.2199
| Unison Networks Limited | 18.9053
| Vector Limited | 13.63
| Wellington Electricity Lines Limited | 5.2939
Table 4.1 | Table 4.1: SAIDI unplanned interruption targets, SAIDI unplanned interruption collars and SAIDI unplanned interruption caps for the
DPP regulatory period 1 April 2020 – 31 March 2025
Non-exempt EDB
|  | SAIDI unplanned interruption collar | SAIDI unplanned interruption target | SAIDI unplanned interruption cap
| Alpine Energy Limited | 0 | 104.0551 | 128.3705
| Aurora Energy Limited | 0 | 68.0837 | 78.976
| Centralines Limited | 0 | 67.1567 | 85.2377
| Electricity Ashburton Limited | 0 | 86.6298 | 103.6177
| Eastland Network Limited | 0 | 210.1172 | 246.5573
| Electricity Invercargill Limited | 0 | 16.9242 | 24.67
| Horizon Energy Distribution Limited | 0 | 138.1844 | 169.8373
| Nelson Electricity Limited | 0 | 9.7742 | 17.9075
| Network Tasman Limited | 0 | 81.2943 | 100.6883
| Orion New Zealand Limited | 0 | 76.3774 | 88.7325
| OtagoNet Joint Venture | 0 | 133.2553 | 162.1496
| Powerco Limited | 0 | 149.5053 | 161.1356
| The Lines Company Limited | 0 | 159.9666 | 185.5639
| Top Energy Limited | 0 | 377.92 | 441.7878
| Unison Networks Limited | 0 | 77.4935 | 89.1034
| Vector Limited | 0 | 93.8047 | 102.1264
| Wellington Electricity Lines Limited | 0 | 33.8211 | 39.881
Table 4.2 | Table 4.2: SAIDI planned interruption targets, SAIDI planned interruption collars, and SAIDI planned interruption cap for the
DPP regulatory period 1 April 2020 – 31 March 2025
Non-exempt EDB
|  | SAIDI planned interruption collar | SAIDI planned interruption Target | SAIDI planned interruption cap
| Alpine Energy Limited | 0 | 57.1381 | 171.4144
| Aurora Energy Limited | 0 | 50.8584 | 152.5753
| Centralines Limited | 0 | 34.3612 | 103.0835
| Electricity Ashburton Limited | 0 | 87.9635 | 263.8904
| Eastland Network Limited | 0 | 89.1067 | 267.32
| Electricity Invercargill Limited | 0 | 7.3016 | 21.9049
| Horizon Energy Distribution Limited | 0 | 35.2486 | 105.7458
| Nelson Electricity Limited | 0 | 13.1949 | 39.5847
| Network Tasman Limited | 0 | 68.5275 | 205.5825
| Orion New Zealand Limited | 0 | 13.254 | 39.7621
| OtagoNet Joint Venture | 0 | 138.4384 | 415.3153
| Powerco Limited | 0 | 39.8838 | 119.6514
| The Lines Company Limited | 0 | 81.8882 | 245.6646
| Top Energy Limited | 0 | 130.6419 | 391.9258
| Unison Networks Limited | 0 | 40.301 | 120.9031
| Vector Limited | 0 | 30.6965 | 92.0894
| Wellington Electricity Lines Limited | 0 | 3.9328 | 11.7984
Table 4.3 | Table 4.3: Incentive rates for the
DPP regulatory period 1 April 2020 – 31 March 2025
Non-exempt EDB
Incentive rate
| Alpine Energy Limited | 7753.3927
| Aurora Energy Limited | 12848.0107
| Centralines Limited | 1045.1432
| Electricity Ashburton Limited | 5636.7612
| Eastland Network Limited | 2745.0886
| Electricity Invercargill Limited | 2539.3865
| Horizon Energy Distribution Limited | 5267.4875
| Nelson Electricity Limited | 1385.9862
| Network Tasman Limited | 6052.7852
| Orion New Zealand Limited | 31062.5806
| OtagoNet Joint Venture | 4247.8351
| Powerco Limited | 45869.8344
| The Lines Company Limited | 3724.0094
| Top Energy Limited | 3203.0223
| Unison Networks Limited | 15776.7209
| Vector Limited | 82900.3965
| Wellington Electricity Lines Limited | 23004.2872