## CoverSheet
Gas Pipeline Businesses
Price-Quality Regulation 1 October 2022 Reset
Default Price Path Final Trend Model
Published 31 May 2022 v1

## Description
Description
Introduction / overview:
The trend model is used to determine the rate at which operating expenditure should grow in line with increase in the size of the network.
The model achieves this by using historical data on the relationship between network size and operating expenditure, as well as GPBs' forecasts of the size of the network throughout the length of the regulatory period.
Key inputs:
The key inputs used in the model are:
- The elasticity of operating expenditure with respect to the size of the network. This number was determined by internal analysis, in the Elasticity model.
- Information Disclosure (ID) data on the historic size of the network
- AMP forecasts of the size of the network
Key modelling / policy decisions or calculations:
The trend model determines the operating expenditure trend factors by using the forecast growth rate of the size of the network, and multiplies this growth rate by the elasticity of operating expenditure with respect to the size of the network.
We have accepted GPBs' forecasts of the number of connections (ICP) throughout the regulatory period as reasonable, and will use this as a basis for determining the growth in number of ICPs.
In the AMPs, GPBs forecast the number of connections (ICPs), but not the length of the network (in km).
To determine the forecast growth rate of the length of the network, the elasticity of network length with respect to the number of ICPs is calculated.
This elasticity is then multiplied by the forecast growth rate in number of ICPs, to get the forecast growth rate of network length.
What has changed since the draft decision:
Calculations have been updated to reflect new information disclosure data which has become available since the draft decision.
Peripheral modelling decisions or calculations:
For the purpose of year-end adjustments in other models, it is necessary to forecast the trend factor for an additional year. However, ICP numbers are only forecast through to 2026 in GPBs' AMPs.
Using the forecasts of consumer connection expenditure in these later years, the growth rate in consumer connection expenditure has been calculated, and assumed to be the same growth rate that will apply to ICP numbers.
If there are other factors that will increase the growth rate of operating expenditure, these can be reflected in the 'Out of Trend factors' section in the 'Inputs' tab.
As none have been identified, this section has been left blank.
Key outputs:
The key outputs of the trend model are the trend factors that feed into the expenditure model, which reflect the rate at which operating expenditure will grow due to growth in the size of the network.

## Table of Contents
Table of Contents
| Sheet Name | Link
| Inputs | Inputs to the step and trend model
| Calculations | Calculations
| Output | Opex expenditure allowance (nominal $000)

## Inputs
Inputs to the step and trend model | [8 empty] | Note
Options
| Accept supplier forecasts |  | Yes | Yes | No
Opex partial productivity factor
Internal decision
| Factor | 0%
Forecast ICP reduction factor weightings
Internal decision
| Consumer connection | 50%
| System growth | 50%
Elasticity of opex to network length
Internal analysis
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| Elasticity weighting | 0.48098 | 0.48098 | 0.48098 | 0.48098 | 0
Elasticity of opex to number of consumers
Internal decision
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| Elasticity weighting | 0.48098 | 0.48098 | 0.48098 | 0.48098 | 0
Out of Trend factors
|  | GasNet | Powerco | Vector Dist | First Gas Dist | Vector Trans
| 2021 | [7 empty] | These factors allow us to increase the total
| 2022 | [7 empty] | trend in operating expenditure if we
| 2023 | [7 empty] | identify any factors that would do so
| 2024 | [7 empty] | besides growth in the size of the network.
| 2025 | [7 empty] | As none have been identified, these cells
| 2026 | [7 empty] | are left blank
2027
2028
Historical series of network length
ID information schedule 9c
System length (km)
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2013 | 645.008 | 5738 | 5713 | N/A | N/A |  |  | In the ID data, for the years 2013 - 2015,
| 2014 | 657 | 5779 | 5795 | N/A | N/A |  |  | Vector has pipeline data split into the
| 2015 | 659 | 5815 | 5900 | N/A | N/A |  |  | Auckland network, the North Island
| 2016 | 662 | 5883 | 6399 | 4523 | N/A |  |  | network, and the total across these two.
| 2017 | 664 | 5941.01 | 6534.839 | 4637.906 | N/A |  |  | The North Island network was
| 2018 | 670 | 5997.157 | 6660.19 | 4717 | 2513.1001 |  |  | subsequently sold, meaning data for later
| 2019 | 674 | 6052.6711 | 6733.304 | 4801 | 2513.7942 |  |  | years (2016 - 2020) reflect only the
| 2020 | 671 | 6070.2633 | 6820.967 | 4857 | 2516.591 |  |  | Auckland network. Therefore, the Auckland
| 2021 | 688 | 6150 | 6825 | 4917 | 2514
network figures are used for the years
| Historical series of number of consumers | [7 empty] | 2013 - 2015
ID information schedule 9d
Total customers (ICP number at year end)
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2013 | 10229 | 102794 | 92843 | N/A | N/A |  |  | In the ID data, for the years 2013 - 2015,
| 2014 | 10216 | 103358 | 94821 | N/A | N/A |  |  | Vector has pipeline data split into the
| 2015 | 9887 | 104380 | 97195 | N/A | N/A |  |  | Auckland network, the North Island
| 2016 | 9863 | 105236 | 104322 | 62144 | N/A |  |  | network, and the total across these two.
| 2017 | 9903 | 106775 | 106670 | 62669 | N/A |  |  | The North Island network was
| 2018 | 9957 | 108416 | 109228 | 63552 | 157 |  |  | subsequently sold, meaning data for later
| 2019 | 10062 | 110163 | 111642 | 64443 | 157 |  |  | years (2016 - 2020) reflect only the
| 2020 | 10849 | 111591 | 113960 | 65346 | 159 |  |  | Auckland network. Therefore, the Auckland
| 2021 | 10094 | 112877 | 116472 | 66501 | 160
network figures are used for the years
| Forecast connections at year end (ICPs) | [7 empty] | 2013 - 2015
Asset management plans schedule 12c for distribution businesses, 12b for the transmission business
|  | GasNet | PowerCo | Vector | First Gas Dist | First Gas Trans
| 2022 | 10145 | 114907 | 118893 | 68146 | 163 |  |  | GDB AMPs forecast the total number of
| 2023 | 10200 | 116608 | 120673 | 69546 | 164 |  |  | connections in schedule 12c. This is not
| 2024 | 10255 | 118307 | 122364 | 70846 | 165 |  |  | done for the GTB, however they do forecast
| 2025 | 10310 | 120007 | 124343 | 72046 | 166 |  |  | the number of new connections in each
| 2026 | 10365 | 121707 | 126118 | 73146 | 167 |  |  | year in schedule 12b. We have assumed
there will be no disconnections, and added
| Forecast consumer connection expenditure | [7 empty] | these new connections to the number of
|  | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | connections at year end in the previous
| Asset management plans schedule 11a | [7 empty] | year
GasNet
| Consumer connection | 165 | 197 | 220 | 220 | 220 | 220 | 220
Powerco
| Consumer connection | 7216 | 7151 | 7224 | 7340 | 7393 | 7396 | 7428
Vector
| Consumer connection | 15598 | 14693 | 14416 | 13787 | 13003 | 12268 | 11754
First Gas Distribution
| Consumer connection | 12885 | 6185 | 5877 | 5569 | 5261 | 4928 | 4620
First Gas Transmission
| Consumer connection | 2723 | 1400 | 1400 | 1400 | 1400 | 1400 | 1000

## Calculations
Calculations
Elasticity of network length with respect to ICP numbers
Total customers (ICP number at year end)
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2013 | 10229 | 102794 | 92843 | N/A | N/A
| 2014 | 10216 | 103358 | 94821 | N/A | N/A
| 2015 | 9887 | 104380 | 97195 | N/A | N/A
| 2016 | 9863 | 105236 | 104322 | 62144 | N/A
| 2017 | 9903 | 106775 | 106670 | 62669 | N/A
| 2018 | 9957 | 108416 | 109228 | 63552 | 157
| 2019 | 10062 | 110163 | 111642 | 64443 | 157
| 2020 | 10849 | 111591 | 113960 | 65346 | 159
| 2021 | 10094 | 112877 | 116472 | 66501 | 160
Natural log of total customers
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2013 | 9.233 | 11.5405 | 11.4387 | N/A | N/A
| 2014 | 9.2317 | 11.546 | 11.4597 | N/A | N/A
| 2015 | 9.199 | 11.5558 | 11.4845 | N/A | N/A
| 2016 | 9.1965 | 11.564 | 11.5552 | 11.0372 | N/A
| 2017 | 9.2006 | 11.5785 | 11.5775 | 11.0456 | N/A
| 2018 | 9.206 | 11.5937 | 11.6012 | 11.0596 | 5.0562
| 2019 | 9.2165 | 11.6097 | 11.6231 | 11.0735 | 5.0562
| 2020 | 9.2918 | 11.6226 | 11.6436 | 11.0875 | 5.0689
| 2021 | 9.2197 | 11.6341 | 11.6654 | 11.105 | 5.0752
System length (km)
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2013 | 645.008 | 5738 | 5713 | N/A | N/A
| 2014 | 657 | 5779 | 5795 | N/A | N/A
| 2015 | 659 | 5815 | 5900 | N/A | N/A
| 2016 | 662 | 5883 | 6399 | 4523 | N/A
| 2017 | 664 | 5941.01 | 6534.839 | 4637.906 | N/A
| 2018 | 670 | 5997.157 | 6660.19 | 4717 | 2513.1001
| 2019 | 674 | 6052.6711 | 6733.304 | 4801 | 2513.7942
| 2020 | 671 | 6070.2633 | 6820.967 | 4857 | 2516.591
| 2021 | 688 | 6150 | 6825 | 4917 | 2514
Natural log of system length
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2013 | 6.4693 | 8.6549 | 8.6505 | N/A | N/A
| 2014 | 6.4877 | 8.662 | 8.6648 | N/A | N/A
| 2015 | 6.4907 | 8.6682 | 8.6827 | N/A | N/A
| 2016 | 6.4953 | 8.6798 | 8.7639 | 8.4169 | N/A
| 2017 | 6.4983 | 8.6896 | 8.7849 | 8.442 | N/A
| 2018 | 6.5073 | 8.699 | 8.8039 | 8.4589 | 7.8293
| 2019 | 6.5132 | 8.7083 | 8.8148 | 8.4766 | 7.8295
| 2020 | 6.5088 | 8.7112 | 8.8278 | 8.4882 | 7.8307
| 2021 | 6.5338 | 8.7242 | 8.8283 | 8.5005 | 7.8296
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| Elasticities | 0.037198 | 0.69697 | 0.86573 | 1.1749 | 0.031138
Forecast network size growth factor
Forecast number of consumers
| Total customers (ICP number at year end) | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2021 | 10094 | 112877 | 116472 | 66501 | 160
| Forecast total customers | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2022 | 10145 | 114907 | 118893 | 68146 | 163
| 2023 | 10200 | 116608 | 120673 | 69546 | 164
| 2024 | 10255 | 118307 | 122364 | 70846 | 165
| 2025 | 10310 | 120007 | 124343 | 72046 | 166
| 2026 | 10365 | 121707 | 126118 | 73146 | 167
| Forecast growth rate of number of customers | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2022 | 0.5053% | 1.798% | 2.079% | 2.474% | 1.875%
| 2023 | 0.5421% | 1.48% | 1.497% | 2.054% | 0.6135%
| 2024 | 0.5392% | 1.457% | 1.401% | 1.869% | 0.6098%
| 2025 | 0.5363% | 1.437% | 1.617% | 1.694% | 0.6061%
| 2026 | 0.5335% | 1.417% | 1.428% | 1.527% | 0.6024%
Imputed growth rate of number of customers
| Forecast consumer connection expenditure | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2026 | 220 | 7393 | 13003 | 5261 | 1400
| 2027 | 220 | 7396 | 12268 | 4928 | 1400
| 2028 | 220 | 7428 | 11754 | 4620 | 1000
Forecast change in consumer connection expenditure
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2027 | 0% | 0.04058% | -5.653% | -6.33% | 0%
| 2028 | 0% | 0.4327% | -4.19% | -6.25% | -28.57%
Imputed growth rate in number of customers
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2027 | 0.5335% | 1.417% | 1.347% | 1.43% | 0.6024%
| 2028 | 0.5335% | 1.423% | 1.29% | 1.341% | 0.4303%
Forecast network length growth
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2022 | 0.01879% | 1.253% | 1.8% | 2.906% | 0.05838%
| 2023 | 0.02017% | 1.032% | 1.296% | 2.414% | 0.0191%
| 2024 | 0.02006% | 1.015% | 1.213% | 2.196% | 0.01899%
| 2025 | 0.01995% | 1.001% | 1.4% | 1.99% | 0.01887%
| 2026 | 0.01984% | 0.9873% | 1.236% | 1.794% | 0.01876%
| 2027 | 0.01984% | 0.9877% | 1.166% | 1.68% | 0.01876%
| 2028 | 0.01984% | 0.992% | 1.117% | 1.575% | 0.0134%
Trend factors
| Opex partial productivity factor | 0%
Network length factor
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| Elasticity of opex with respect to network length | 0.48098 | 0.48098 | 0.48098 | 0.48098 | 0
| Network length factor | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2022 | 0.00904% | 0.6029% | 0.8655% | 1.398% | 0%
| 2023 | 0.0097% | 0.4962% | 0.6234% | 1.161% | 0%
| 2024 | 0.009647% | 0.4884% | 0.5835% | 1.056% | 0%
| 2025 | 0.009596% | 0.4817% | 0.6734% | 0.9572% | 0%
| 2026 | 0.009544% | 0.4749% | 0.5944% | 0.8628% | 0%
| 2027 | 0.009544% | 0.4751% | 0.5608% | 0.8082% | 0%
| 2028 | 0.009544% | 0.4771% | 0.5373% | 0.7577% | 0%
Number of consumers factor
|  | GasNet | Powerco | Vector Dist | First Gas Dist | Vector Trans
| Elasticity of opex with respect to number of consumers | 0.48098 | 0.48098 | 0.48098 | 0.48098 | 0
| Number of consumers factor | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2022 | 0.243% | 0.865% | 0.9998% | 1.19% | 0%
| 2023 | 0.2608% | 0.712% | 0.7201% | 0.9881% | 0%
| 2024 | 0.2594% | 0.7008% | 0.674% | 0.8991% | 0%
| 2025 | 0.258% | 0.6911% | 0.7779% | 0.8147% | 0%
| 2026 | 0.2566% | 0.6814% | 0.6866% | 0.7344% | 0%
| 2027 | 0.2566% | 0.6816% | 0.6478% | 0.6879% | 0%
| 2028 | 0.2566% | 0.6846% | 0.6207% | 0.6449% | 0%
Sum of trend factors
|  | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
| 2022 | 0.2521% | 1.468% | 1.865% | 2.588% | 0%
| 2023 | 0.2705% | 1.208% | 1.344% | 2.149% | 0%
| 2024 | 0.269% | 1.189% | 1.258% | 1.955% | 0%
| 2025 | 0.2676% | 1.173% | 1.451% | 1.772% | 0%
| 2026 | 0.2661% | 1.156% | 1.281% | 1.597% | 0%
| 2027 | 0.2661% | 1.157% | 1.209% | 1.496% | 0%
| 2028 | 0.2661% | 1.162% | 1.158% | 1.403% | 0%

## Output
Output
Real trend factor for year commencing | GasNet | Powerco | Vector Dist | First Gas Dist | First Gas Trans
2022 | 0.2521% | 1.468% | 1.865% | 2.588% | 0%
2023 | 0.2705% | 1.208% | 1.344% | 2.149% | 0%
2024 | 0.269% | 1.189% | 1.258% | 1.955% | 0%
2025 | 0.2676% | 1.173% | 1.451% | 1.772% | 0%
2026 | 0.2661% | 1.156% | 1.281% | 1.597% | 0%
2027 | 0.2661% | 1.157% | 1.209% | 1.496% | 0%
2028 | 0.2661% | 1.162% | 1.158% | 1.403% | 0%