## Data Input Sheet
|  | GDB Actual values |  |  | GDB Forecast values |  |  | Uses imediately preceeding value
Source: | GasNet-GDB-Information-Disclosure-Schedules-1-10-2013 * CPI of 2013: 1%, 2014: 1.4% and 2015 0.05% | GasNet-GDB-ID-Schedules-1-to-10-30-June-2014-Final-20141202 * CPI of 2014: 1.4% and 2015 0.05% | GasNet-GDB-ID-for-schedules-1-to-10-v4.1-30-June-2015-APPROVED-20151221 * CPI of 2015 0.05% | GasNet-AMP-2016-26-30-June-2016-v4-0-APPROVED
Metrics | Actuals |  |  | Forecast
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Operational expenditure ($ real)
Service interruptions, incidents and emergencies | 44.2582 | 51.9726 | 75.375 | 41 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Routine and corrective maintenance and inspection | 81.3116 | 81.5256 | 88.44 | 65 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
Asset replacement and renewal |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total network opex | 125.5698 | 133.4982 | 163.815 | 106 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145
System operations and network support | 682.3998 | 684.815 | 671.34 | 673 | 680 | 680 | 680 | 680 | 680 | 680 | 680 | 680 | 680 | 680
Business support | 861.4912 | 771.436 | 751.74 | 797 | 765 | 765 | 765 | 765 | 765 | 765 | 765 | 765 | 765 | 765
Total non Network opex | 1543.891 | 1456.251 | 1423.08 | 1470 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445
Total operational expenditure | 1669.4609 | 1589.7492 | 1586.895 | 1576 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590
Expenditure on assets ($ real)
Consumer connection | 72.0482 | 107.0023 | 130.65 | 119 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
System growth | 34.9949 | 28.534 | 28.14 | 67 | 315 | 315 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65
Asset replacement and renewal | 393.1776 | 436.162 | 279.39 | 424 | 300 | 330 | 550 | 480 | 550 | 500 | 600 | 600 | 600 | 600
Asset relocations | 0 | 10.1907 | 133.665 | 9 | 0 | 130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total reliability, safety and environment | 127.6283 | 60.1251 | 24.12 | 47 | 156 | 60 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
Total network expenditure on assets | 627.849 | 642.0141 | 595.965 | 666 | 876 | 940 | 805 | 735 | 805 | 755 | 855 | 855 | 855 | 855
Expenditure on Non-Network Assets | 67.9312 | 101.907 | 110.55 | 97 | 35 | 140 | 65 | 140 | 65 | 140 | 65 | 100 | 100 | 100
Value of capital contributions
Total capital expenditure | 695.7802 | 743.9211 | 706.515 | 763 | 911 | 1080 | 870 | 875 | 870 | 895 | 920 | 955 | 955 | 955
Total capital expenditure (excl cost of funding and capital contributions) | 695.7802 | 743.9211 | 706.515 | 763 | 911 | 1080 | 870 | 875 | 870 | 895 | 920 | 955 | 955 | 955
Total ICPs at year end | 10229 | 10216 | 9887 | 9863 | 10000 | 10100 | 10200 | 10300 | 10400 | 10400 | 10400 | 10400 | 10400 | 10400
Difference |  | -13 | -329 | -24 | 137 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 0 | 0
ICPs connected in year
Domestic | 49 | 75 | 56 | 59 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
Non Domestic | 6 | 6 | 12 | 7 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
ICP disconnections |  | 94 | 397 | 90 | -57 | -20 | -20 | -20 | -20 | 80 | 80 | 80 | 80 | 80
Total New Connections | 55 | 81 | 68 | 66 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
Total gas conveyed/annum (GJ) | 1150413 | 1106607 | 1124135 | 1260719 | 1266540 | 1279210 | 1292000 | 1304920 | 1317970 | 1317970 | 1317970 | 1317970 | 1317970 | 1317970
Maximum daily load (GJ/day) | 4829 | 4550 | 4569 | 4975 | 5070 | 5120 | 5170 | 5220 | 5270 | 5270 | 5270 | 5270 | 5270 | 5270
Maximum monthly load (GJ/month) | 110857 | 106298 | 110559 | 124008 | 127380 | 128650 | 129940 | 131240 | 132550 | 132550 | 132550 | 132550 | 132550 | 132550
Average monthly load (average GJ/month) | 95867.75 | 92217.25 | 93677.9167 | 105059.9167 | 105545 | 106600.8333 | 107666.6667 | 108743.3333 | 109830.8333 | 109830.8333 | 109830.8333 | 109830.8333 | 109830.8333 | 109830.8333
Pipe lengths
PE | 543 | 559 | 562 | 568 | 568 | 568 | 568 | 568 | 568 | 568 | 568 | 568 | 568 | 568
Steel | 44 | 43 | 42 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 41
Other | 57 | 55 | 55 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53
km of pipeline for supply | 644 | 657 | 659 | 662 | 662 | 662 | 662 | 662 | 662 | 662 | 662 | 662 | 662 | 662
Load Factor | 86.48% | 86.75% | 84.73% | 84.72%
Class A (planned interruptions by GDB) |  |  |  | 0
Class B (planned interruptions on the network) | 171 | 169 | 65 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158
Class C (unplanned interruptions on the network) | 38 | 54 | 32 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65
Class D (unplanned interruptions by GTB) |  |  |  | 0
Class I (unplanned interruptions caused by third party damage) | 69 | 44 | 18 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21
Total interruptions | 278 | 267 | 115 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244
11a(ii) Consumer Connection
Domestic | 65.8727 | 89.6782 | 80.4 | 91 | 80 | 80 | 80 | 80 | 80
Non-Domestic | 6.1756 | 17.3242 | 50.25 | 28 | 25 | 25 | 25 | 25 | 25
Industrial
Total Consumer Connection Expenditure | 72.0482 | 107.0023 | 130.65 | 119 | 105 | 105 | 105 | 105 | 105
11a(ii) System Growth
Intermediate Pressure |  |  |  | 3 | 0 | 0 | 0 | 0 | 0
Medium pressure | 32.9363 | 24.4577 | 14.07 | 0 | 280 | 280 | 30 | 30 | 30
Low pressure | 2.0585 | 4.0763 | 14.07 | 64 | 35 | 35 | 35 | 35 | 35
Other Network Assets |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Total System Growth Expenditure | 34.9949 | 28.534 | 28.14 | 67 | 315 | 315 | 65 | 65 | 65
11a(iv) Asset Replacement and Renewal
Intermediate Pressure |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Medium pressure | 224.3788 | 20.3814 | 49.245 | 17 | 0 | 0 | 0 | 0 | 0
Low pressure | 168.7988 | 415.7806 | 228.135 | 407 | 300 | 330 | 550 | 480 | 550
Other Network Assets |  |  | 2.01 | 0 | 0 | 0 | 0 | 0 | 0
Total Asset Replacement and Renewal Expenditure | 393.1776 | 436.162 | 279.39 | 424 | 300 | 330 | 550 | 480 | 550
11 a(v) Asset Relocations
Project Name | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wanganui Sales Gate Intermediate Pressure stream crossing | [5 empty] | 130
Karoro Stream IP Pipe Crossings |  |  | 128.64
Sandcroft Drive, Wanganui |  | 5.0953
Dublin Street - Victoria Avenue to Wicksteed Street, Whanganui |  |  |  | 5
Other |  |  |  | 4
Total Asset Relocation Costs | 0 | 5.0953 | 128.64 | 9 | 0 | 130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11a(vii) Quality of Supply
Project Name | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System reinforcement - Wanganui City 3 bridges MP Interconnect |  |  |  |  | 20 | 50 | 0 | 0 | 0
Low pressure network uprating |  |  |  |  | 0 | 0 | 50 | 50 | 50
System Reinforcement (Wanganui Bridges MP Mains Interconnect) | 92.6335 | 29.553 | 23.115 | 33
Other |  |  |  | 14
Total Quality of Supply Project Costs | 92.6335 | 29.553 | 23.115 | 47 | 20 | 50 | 50 | 50 | 50 | 0 | 0 | 0 | 0 | 0
11a(vii) Legislative and Regulatory
Project Name | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nothing planned
Total Legislative and Regulatory Costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11a(viii) Other Reliability, Safety and Environment
Project Name | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRS Isolation Valves | 23.673 |  |  | 0 | 10 | 10 | 10 | 10 | 10
DRS Metering |  |  |  | 0 | 0 | 0 | 25 | 25 | 25
Interconnection of the dual IP mains – Heads Road |  |  |  | 0 | 126 | 0 | 0 | 0 | 0
Wanganui Sales Gate Security System |  | 6.1144
Network Pressure Monitoring | 11.3219 | 23.4386
Total Other Reliability, Safety and Environment Costs | 34.9949 | 29.553 | 0 | 0 | 136 | 10 | 35 | 35 | 35 | 0 | 0 | 0 | 0 | 0
Total Reliability, Safety and Environment Costs | 127.6283 | 59.1061 | 23.115 | 47 | 156 | 60 | 85 | 85 | 85 | 0 | 0 | 0 | 0 | 0
11a(ix) Non-Network Assets
Routine Expenditure
Project Name | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
information and technology systems |  |  |  | 0 | 35 | 40 | 40 | 40 | 40
office buildings, depots and workshops |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
office furniture and equipment |  |  |  | 40 | 0 | 5 | 5 | 5 | 5
motor vehicles |  |  |  | 0 | 0 | 75 | 0 | 75 | 0
tools, plant and machinery |  |  |  | 0 | 0 | 20 | 20 | 20 | 20
Office equipment, Computer Hardware & Software | 51.463 | 60.1251 | 27.135
Vehicles, Plant & Equipment | 16.4682 | 41.7819 | 14.07 | 57
Total Routine Expenditure Project Costs | 67.9312 | 101.907 | 41.205 | 97 | 35 | 140 | 65 | 140 | 65 | 0 | 0 | 0 | 0 | 0
Atypical Expenditure
Project Name | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nothing planned
Synergi Gas network modelling analysis application |  |  | 69.345
Total Atypical Expenditure Project Costs | 0 | 0 | 69.345 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Non-Network Assets Costs | 67.9312 | 101.907 | 110.55 | 97 | 35 | 140 | 65 | 140 | 65 | 0 | 0 | 0 | 0 | 0
Note on B57: Microsoft Office User: ID Schd 10a(i)
Note on D57: Microsoft Office User: ID Schd 10a(i)

## Asset Data Input Sheet
Asset age
|  |  | Current Year: | 2016
|  |  |  | 51 | 44 | 39 | 34 | 29 | 24 | 19 | 16 | 15 | 14 | 13 | 12 | 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | [12 empty] | Asset Condition
Asset Category 1 | Asset Category 2 | Asset Category 3 | Units | pre-1970 | 1970–1974 | 1975–1979 | 1980–1984 | 1985-1989 | 1990–1994 | 1995–1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 |  | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 |  | Asset Category 1 | Asset Category 2 | Asset Category 3 | Units | Grade 1 | Grade 2 | Grade 3 | Grade 4 | Grade Unknown | Data Accuracy [1-4] | % of asset forecast to be replaced in the next 5 years
Intermediate Pressure | Main pipe | IP PE main pipe | km | [34 empty] | 0 | Intermediate Pressure | Main Pipe | IP PE main pipe | km
Intermediate Pressure | Main pipe | IP steel main pipe | km |  | 4 | 7 | 6 | 4 | 1 | [28 empty] | 23 | Intermediate Pressure | Main Pipe | IP steel main pipe | km | 0% | 0% | 0% | 100% | 0% | 2 | 0% | bar: 2008
Intermediate Pressure | Main pipe | IP other main pipe | km | [34 empty] | 0 | Intermediate Pressure | Main Pipe | IP other main pipe | km | 0% | 0% | 0% | 0% | 0% | 4 | 0%
Intermediate Pressure | Service pipe | IP PE service pipe | km | [34 empty] | 0 | Intermediate Pressure | Service Pipe | IP PE service pipe | km
Intermediate Pressure | Service pipe | IP steel service pipe | km | [5 empty] | 1 | [28 empty] | 1 | Intermediate Pressure | Service Pipe | IP steel service pipe | km | 0% | 0% | 0% | 100% | 0% | 2 | 0%
Intermediate Pressure | Service pipe | IP other service pipe | km | [34 empty] | 0 | Intermediate Pressure | Service Pipe | IP other service pipe | km | 0% | 0% | 0% | 0% | 0% | 4 | 0%
Intermediate Pressure | Stations | Intermediate pressure DRS | No. |  | 1 | 1 | 7 | 2 |  | 2 | [27 empty] | 13 | Intermediate Pressure | Stations | Intermediate pressure DRS | No. | 0% | 0% | 2% | 98% | 0% | 4 | 1%
Intermediate Pressure | Line valve | IP line valves | No. |  | 6 | 11 | 7 | 13 | 4 | [28 empty] | 42 | Intermediate Pressure | Line Valve | IP line valves | No. | 0% | 0% | 0% | 100% | 0% | 2 | 0% | bar: 2008
Intermediate Pressure | Special crossings | IP crossings | No. |  | 4 | 1 | 5 | 2 |  | 1 | [27 empty] | 14 | Intermediate Pressure | Special Crossings | IP crossings | No. | 0% | 0% | 0% | 100% | 0% | 2 | 0% | bar: 2009
Medium Pressure | Main pipe | MP PE main pipe | km |  |  | 3 | 20 | 36 | 32 | 16 | 3 | 1 | 3 | 3 | 3 | 2 | 3 | 3 | 2 | 1 | 1 | 1 | 1 | 3 | 1 | 1 | [11 empty] | 139 | Medium Pressure | Main Pipe | MP PE main pipe | km | 0% | 0% | 0% | 100% | 0% | 2 | 0%
Medium Pressure | Main pipe | MP steel main pipe | km |  | 1 | 2 | 2 | 1 | [29 empty] | 6 | Medium Pressure | Main Pipe | MP steel main pipe | km | 0% | 0% | 0% | 100% | 0% | 2 | 0%
Medium Pressure | Main pipe | MP other main pipe | km | [34 empty] | 0 | Medium Pressure | Main Pipe | MP other main pipe | km | 0% | 0% | 0% | 0% | 0% | 4 | 0%
Medium Pressure | Service pipe | MP PE service pipe | km |  |  | 1 | 6 | 15 | 18 | 13 | 3 | 2 | 2 | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | [11 empty] | 76 | Medium Pressure | Service Pipe | MP SPE service pipe | km | 0% | 0% | 0% | 100% | 0% | 2 | 0%
Medium Pressure | Service pipe | MP steel service pipe | km | [34 empty] | 0 | Medium Pressure | Service Pipe | MP steel service pipe | km | 0% | 0% | 0% | 100% | 0% | 2 | 0%
Medium Pressure | Service pipe | MP other service pipe | km | [34 empty] | 0 | Medium Pressure | Service Pipe | MP other service pipe | km | 0% | 0% | 0% | 0% | 0% | 4 | 0%
Medium Pressure | Stations | Medium pressure DRS | No. |  |  |  | 4 | 5 | 4 | [28 empty] | 17 | Medium Pressure | Stations | Medium pressure DRS | No. | 0% | 0% | 2% | 98% | 0% | 4 | 1% | bar: 2002; 2004; 2008; 2012
Medium Pressure | Line valve | MP line valves | No. |  |  | 2 | 16 | 12 | 56 | 4 | 2 |  | 2 |  | 1 | 2 | 1 | 1 | 6 | 3 | 1 |  | 1 | 4 |  | 1 | [11 empty] | 115 | Medium Pressure | Line Valve | MP line valves | No. | 0% | 0% | 0% | 100% | 0% | 2 | 0%
Medium Pressure | Special crossings | MP special crossings | No. |  |  | 2 | 4 | 4 | 4 | 1 | [27 empty] | 18 | Medium Pressure | Special Crossings | MP special crossings | No. | 0% | 0% | 5% | 95% | 0% | 2 | 5% | bar: 2002 to 2003; 2011
Low Pressure | Main pipe | LP PE main pipe | km |  |  | 33 | 50 | 41 | 9 | 6 | 1 | 1 | 1 | 1 | 2 | 3 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | [11 empty] | 166 | Low Pressure | Main Pipe | LP PE main pipe | km | 0% | 0% | 0% | 100% | 0% | 2 | 0%
Low Pressure | Main pipe | LP steel main pipe | km | 6 |  | 1 | [31 empty] | 7 | Low Pressure | Main Pipe | LP steel main pipe | km | 0% | 6% | 94% | 0% | 0% | 2 | 8%
Low Pressure | Main pipe | LP other main pipe | km | 43 |  | 1 | 1 | 1 | 1 | 1 | [27 empty] | 48 | Low Pressure | Main Pipe | LP other main pipe | km | 0% | 6% | 94% | 0% | 0% | 2 | 8%
Low Pressure | Service pipe | LP PE service pipe | km |  |  | 14 | 40 | 31 | 22 | 18 | 3 | 3 | 3 | 2 | 3 | 3 | 4 | 4 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | [11 empty] | 168 | Low Pressure | Service Pipe | LP PE service pipe | km | 0% | 0% | 0% | 100% | 0% | 2 | 0%
Low Pressure | Service pipe | LP steel service pipe | km |  |  |  |  | 1 | 1 | 1 | [27 empty] | 3 | Low Pressure | Service Pipe | LP steel Service pipe | km | 0% | 30% | 70% | 0% | 0% | 2 | 30%
Low Pressure | Service pipe | LP other service pipe | km | 1 |  |  |  |  | 1 | 2 | [27 empty] | 4 | Low Pressure | Service Pipe | LP other service pipe | km | 0% | 30% | 70% | 0% | 0% | 2 | 0%
Low Pressure | Line valve | LP line valves | No. | [7 empty] | 2007: 1; 2009: 2; 2010: 1; 2011: 1; 2012: 3; 2013: 5; 2015: 2 | [11 empty] | 15 | Low Pressure | Line Valve | LP line valves | No. | 0% | 0% | 0% | 100% | 0% | 4 | 0%
Low Pressure | Special crossings | LP special crossings | No. | 6 |  |  | 2 | 1 |  | 1 | [27 empty] | 12 | Low Pressure | Special Crossings | LP special crossings | No. | 0% | 0% | 10% | 90% | 0% | 2 | 10% | bar: 2005 to 2006
All | Monitoring and control systems | Remote terminal units | No. | [6 empty] | 1 | 2006: 1; 2008: 12; 2009: 1; 2012: 2; 2013: 3; 2014: 7; 2015: 1 | [11 empty] | 28 | All | Monitoring and control systens | Remote terminal units | No. | 0% | 0% | 0% | 100% | 0% | 4 | 0%
All | Cathodic protection systems | Cathodic Protection | No. |  |  |  | 1 | 1 | [29 empty] | 2 | All | Cathodic protection systems | Cathodic protection | No. | 0% | 0% | 0% | 100% | 0% | 4 | 0%
Operating Pressure | Asset Category | Asset Class | Units | [23 empty] | Current Average Age (Years / Km) | [10 empty] | 0
Intermediate Pressure | Main pipe | IP PE main pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 0
Intermediate Pressure | Main pipe | IP steel main pipe | km | 0 | 176 | 273 | 204 | 116 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.8261 | [10 empty] | 801
Intermediate Pressure | Main pipe | IP other main pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 0
Intermediate Pressure | Service pipe | IP PE service pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 0
Intermediate Pressure | Service pipe | IP steel service pipe | km | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | [10 empty] | 24
Intermediate Pressure | Service pipe | IP other service pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 0
Intermediate Pressure | Stations | Intermediate pressure DRS | No. | 0 | 44 | 39 | 238 | 58 | 0 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32.0769 | [10 empty] | 417
Intermediate Pressure | Line valve | IP line valves | No. | 0 | 264 | 429 | 238 | 377 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.619 | [10 empty] | 1412
Intermediate Pressure | Special crossings | IP crossings | No. | 0 | 176 | 39 | 170 | 58 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 33.5 | [10 empty] | 469
Medium Pressure | Main pipe | MP PE main pipe | km | 0 | 0 | 117 | 680 | 1044 | 768 | 304 | 48 | 15 | 42 | 39 | 36 | 22 | 30 | 27 | 16 | 7 | 6 | 5 | 4 | 9 | 2 | 1 | 23.1799 | [10 empty] | 3222
Medium Pressure | Main pipe | MP steel main pipe | km | 0 | 44 | 78 | 68 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.5 | [10 empty] | 219
Medium Pressure | Main pipe | MP other main pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 0
Medium Pressure | Service pipe | MP PE service pipe | km | 0 | 0 | 39 | 204 | 435 | 432 | 247 | 48 | 30 | 28 | 13 | 24 | 11 | 20 | 9 | 16 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 20.8421 | [10 empty] | 1584
Medium Pressure | Service pipe | MP steel service pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 0
Medium Pressure | Service pipe | MP other service pipe | km | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [11 empty] | 0
Medium Pressure | Stations | Medium pressure DRS | No. | 0 | 0 | 0 | 136 | 145 | 96 | 0 | 0 | 0 | 14 | 0 | 12 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 24.4118 | [10 empty] | 415
Medium Pressure | Line valve | MP line valves | No. | 0 | 0 | 78 | 544 | 348 | 1344 | 76 | 32 | 0 | 28 | 0 | 12 | 22 | 10 | 9 | 48 | 21 | 6 | 0 | 4 | 12 | 0 | 1 | 22.5652 | [10 empty] | 2595
Medium Pressure | Special crossings | MP special crossings | No. | 0 | 0 | 78 | 136 | 116 | 96 | 19 | 0 | 0 | 14 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 26.5 | [10 empty] | 477
Low Pressure | Main pipe | LP PE main pipe | km | 0 | 0 | 1287 | 1700 | 1189 | 216 | 114 | 16 | 15 | 14 | 13 | 24 | 33 | 10 | 18 | 16 | 14 | 12 | 10 | 8 | 6 | 4 | 1 | 28.4337 | [10 empty] | 4720
Low Pressure | Main pipe | LP steel main pipe | km | 306 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.2857 | [10 empty] | 345
Low Pressure | Main pipe | LP other main pipe | km | 2193 | 0 | 39 | 34 | 29 | 24 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48.7083 | [10 empty] | 2338
Low Pressure | Service pipe | LP PE service pipe | km | 0 | 0 | 546 | 1360 | 899 | 528 | 342 | 48 | 45 | 42 | 26 | 36 | 33 | 40 | 36 | 24 | 21 | 12 | 10 | 8 | 6 | 4 | 2 | 24.2143 | [10 empty] | 4068
Low Pressure | Service pipe | LP steel service pipe | km | 0 | 0 | 0 | 0 | 29 | 24 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | [10 empty] | 72
Low Pressure | Service pipe | LP other service pipe | km | 51 | 0 | 0 | 0 | 0 | 24 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.25 | [10 empty] | 113
Low Pressure | Line valve | LP line valves | No. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 14 | 6 | 5 | 12 | 15 | 0 | 2 | 4.2 | [10 empty] | 63
Low Pressure | Special crossings | LP special crossings | No. | 306 | 0 | 0 | 68 | 29 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 11 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.9167 | [10 empty] | 443
All | Monitoring and control systems | Remote terminal units | No. | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 96 | 7 | 0 | 0 | 8 | 9 | 14 | 1 | 5.8571 | [10 empty] | 164
|  | Cathodic Protection | No. |  |  |  | 1 | 1 | [18 empty] | 1 | [10 empty] | 2
[38 empty] | 2 | All
|  | Total Closing RAB ($000) | 2015 ID x CPI of 0.5%
Intermediate Pressure | Main pipe | 2602.95
Medium Pressure | Main pipe | 5593.83
Low Pressure | Main pipe | 6943.545
| Service pipe | 6597.825
| Stations | 203.01
| Line valve | 133.665
| Special crossings | 468.33
| Other Network Assets | 257.28
| Non-Network Assets | 334.665
| Total | 23135.1
Note on A1: Microsoft Office User: 2015 ID Schedule 9b

## Asset Forecast v AMP
Inflation figures used:
|  |  | 2013: 1% | [14 empty] | Forecast accuracy boundary (% variation)
Capex |  |  | 2014: 1.4%
|  |  | 2015: 0.5% | [14 empty] | 2013 to 2015 AMP forecats
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 |  |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 0 | 0
2013 AMP | Consumer connection |  | 72.0482 | 77.1946 | 77.1946 | 83.3701 | 82.3409 | 86.4579 | 93.6627 | 94.692 | 95.7212 | 95.7212 | 96.7505 |  |  |  | 2013 | Consumer connection | -0.9901% | 5.611% | -2.212% | -0.9901% | -5.705% | -12.96% | -13.9% | -14.83% | -14.83% | -15.74%
2014 AMP | Consumer connection |  |  | 76.4303 | 81.5256 | 81.5256 | 81.5256 | 81.5256 | 81.5256 | 81.5256 | 81.5256 | 81.5256 | 81.5256 | 81.5256 |  |  | 2014 | System growth | -0.9901% | 52.32% | 32.01% | 32.01% | 32.01% | 27.75% | 23.76% | 20.01% | 16.48% | 13.15%
2015 AMP | Consumer connection |  |  |  | 135.675 | 100.5 | 100.5 | 100.5 | 100.5 | 100.5 | 100.5 | 100.5 | 100.5 | 100.5 | 100.5 |  | 2015 | Asset replacement and renewal | -0.9901% | 35.54% | -14.65% | -35.64% | -2.198% | 5.154% | 17.31% | 16.48% | 15.94% | 15.13%
2016 AMP | Consumer connection |  |  |  |  | 119 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 2016 | Asset relocations | 0% | 5605% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2013 AMP | System growth |  | 29.8486 | 26.7608 | 26.7608 | 30.8778 | 30.8778 | 30.8778 | 31.9071 | 32.9363 | 33.9656 | 34.9949 | 36.0241 |  |  |  |  | Total reliability, safety and environment | -0.9901% | -66.83% | -0.9901% | 120% | -0.9901% | -9.991% | -100% | -100% | -100% | -100%
2014 AMP | System growth |  |  | 26.4958 | 40.7628 | 40.7628 | 40.7628 | 40.7628 | 40.7628 | 40.7628 | 40.7628 | 40.7628 | 40.7628 | 40.7628 |  |  |  | Non network assets | -0.9901% | 24.75% | -6.814% | -12.64% | -24.09% | -50.5% | -27.39% | -27.39% | -27.39% | -27.39%
2015 AMP | System growth |  |  |  | 32.16 | 45.225 | 45.225 | 45.225 | 45.225 | 45.225 | 45.225 | 45.225 | 45.225 | 45.225 | 45.225 |  |  | Value of capital contributions | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2016 AMP | System growth |  |  |  |  | 67 | 315 | 315 | 65 | 65 | 65 | 65 | 65 | 65 | 65 | 65 |  | 2013-14 Total capital expenditure (excl cost of funding and capital contributions) | -0.9901% | 9.613% | -6.255% | -6.133% | -5.396% | -8.51% | -9.085% | -9.766% | -10.1% | -10.77%
2013 AMP | Asset replacement and renewal |  | 395.2361 | 405.5287 | 298.4856 | 298.4856 | 411.7043 | 421.9969 | 431.2602 | 434.348 | 437.4358 | 439.4943 | 442.5821
2014 AMP | Asset replacement and renewal |  |  | 401.5136 | 404.5708 | 254.7675 | 264.9582 | 412.7233 | 453.4861 | 509.535 | 509.535 | 509.535 | 509.535 | 509.535
2015 AMP | Asset replacement and renewal |  |  |  | 274.365 | 531.645 | 507.525 | 633.15 | 557.775 | 633.15 | 557.775 | 633.15 | 633.15 | 633.15 | 633.15
2016 AMP | Asset replacement and renewal |  |  |  |  | 424 | 300 | 330 | 550 | 480 | 550 | 500 | 600 | 600 | 600 | 600 |  | 2014 to 2015 AMP forecats | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 0 | 0
2013 AMP | Asset relocations |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Consumer connection |  | 66.42% | 23.27% | 23.27% | 23.27% | 23.27% | 23.27% | 23.27% | 23.27% | 23.27% | 23.27%
2014 AMP | Asset relocations |  |  | 0 | 56.0488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | System growth |  | -21.1% | 10.95% | 10.95% | 10.95% | 10.95% | 10.95% | 10.95% | 10.95% | 10.95% | 10.95%
2015 AMP | Asset relocations |  |  |  | 130.65 | 123.615 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Asset replacement and renewal |  | -32.18% | 108.7% | 91.55% | 53.41% | 23% | 24.26% | 9.467% | 24.26% | 24.26% | 24.26%
2016 AMP | Asset relocations |  |  |  |  | 9 | 0 | 130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Asset relocations |  | 133.1% | 12361% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2013 AMP | Total reliability, safety and environment |  | 121.4528 | 71.019 | 205.8521 | 205.8521 | 92.6335 | 92.6335 | 101.8968 | 101.8968 | 102.9261 | 102.9261 | 103.9553 |  |  |  |  | Total reliability, safety and environment |  | -41.12% | -68.93% | -30.97% | -1.381% | -1.381% | 9045% | 9045% | 9045% | 9045% | 9045%
2014 AMP | Total reliability, safety and environment |  |  | 70.3158 | 68.2777 | 203.814 | 203.814 | 91.7163 | 91.7163 | 0 | 0 | 0 | 0 | 0 |  |  |  | Non network assets |  | 0.9674% | -53.77% | -4.668% | -39.97% | 90.66% | -37.24% | 30% | -37.24% | -37.24% | -37.24%
2015 AMP | Total reliability, safety and environment |  |  |  | 40.2 | 63.315 | 140.7 | 90.45 | 90.45 | 90.45 | 90.45 | 90.45 | 90.45 | 90.45 | 90.45 |  |  | Value of capital contributions | bar: 2015 to 2024
2016 AMP | Total reliability, safety and environment |  |  |  |  | 47 | 156 | 60 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 |  | 2014-15 Total capital expenditure (excl cost of funding and capital contributions) |  | -4.732% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31%
2013 AMP | Non network assets |  | 78.2238 | 121.4528 | 102.9261 | 174.9743 | 174.9743 | 154.3891 | 154.3891 | 154.3891 | 154.3891 | 154.3891 | 154.3891
2014 AMP | Non network assets |  |  | 120.2503 | 128.4028 | 163.0512 | 152.8605 | 117.193 | 76.4303 | 112.0977 | 112.0977 | 112.0977 | 112.0977 | 112.0977 |  |  |  | Variance Boundary | bar: 2014 to 2024
2015 AMP | Non network assets |  |  |  | 129.645 | 75.375 | 145.725 | 70.35 | 145.725 | 70.35 | 145.725 | 70.35 | 70.35 | 70.35 | 70.35
2016 AMP | Non network assets |  |  |  |  | 97 | 35 | 140 | 65 | 140 | 65 | 140 | 65 | 100 | 100 | 100 | [17 empty] | 3
2013 AMP | Value of capital contributions |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014 AMP | Value of capital contributions |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015 AMP | Value of capital contributions |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 AMP | Value of capital contributions |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013 AMP | Total capital expenditure (excl cost of funding and capital contributions) |  | 696.8095 | 701.9558 | 711.2191 | 793.56 | 792.5307 | 786.3552 | 813.116 | 818.2623 | 824.4378 | 827.5256 | 833.7012 |  |  |  |  | Capex | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
2014 AMP | Total capital expenditure (excl cost of funding and capital contributions) |  |  | 695.0057 | 779.5885 | 743.9211 | 743.9211 | 743.9211 | 743.9211 | 743.9211 | 743.9211 | 743.9211 | 743.9211 | 743.9211 |  |  |  | Prior year forecast | 2013: 696.8095; 2014: 701.9558; 2015: 779.5885; 2016: 939.675
2015 AMP | Total capital expenditure (excl cost of funding and capital contributions) |  |  |  | 742.695 | 939.675 | 939.675 | 939.675 | 939.675 | 939.675 | 939.675 | 939.675 | 939.675 | 939.675 | 939.675 |  |  | Actual expenditure | 2013: 695.7802; 2014: 743.9211; 2015: 706.515
2016 AMP | Total capital expenditure (excl cost of funding and capital contributions) |  |  |  |  | 763 | 911 | 1080 | 870 | 875 | 870 | 895 | 920 | 955 | 955 | 955 |  | Difference | 2013: 1.0293; 2014: -41.9653; 2015: 73.0736
[18 empty] | Difference % | 2013: 0.1477%; 2014: -5.978%; 2015: 9.373%
[20 empty] | 0% | 6% | 9%
Opex | [17 empty] | 2013 to 2014 AMP forecats | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 |  | Service, Interruptions, Incidents and Emergencies | 47.93% | 47.93% | 47.93% | 47.93% | 47.93% | 47.93% | 47.93% | 47.93% | 47.93% | 47.93%
2013 AMP | Service, Interruptions, Incidents and Emergencies |  | 10.2926 | 10.2926 | 10.2926 | 10.2926 | 10.2926 | 10.2926 | 10.2926 | 10.2926 | 10.2926 | 10.2926 | 10.2926 | 10.2926 |  |  |  | Routine and Corrective Maintenance and Inspection | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783%
2014 AMP | Service, Interruptions, Incidents and Emergencies |  |  | 41.7819 | 40.7628 | 40.7628 | 40.7628 | 40.7628 | 40.7628 | 40.7628 | 40.7628 | 40.7628 | 40.7628 | 40.7628 |  |  |  | Asset Replacement and Renewal | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2015 AMP | Service, Interruptions, Incidents and Emergencies |  |  |  | 60.3 | 60.3 | 60.3 | 60.3 | 60.3 | 60.3 | 60.3 | 60.3 | 60.3 | 60.3 | 60.3 |  |  | System Operations and Network Support | 2.056% | 2.056% | 2.056% | 2.056% | 2.056% | 2.056% | 2.056% | 2.056% | 2.056% | 2.056%
2016 AMP | Service, Interruptions, Incidents and Emergencies |  |  |  |  | 41 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 |  | Business Support | -19.32% | -12.93% | -13.43% | -14.11% | -14.69% | -14.69% | -14.69% | -14.69% | -14.69% | -14.69%
2013 AMP | Routine and Corrective Maintenance and Inspection |  | 529.04 | 529.04 | 529.04 | 529.04 | 529.04 | 529.04 | 529.04 | 529.04 | 529.04 | 529.04 | 529.04 |  |  |  |  | Total Network Opex | 18.5% | 18.5% | 18.5% | 18.5% | 18.5% | 18.5% | 18.5% | 18.5% | 18.5% | 18.5%
2014 AMP | Routine and Corrective Maintenance and Inspection |  |  | 83.5637 | 81.5256 | 81.5256 | 81.5256 | 81.5256 | 81.5256 | 81.5256 | 81.5256 | 81.5256 | 81.5256 | 81.5256 |  |  |  | Total Opex | -8.417% | -4.598% | -4.886% | -5.285% | -5.625% | -5.625% | -5.625% | -5.625% | -5.625% | -5.625%
2015 AMP | Routine and Corrective Maintenance and Inspection |  |  |  | 85.425 | 85.425 | 85.425 | 85.425 | 85.425 | 85.425 | 85.425 | 85.425 | 85.425 | 85.425 | 85.425
2016 AMP | Routine and Corrective Maintenance and Inspection |  |  |  |  | 65 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 |  | 2014 to 2015 AMP forecats
2013 AMP | Asset Replacement and Renewal |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Service, Interruptions, Incidents and Emergencies |  | -32.01% | -0.4975% | -0.4975% | -0.4975% | -0.4975% | -0.4975% | -0.4975% | -0.4975% | -0.4975% | -0.4975%
2014 AMP | Asset Replacement and Renewal |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | Routine and Corrective Maintenance and Inspection |  | -23.91% | -0.4975% | -0.4975% | -0.4975% | -0.4975% | -0.4975% | -0.4975% | -0.4975% | -0.4975% | -0.4975%
2015 AMP | Asset Replacement and Renewal |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Asset Replacement and Renewal |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2016 AMP | Asset Replacement and Renewal |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | System Operations and Network Support |  | -1.954% | -0.9346% | -0.9346% | -0.9346% | -0.9346% | -0.9346% | -0.9346% | -0.9346% | -0.9346% | -0.9346%
2013 AMP | System Operations and Network Support |  | 20.5852 | 20.5852 | 20.5852 | 20.5852 | 20.5852 | 20.5852 | 20.5852 | 20.5852 | 20.5852 | 20.5852 | 20.5852 |  |  |  |  | Business Support |  | 3.125% | -1.015% | -1.015% | -1.015% | -1.015% | -1.015% | -1.015% | -1.015% | -1.015% | -1.015%
2014 AMP | System Operations and Network Support |  |  | 690.9295 | 672.5862 | 672.5862 | 672.5862 | 672.5862 | 672.5862 | 672.5862 | 672.5862 | 672.5862 | 672.5862 | 672.5862 |  |  |  | Total Network Opex |  | -29.21% | -3.169% | -3.169% | -3.169% | -3.169% | -3.169% | -3.169% | -3.169% | -3.169% | -3.169%
2015 AMP | System Operations and Network Support |  |  |  | 686.415 | 686.415 | 686.415 | 686.415 | 686.415 | 686.415 | 686.415 | 686.415 | 686.415 | 686.415 | 686.415 |  |  | Total Opex |  | -2.051% | -1.181% | -1.181% | -1.181% | -1.181% | -1.181% | -1.181% | -1.181% | -1.181% | -1.181%
2016 AMP | System Operations and Network Support |  |  |  |  | 673 | 680 | 680 | 680 | 680 | 680 | 680 | 680 | 680 | 680 | 680
2013 AMP | Business Support |  | 893.3983 | 970.5928 | 893.3983 | 893.3983 | 893.3983 | 893.3983 | 893.3983 | 893.3983 | 893.3983 | 893.3983 | 893.3983
2014 AMP | Business Support |  |  | 983.4025 | 957.9258 | 887.61 | 892.7053 | 899.8388 | 905.9532 | 905.9532 | 905.9532 | 905.9532 | 905.9532 | 905.9532
2015 AMP | Business Support |  |  |  | 772.845 | 772.845 | 772.845 | 772.845 | 772.845 | 772.845 | 772.845 | 772.845 | 772.845 | 772.845 | 772.845 |  |  | Opex | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
2016 AMP | Business Support |  |  |  |  | 797 | 765 | 765 | 765 | 765 | 765 | 765 | 765 | 765 | 765 | 765 |  | Prior year forecast | 2013: 1468.755; 2014: 1545.9496; 2015: 1756.8767; 2016: 1609.005
2013 AMP | Total Network Opex |  | 554.7715 | 554.7715 | 554.7715 | 554.7715 | 554.7715 | 554.7715 | 554.7715 | 554.7715 | 554.7715 | 554.7715 | 554.7715 |  |  |  |  | Actual expenditure | 2013: 1669.4609; 2014: 1589.7492; 2015: 1586.895
2014 AMP | Total Network Opex |  |  | 129.4219 | 126.3647 | 126.3647 | 126.3647 | 126.3647 | 126.3647 | 126.3647 | 126.3647 | 126.3647 | 126.3647 | 126.3647 |  |  |  | Difference | 2013: -200.7058; 2014: -43.7996; 2015: 169.9817
2015 AMP | Total Network Opex |  |  |  | 149.745 | 149.745 | 149.745 | 149.745 | 149.745 | 149.745 | 149.745 | 149.745 | 149.745 | 149.745 | 149.745 |  |  | Difference % | 2013: -13.67%; 2014: -2.833%; 2015: 9.675%
2016 AMP | Total Network Opex |  |  |  |  | 106 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 |  |  | 2013: 14%; 2014: 3%; 2015: 10%
2013 AMP | Total Opex |  | 1468.755 | 1545.9496 | 1468.755 | 1468.755 | 1468.755 | 1468.755 | 1468.755 | 1468.755 | 1468.755 | 1468.755 | 1468.755
2014 AMP | Total Opex |  |  | 1803.7539 | 1756.8767 | 1686.5608 | 1691.6562 | 1698.7897 | 1704.9041 | 1704.9041 | 1704.9041 | 1704.9041 | 1704.9041 | 1704.9041
2015 AMP | Total Opex |  |  |  | 1609.005 | 1609.005 | 1609.005 | 1609.005 | 1609.005 | 1609.005 | 1609.005 | 1609.005 | 1609.005 | 1609.005 | 1609.005
2016 AMP | Total Opex |  |  |  |  | 1576 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590

## Main Dashboard
Expenditure Overview
1
Assets
Asset Class |  | Units | Current Average Age (Years / Unit) | Total size (km + units) | Grade 1 | Grade 2 | Grade 3 | Grade 4 | Grade Unknown | % of asset forecast to be replaced in the next 5 years | Size of assets to be replaced (see units) | Assets requiring replacement (see units)
IP PE main pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
IP steel main pipe |  | km | 34.8261 | 23 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
IP other main pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
IP PE service pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
IP steel service pipe |  | km | 24 | 1 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
IP other service pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
Intermediate pressure DRS |  | No. | 32.0769 | 13 | 0% | 0% | 2% | 98% | 0% | 1% | 0.32077 | 0
IP line valves |  | No. | 33.619 | 42 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
IP crossings |  | No. | 33.5 | 14 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
MP PE main pipe |  | km | 23.1799 | 139 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
MP steel main pipe |  | km | 36.5 | 6 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
MP other main pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
MP PE service pipe |  | km | 20.8421 | 76 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
MP steel service pipe |  | km |  | 0 | 0% | 0% | 0% | 100% | 0% | 0%
MP other service pipe |  | km |  | 0 | 0% | 0% | 0% | 0% | 0% | 0%
Medium pressure DRS |  | No. | 24.4118 | 17 | 0% | 0% | 2% | 98% | 0% | 1% | 0.24412 | 0
MP line valves |  | No. | 22.5652 | 115 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
MP special crossings |  | No. | 26.5 | 18 | 0% | 0% | 5% | 95% | 0% | 5% | 1.325 | 0 | Assessment Required - Replacement vs Required
LP PE main pipe |  | km | 28.4337 | 166 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
LP steel main pipe |  | km | 49.2857 | 7 | 0% | 6% | 94% | 0% | 0% | 8% | 3.9429 | 2.3657 | Assessment Required - Replacement vs Required
LP other main pipe |  | km | 48.7083 | 48 | 0% | 6% | 94% | 0% | 0% | 8% | 3.8967 | 2.338 | Assessment Required - Replacement vs Required
LP PE service pipe |  | km | 24.2143 | 168 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
LP steel service pipe |  | km | 24 | 3 | 0% | 30% | 70% | 0% | 0% | 30% | 7.2 | 5.76 | Assessment Required - Replacement vs Required
LP other service pipe |  | km | 28.25 | 4 | 0% | 30% | 70% | 0% | 0% | 0% | 0 | 6.78 | Assessment Required - Replacement vs Required
LP line valves |  | No. | 4.2 | 15 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
LP special crossings |  | No. | 36.9167 | 12 | 0% | 0% | 10% | 90% | 0% | 10% | 3.6917 | 0 | Assessment Required - Replacement vs Required
Remote terminal units |  | No. | 5.8571 | 28 | 0% | 0% | 0% | 100% | 0% | 0% | 0 | 0
Cathodic protection systems |  | No. | 1 | 2 |  |  |  | 100% |  | 0% | 0 | 0
Total |  |  | 26.1869 | 915 | 0% | 0.5902% | 6.481% | 92.93% | 0% | 2.254% | 20.6211 | 17.2437 | Assessment Required - Replacement vs Required
Km |  |  |  | 641 | 0% | 0.8424% | 8.83% | 90.33% | 0% | 0.8268% | 15.0395 | 17.2437 | Assessment Required - Replacement vs Required
No. |  |  |  | 274 | 0% | 0% | 0.9854% | 99.01% | 0% | 0.8759% | 5.5816 | 0 | Assessment Required - Replacement vs Required
[9 empty] | Estimated 5 year R&R expenditure range - based on estimated asset base value | From : $986 To : $2,687** |  | ** This can be made more accurate if we obtain approximate $values for each asset category
[9 empty] | Forecast 5 year R&R | 2210 |  | * See Base rows 79 - 83 for Replacement % Settings
[9 empty] | Forecast 5 year R&R as a percentage of 2015 RAB | 9.553%

## Opex Dashboard
Opex Details
Changes from Base Case ($000) | Service interruptions, incidents and emergencies | Routine and corrective maintenance and inspection | Asset replacement and renewal | System operations and network support | Business support
2013 | -12.9437 | -2.4475 | 0 | 2.8815 | 66.6021
2014 | -5.2294 | -2.2335 | 0 | 5.2967 | -23.4531
2015 | 18.1731 | 4.6809 | 0 | -8.1783 | -43.1491
2016 | -16.2019 | -18.7591 | 0 | -6.5183 | 2.1109
2017 | 2.7981 | 1.2409 | 0 | 0.48171 | -29.8891
2018 | 2.7981 | 1.2409 | 0 | 0.48171 | -29.8891
2019 | 2.7981 | 1.2409 | 0 | 0.48171 | -29.8891
2020 | 2.7981 | 1.2409 | 0 | 0.48171 | -29.8891
2021 | 2.7981 | 1.2409 | 0 | 0.48171 | -29.8891
2022 | 2.7981 | 1.2409 | 0 | 0.48171 | -29.8891
2023 | 2.7981 | 1.2409 | 0 | 0.48171 | -29.8891
2024 | 2.7981 | 1.2409 | 0 | 0.48171 | -29.8891
2025 | 2.7981 | 1.2409 | 0 | 0.48171 | -29.8891
| 66.6021 | 66.6021 | 66.6021 | 66.6021 | 66.6021
Forecast Variances
Variance Boundary | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5%
2013 to 2014 AMP forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Service, Interruptions, Incidents and Emergencies | 47.93% | 47.93% | 47.93% | 47.93% | 47.93% | 47.93% | 47.93% | 47.93% | 47.93% | 47.93%
Routine and Corrective Maintenance and Inspection | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783%
Asset Replacement and Renewal | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
System Operations and Network Support | 2.056% | 2.056% | 2.056% | 2.056% | 2.056% | 2.056% | 2.056% | 2.056% | 2.056% | 2.056%
Business Support | 19.32% | 12.93% | 13.43% | 14.11% | 14.69% | 14.69% | 14.69% | 14.69% | 14.69% | 14.69%
Total Network Opex | 18.5% | 18.5% | 18.5% | 18.5% | 18.5% | 18.5% | 18.5% | 18.5% | 18.5% | 18.5%
Total Opex | 8.417% | 4.598% | 4.886% | 5.285% | 5.625% | 5.625% | 5.625% | 5.625% | 5.625% | 5.625%
2014 to 2015 AMP forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Service, Interruptions, Incidents and Emergencies |  | 32.01% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975%
Routine and Corrective Maintenance and Inspection |  | 23.91% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975%
Asset Replacement and Renewal |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
System Operations and Network Support |  | 1.954% | 0.9346% | 0.9346% | 0.9346% | 0.9346% | 0.9346% | 0.9346% | 0.9346% | 0.9346% | 0.9346%
Business Support |  | 3.125% | 1.015% | 1.015% | 1.015% | 1.015% | 1.015% | 1.015% | 1.015% | 1.015% | 1.015%
Total Network Opex |  | 29.21% | 3.169% | 3.169% | 3.169% | 3.169% | 3.169% | 3.169% | 3.169% | 3.169% | 3.169%
Total Opex |  | 2.051% | 1.181% | 1.181% | 1.181% | 1.181% | 1.181% | 1.181% | 1.181% | 1.181% | 1.181%
2
2013 to 2014 AMP forecasts Routine and Corrective Maintenance and Inspection | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783% | 4.783%
2014 to 2015 AMP forecasts Routine and Corrective Maintenance and Inspection |  | 23.91% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975% | 0.4975%
Forcast vs actual expenditure variation

## Capex Dashboard
Capex Details
Changes in Capex Categories from the Base Case ($000)
Year | Consumer connection | System growth | Asset replacement and renewal | Asset relocations | Total reliability, safety and environment | Expenditure on Non-Network Assets
2013 | -31.1853 | 4.4386 | 23.6011 | -47.9519 | 57.0038 | -25.5315
2014 | 3.7688 | -2.0223 | 66.5854 | -37.7612 | -10.4994 | 8.4443
2015 | 27.4165 | -2.4163 | -90.1865 | 85.7131 | -46.5045 | 17.0873
2016 | 15.7665 | 36.4437 | 54.4235 | -38.9519 | -23.6245 | 3.5373
2017 | 1.7665 | 284.4437 | -69.5765 | -47.9519 | 85.3755 | -58.4627
2018 | 1.7665 | 284.4437 | -39.5765 | 82.0481 | -10.6245 | 46.5373
2019 | 1.7665 | 34.4437 | 180.4235 | -47.9519 | 14.3755 | -28.4627
2020 | 1.7665 | 34.4437 | 110.4235 | -47.9519 | 14.3755 | 46.5373
2021 | 1.7665 | 34.4437 | 180.4235 | -47.9519 | 14.3755 | -28.4627
2022 | 1.7665 | 34.4437 | 130.4235 | -47.9519 | 14.3755 | 46.5373
2023 | 1.7665 | 34.4437 | 230.4235 | -47.9519 | 14.3755 | -28.4627
2024 | 1.7665 | 34.4437 | 230.4235 | -47.9519 | 14.3755 | 6.5373
2025 | 1.7665 | 34.4437 | 230.4235 | -47.9519 | 14.3755 | 6.5373
Base Case
For Asset Comparisons (Yellow, Dark Blue and Grey), see the Asset Management section below
Drivers of System Growth Capex
Year | System Growth Capex ($000) | Change in SG Capex from previous year as % of base year SG Capex | Additional SG Capex above base year SG Capex | Energy Supplied (GJ) | Additional supply as % of base year supply | Total Pipe Length | Additional asset growth as % of base year assets | Year End ICPs | Additional Customers as % of base year ICPs | Materiality Boundary Assessment
2013 | 34.9949 |  | 14.53% | 1150413 |  | 644 |  | 10229 |  | Assessment Required
2014 | 28.534 | -21.14% | -6.618% | 1106607 | -3.961% | 657 | 1.973% | 10216 | -0.1273%
2015 | 28.14 | -1.289% | -7.908% | 1124135 | 1.585% | 659 | 0.3035% | 9887 | -3.22%
2016 | 67 | 127.2% | 119.3% | 1260719 | 12.35% | 662 | 0.4552% | 9863 | -0.2349% | Assessment Required
2017 | 315 | 811.6% | 930.9% | 1266540 | 0.5263% | 662 | 0% | 10000 | 1.341% | Assessment Required
2018 | 315 | 0% | 930.9% | 1279210 | 1.146% | 662 | 0% | 10100 | 0.9789% | Assessment Required
2019 | 65 | -818.2% | 112.7% | 1292000 | 1.156% | 662 | 0% | 10200 | 0.9789% | Assessment Required
2020 | 65 | 0% | 112.7% | 1304920 | 1.168% | 662 | 0% | 10300 | 0.9789% | Assessment Required
2021 | 65 | 0% | 112.7% | 1317970 | 1.18% | 662 | 0% | 10400 | 0.9789% | Assessment Required
2022 | 65 | 0% | 112.7% | 1317970 | 0% | 662 | 0% | 10400 | 0% | Assessment Required
2023 | 65 | 0% | 112.7% | 1317970 | 0% | 662 | 0% | 10400 | 0% | Assessment Required
2024 | 65 | 0% | 112.7% | 1317970 | 0% | 662 | 0% | 10400 | 0% | Assessment Required
2025 | 65 | 0% | 112.7% | 1317970 | 0% | 662 | 0% | 10400 | 0% | Assessment Required
Base Case | 30.5563 |  |  | 1106000 |  | 659 |  | 10216
Forecast Variances
Variance Boundary | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10%
2013 to 2014 AMP forecasts | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Consumer connection | 0.9901% | 5.611% | 2.212% | 0.9901% | 5.705% | 12.96% | 13.9% | 14.83% | 14.83% | 15.74% | 0%
System growth | 0.9901% | 52.32% | 32.01% | 32.01% | 32.01% | 27.75% | 23.76% | 20.01% | 16.48% | 13.15% | 0%
Asset replacement and renewal | 0.9901% | 35.54% | 14.65% | 35.64% | 2.198% | 5.154% | 17.31% | 16.48% | 15.94% | 15.13% | 0%
Asset relocations | 0% | 5605% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Total reliability, safety and environment | 0.9901% | 66.83% | 0.9901% | 120% | 0.9901% | 9.991% | 100% | 100% | 100% | 100% | 0%
Non network assets | 0.9901% | 24.75% | 6.814% | 12.64% | 24.09% | 50.5% | 27.39% | 27.39% | 27.39% | 27.39% | 0%
Value of capital contributions | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Total Capex | 0.9901% | 9.613% | 6.255% | 6.133% | 5.396% | 8.51% | 9.085% | 9.766% | 10.1% | 10.77% | 0%
2014 to 2015 AMP forecasts |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
Consumer connection |  | 66.42% | 23.27% | 23.27% | 23.27% | 23.27% | 23.27% | 23.27% | 23.27% | 23.27% | 23.27%
System growth |  | 21.1% | 10.95% | 10.95% | 10.95% | 10.95% | 10.95% | 10.95% | 10.95% | 10.95% | 10.95%
Asset replacement and renewal |  | 32.18% | 108.7% | 91.55% | 53.41% | 23% | 24.26% | 9.467% | 24.26% | 24.26% | 24.26%
Asset relocations |  | 133.1% | 12361% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Total reliability, safety and environment |  | 41.12% | 68.93% | 30.97% | 1.381% | 1.381% | 9045% | 9045% | 9045% | 9045% | 9045%
Non network assets |  | 0.9674% | 53.77% | 4.668% | 39.97% | 90.66% | 37.24% | 30% | 37.24% | 37.24% | 37.24%
Value of capital contributions | bar: 2015 to 2024
Total Capex |  | 4.732% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31%
8
2013 to 2014 AMP forecasts Total Capex | 0.9901% | 9.613% | 6.255% | 6.133% | 5.396% | 8.51% | 9.085% | 9.766% | 10.1% | 10.77% | 0%
2014 to 2015 AMP forecasts Total Capex |  | 4.732% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31% | 26.31%

## Base
Primary Materiality Boundary
|  | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | +/- | 5 | 3
| Total Capex boundary ($000) | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 71.5405 | 10 | 3
| Total Opex boundary ($000) | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 80.7684
| Capex Base Year | 2013: 14
| Opex Base Year | 2013: 14; 2015: Base-Step-Trend Calculations; 2016: Annual Trend Factor (Real)
| Capex Variance Margin | 2015: Trend (Low); 2016: 0.97905; 2017: Step Trend Starting Point:; 2018: 1586.895
| Opex Variance Margin | 2015: Trend (Mid); 2016: 0.99903
|  |  |  | Trend (High) | 1.019
Base Year Capex
| Capex Category | 2013: Amount; 2014: Base Case
| Consumer connection | 2013: 103.2335; 2014: 103.2335
| System growth | 2013: 30.5563; 2014: 30.5563
| Asset replacement and renewal | 2013: 369.5765; 2014: 369.5765
| Asset relocations | 2013: 47.9519; 2014: 47.9519
| Total reliability, safety and environment | 2013: 70.6245; 2014: 70.6245
Quality of supply
Legislative and regulatory
Other reliability, safety and environment
| Expenditure on non-network assets | 2013: 93.4627; 2014: 93.4627
| Value of capital contributions | 2013: 0; 2014: 0; 2016: no capital contributions
| Total capital expenditure | 2013: 715.4054; 2014: 715.4054
| Total capital expenditure (excl cost of funding and capital contributions) | 2013: 715.4054; 2014: 715.4054
Base Year Opex
| Opex Category | 2013: Amount; 2014: Base Case
| Operational expenditure ($ real) | 2013: 1615.3684; 2014: 1615.3684
| Service interruptions, incidents and emergencies | 2013: 57.2019; 2014: 57.2019
| Routine and corrective maintenance and inspection | 2013: 83.7591; 2014: 83.7591
| Asset replacement and renewal | 2013: 0; 2014: 0
| Total network opex | 2013: 140.961; 2014: 140.961
| System operations and network support | 2013: 679.5183; 2014: 679.5183
| Business support | 2013: 794.8891; 2014: 794.8891
| Total non Network opex | 2013: 1474.4074; 2014: 1474.4074
| Total operational expenditure | 2013: 1615.3684; 2014: 1615.3684
Base Year Service Numbers
8(i) | Customer Base - Total | 2013: 2015 Information Disclosure x 0.5% CPI
| Customer Type | 2013: Average ICPs; 2014: Gas Delivered (GJ); 2015: Billed Quantities; 2017: $/ICP; 2018: $/GJ; 2019: GJ/ICP
| Residential / Small Commercial | 2013: 10055; 2014: 229; 2015: 3918087.975; 2017: 389.6656; 2018: 17109.5545; 2019: 0.022775
| Commercial | 2013: 149; 2014: 113; 2015: 154153.935; 2017: 1034.5902; 2018: 1364.1941; 2019: 0.75839
| Industrial | 2013: 12; 2014: 764; 2015: 772997.76; 2017: 64416.48; 2018: 1011.7772; 2019: 63.6667
| Total | 2013: 10216; 2014: 1106; 2015: 4845239.67; 2017: 474.2795; 2018: 4380.8677; 2019: 0.10826
Current Network Size
| Km | 2013: 21738.15
| Operating cost per Km | 2013: 0.07431
| New Connections | 2013: Connections; 2014: Base Case Connections; 2015: Gas Delivered (Gj)
| Residential / Small Commercial | 2013: 60; 2014: 60; 2015: 229
| Commercial | 2013: 8; 2014: 8; 2015: 113
| Industrial | 2013: 0; 2015: 764
| Existing ICPs | 2013: 10110.6667; 2014: 10110.6667
| Consumer Connection Capex($000) | 2013: 103.2335
| Average Cost per Connection | 2013: 1.5181
| Cost per existing ICP | 2013: 0.1715
| System Growth Capex + Operational Expenditure Opex($000) | 2015: 1645.9246
| Cost of delivery per ($000/GJ) | 2015: 1.4882
Base Year Assets - From ID
*2015 ID * 0.5% CPI
| Asset Type | 2013: Current Valuation ($000); 2014: Size of Assets; 2015: Average Value; 2016: Unit
| Main Pipe | 2013: 15140.325; 2014: 390; 2015: 38.8213; 2016: $000/km
| Service Pipe | 2013: 6597.825; 2014: 269; 2015: 24.5272; 2016: $000/km
| Stations | 2013: 203.01; 2014: 30; 2015: 6.767; 2016: $000/Station
| Line Valve | 2013: 133.665; 2014: 170; 2015: 0.78626; 2016: $000/Valve
| Special Crossings | 2013: 468.33; 2014: 54; 2015: 8.6728; 2016: $000/Crossing
| Other Network Assets | 2013: 257.28; 2014: 29; 2015: 8.8717; 2016: $000/number
| Non-network assets | 2013: 334.665
| Total | 2013: 23135.1; 2014: 942; 2015: 24.5596; 2016: $000/unit
| Replacement Requirements | 2013: Grade; 2014: Percent to be replaced; 2015: Confirmation
|  | Grade 1: | 100 | 100%
|  | Grade 2: | 80 | 80%
|  | Grade 3: | 101 | 0%
|  | Grade 4: | 101 | 0%
|  | Accepted % of Unknown Assets is less than : | 50 | 50%
|  | Accepted Average Age (years) is less than : | 50
|  | For Materiality, must be greater than (km): | 0.5

## Scenarios (hidden)
OPEX Materiality Boundary Scenarios | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Step Trend+20% | 1669.4609 | 2043.4201 | 2084.2885 | 2125.9743 | 2168.4937 | 2211.8636 | 2256.1009 | 2301.2229 | 2347.2474 | 2394.1923 | 2442.0762 | 2490.9177 | 2540.736 | 1669.4609 | 1702.8501 | 1736.9071 | 1771.6452 | 1807.0781 | 1843.2197 | 1880.0841 | 1917.6858 | 1956.0395 | 1995.1603 | 2035.0635 | 2075.7647 | 2117.28
Fixed Scenario @ real 2013 | 1669.4609 | 1669.4609 | 1669.4609 | 1669.4609 | 1669.4609 | 1669.4609 | 1669.4609 | 1669.4609 | 1669.4609 | 1669.4609 | 1669.4609 | 1669.4609 | 1669.4609
Average of previous 3 years | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684
Fixed Scenario @ Base 2013 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684 | 1615.3684
Fixed Scenario @ real 2015 | 1586.895 | 1586.895 | 1586.895 | 1586.895 | 1586.895 | 1586.895 | 1586.895 | 1586.895 | 1586.895 | 1586.895 | 1586.895 | 1586.895 | 1586.895
CAPEX Materiality Boundary Scenarios | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Step Trend+20% | 695.7802 | 834.9363 | 851.635 | 868.6677 | 886.0411 | 903.7619 | 921.8371 | 940.2739 | 959.0793 | 978.2609 | 997.8261 | 1017.7827 | 1038.1383 | 695.7802 | 709.6958 | 723.8898 | 738.3675 | 753.1349 | 768.1976 | 783.5616 | 799.2328 | 815.2174 | 831.5218 | 848.1522 | 865.1153 | 882.4176
Fixed Scenario @ real 2013 | 695.7802 | 695.7802 | 695.7802 | 695.7802 | 695.7802 | 695.7802 | 695.7802 | 695.7802 | 695.7802 | 695.7802 | 695.7802 | 695.7802 | 695.7802
Average of previous 3 years | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054
Fixed Scenario @ Base 2013 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054 | 715.4054
Fixed Scenario @ real 2016 | 911 | 911 | 911 | 911 | 911 | 911 | 911 | 911 | 911 | 911 | 911 | 911 | 911
1% | Expenditure to number of ICPs
2% | Expenditure to total energy supply
3% | Expenditure to estimated network size (km)
4% | Estimated Total Service
5% | Average Number of ICPs
6% | Total gas conveyed/annum (GJ)
7% | km of pipeline for supply
8%
9% | Estimated Cost of Additional ICPs
10% | Estimated Cost of Total Supplied Energy
11% | Estimated Cost of new Network Expansion (Pipe Length)
12% | Estimated Cost of Service
13%
14% | Include Capital Contributions
15% | Exclude Capital Contributions
16%
17%
18%
19%
20%
21%
22%
23%
24%
25%
26%
27%
28%
29%
30%
31%
32%
33%
34%
35%
36%
37%
38%
39%
40%
41%
42%
43%
44%
45%
46%
47%
48%
49%
50%
51%
52%
53%
54%
55%
56%
57%
58%
59%
60%
61%
62%
63%
64%
65%
66%
67%
68%
69%
70%
71%
72%
73%
74%
75%
76%
77%
78%
79%
80%
81%
82%
83%
84%
85%
86%
87%
88%
89%
90%
91%
92%
93%
94%
95%
96%
97%
98%
99%
100%
0%

## Ratios (hidden)
Ratios
Forecast
Operational Expenditure | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Expenditure per TJ energy delivered to ICPs
Network | 109.1519 | 120.6374 | 145.7254 | 84.079 | 114.4851 | 113.3512 | 112.2291 | 111.1179 | 110.0177 | 110.0177 | 110.0177 | 110.0177 | 110.0177
Non Network | 1342.032 | 1315.9604 | 1265.9334 | 1166.0013 | 1140.9036 | 1129.6034 | 1118.4211 | 1107.3476 | 1096.3831 | 1096.3831 | 1096.3831 | 1096.3831 | 1096.3831
Expenditure per aveage number of ICPs
Network | 12.2759 | 13.0676 | 16.5687 | 10.7472 | 14.5 | 14.3564 | 14.2157 | 14.0777 | 13.9423 | 13.9423 | 13.9423 | 13.9423 | 13.9423
Non Network | 150.9327 | 142.5461 | 143.9345 | 149.0419 | 144.5 | 143.0693 | 141.6667 | 140.2913 | 138.9423 | 138.9423 | 138.9423 | 138.9423 | 138.9423
Ratio of expenditure to maximum monthly amount of gas entering network ($ per GJ/month)
Network | 1.1327 | 1.2559 | 1.4817 | 0.85478 | 1.1383 | 1.1271 | 1.1159 | 1.1048 | 1.0939 | 1.0939 | 1.0939 | 1.0939 | 1.0939
Non Network | 13.9269 | 13.6997 | 12.8717 | 11.8541 | 11.344 | 11.232 | 11.1205 | 11.0104 | 10.9015 | 10.9015 | 10.9015 | 10.9015 | 10.9015
Expenditure per km of pipeline for supply
Network | 194.9842 | 203.1936 | 248.5812 | 160.1208 | 219.0332 | 219.0332 | 219.0332 | 219.0332 | 219.0332 | 219.0332 | 219.0332 | 219.0332 | 219.0332
Non Network | 2397.3464 | 2216.516 | 2159.4537 | 2220.5438 | 2182.7795 | 2182.7795 | 2182.7795 | 2182.7795 | 2182.7795 | 2182.7795 | 2182.7795 | 2182.7795 | 2182.7795
Estimated Network Opex boundary | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961
Adjusted network opex boundary | 140.961 | 140.961 | 140.961 | 141.6658 | 142.3706 | 143.0754 | 143.7802 | 144.485 | 145.1898 | 145.8946 | 146.5994 | 147.3042 | 148.009
Capital Expenditure on assets
Capital Expenditure per TJ energy delivered to ICPs
Network | 545.7597 | 580.1645 | 530.1543 | 528.27 | 691.6481 | 734.8285 | 623.065 | 563.2529 | 610.7878 | 572.8507 | 648.7249 | 648.7249 | 648.7249
Non Network | 59.0494 | 92.0896 | 98.3423 | 76.9402 | 27.6343 | 109.4425 | 50.3096 | 107.2863 | 49.3183 | 106.224 | 49.3183 | 75.8743 | 75.8743
Capital Expenditure peraveage number of ICPs
Network | 61.3793 | 62.844 | 60.2776 | 67.5251 | 87.6 | 93.0693 | 78.9216 | 71.3592 | 77.4038 | 72.5962 | 82.2115 | 82.2115 | 82.2115
Non Network | 6.641 | 9.9752 | 11.1813 | 9.8347 | 3.5 | 13.8614 | 6.3725 | 13.5922 | 6.25 | 13.4615 | 6.25 | 9.6154 | 9.6154
Ratio of expenditure to maximum monthly amount of gas entering network ($ per GJ/month)
Network | 5.6636 | 6.0398 | 5.3905 | 5.3706 | 6.8771 | 7.3066 | 6.1952 | 5.6004 | 6.0732 | 5.696 | 6.4504 | 6.4504 | 6.4504
Non Network | 0.61278 | 0.95869 | 0.99992 | 0.78221 | 0.27477 | 1.0882 | 0.50023 | 1.0667 | 0.49038 | 1.0562 | 0.49038 | 0.75443 | 0.75443
Total Expenditure
Total Expenditure | 2365.2411 | 2333.6703 | 2293.41 | 2339 | 2501 | 2670 | 2460 | 2465 | 2460 | 2485 | 2510 | 2545 | 2545
Total Expenditure to GJ of gas | 21.336 | 21.954 | 20.7438 | 18.8617 | 19.6342 | 20.754 | 18.9318 | 18.7824 | 18.559 | 18.7476 | 18.9363 | 19.2003 | 19.2003
Totex Materiality Boundary | 2330.7738 | 2330.7738 | 2330.7738 | 2330.7738 | 2330.7738 | 2330.7738 | 2330.7738 | 2330.7738 | 2330.7738 | 2330.7738 | 2330.7738 | 2330.7738 | 2330.7738
Expenditure per GJ Boundary | 21.025 | 21.9268 | 21.0817 | 18.7954 | 18.2978 | 18.1172 | 17.9373 | 17.7596 | 17.5841 | 17.5841 | 17.5841 | 17.5841 | 17.5841
Consumer Connection Capex
$000 per Domestic ICPs | 1.4704 | 1.4267 | 2.333 | 2.0169 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
$000 per Non Domestic ICPs | 12.008 | 17.8337 | 10.8875 | 17 | 10.5 | 10.5 | 10.5 | 10.5 | 10.5 | 10.5 | 10.5 | 10.5 | 10.5
$000 per ICPs
Consumer Connection Capex / new connection | 1.31 | 1.321 | 1.9213 | 1.803 | 1.3125 | 1.3125 | 1.3125 | 1.3125 | 1.3125 | 1.3125 | 1.3125 | 1.3125 | 1.3125
Consumer Connection Capex / new connection - Boundary | 1.877 | 1.2745 | 1.5181 | 1.5641 | 1.2904 | 1.2904 | 1.2904 | 1.2904 | 1.2904 | 1.2904 | 1.2904 | 1.2904 | 1.2904
System Growth Capex | 34994.8638 | 28533.96 | 28140 | 67000 | 315000 | 315000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000 | 65000
Change in length of Pipeline |  | 2.019% | 0.3044% | 0.4552% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Change in Total Energy Supplied |  | -3.808% | 1.584% | 12.15% | 0.4617% | 1% | 0.9998% | 1% | 1% | 0% | 0% | 0% | 0%
Change in ICPs |  | -0.1271% | -3.22% | -0.2427% | 1.389% | 1% | 0.9901% | 0.9804% | 0.9709% | 0% | 0% | 0% | 0%
Change in Capex |  | -22.64% | -1.4% | 58% | 78.73% | 0% | -384.6% | 0% | 0% | 0% | 0% | 0% | 0%
Change in Capex : Change in Asset Base |  | 11.2169 | 4.599 | 127.4067
Change in Capex : Change in Energy Supply |  | 5.9464 | 0.88387 | 4.7736 | 170.5147 | 0 | 384.6785 | 0 | 0
Change in Capex : Change in Customer Base |  | 178.1645 | 0.43472 | 238.9358 | 56.68 | 0 | 388.4615 | 0 | 0
Capex Materiality Boundaries
Consumer Connection Capex Boundary | 103.2335 | 103.2335 | 103.2335 | 103.2335 | 103.2335 | 103.2335 | 103.2335 | 103.2335 | 103.2335 | 103.2335 | 103.2335 | 103.2335 | 103.2335 | 0.1443
Growth Capex Boundary | 30.5563 | 30.5563 | 30.5563 | 30.5563 | 30.5563 | 30.5563 | 30.5563 | 30.5563 | 30.5563 | 30.5563 | 30.5563 | 30.5563 | 30.5563 | 0.042712
Asset replacement and renewal Boundary | 369.5765 | 369.5765 | 369.5765 | 369.5765 | 369.5765 | 369.5765 | 369.5765 | 369.5765 | 369.5765 | 369.5765 | 369.5765 | 369.5765 | 369.5765 | 0.5166
Asset relocations Boundary | 47.9519 | 47.9519 | 47.9519 | 47.9519 | 47.9519 | 47.9519 | 47.9519 | 47.9519 | 47.9519 | 47.9519 | 47.9519 | 47.9519 | 47.9519 | 0.067028
Total reliability, safety and environment Boundary | 70.6245 | 70.6245 | 70.6245 | 70.6245 | 70.6245 | 70.6245 | 70.6245 | 70.6245 | 70.6245 | 70.6245 | 70.6245 | 70.6245 | 70.6245 | 0.09872
Expenditure on Non-Network Assets Boundary | 93.4627 | 93.4627 | 93.4627 | 93.4627 | 93.4627 | 93.4627 | 93.4627 | 93.4627 | 93.4627 | 93.4627 | 93.4627 | 93.4627 | 93.4627 | 0.13064
Total Planned Interruptions | 171 | 169 | 65 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158
Total Unplanned Interruptions | 107 | 98 | 50 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86 | 86
Total Interruptions | 278 | 267 | 115 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244 | 244
Opex ($) per Interruption | 159.2022 | 194.6538 | 655.4348 | 168.0328 | 245.9016 | 245.9016 | 245.9016 | 245.9016 | 245.9016 | 245.9016 | 245.9016 | 245.9016 | 245.9016
Interruptions Opex Boundary | 205.7623 | 214.2394 | 497.4081 | 234.4341 | 234.4341 | 234.4341 | 234.4341 | 234.4341 | 234.4341 | 234.4341 | 234.4341 | 234.4341 | 234.4341 | 0.035411
Expenditure per km of pipeline for supply
Network | 974.9208 | 977.1904 | 904.3475 | 1006.0423 | 1323.2628 | 1419.9396 | 1216.0121 | 1110.2719 | 1216.0121 | 1140.4834 | 1291.5408 | 1291.5408 | 1291.5408
Non Network | 105.4832 | 155.1096 | 167.7542 | 146.5257 | 52.8701 | 211.4804 | 98.1873 | 211.4804 | 98.1873 | 211.4804 | 98.1873 | 151.0574 | 151.0574
Estimated Revenue ($000) based on:
Energy Supplied across all customers | 5039807.1469 | 4847898.8567 | 4924686.7056 | 5523043.1388 | 5548544.1697 | 5604049.7633 | 5660081.0612 | 5716681.8718 | 5773852.1952 | 5773852.1952 | 5773852.1952 | 5773852.1952 | 5773852.1952
Average no of ICPs across all types | 4851.4053 | 4845.2397 | 4689.2017 | 4677.819 | 4742.7953 | 4790.2232 | 4837.6512 | 4885.0792 | 4932.5071 | 4932.5071 | 4932.5071 | 4932.5071 | 4932.5071
Total regulatory income
Composition of Revenue Requirement (% of revenue)
Operational expenditure
Pass-through and recoverable costs excluding financial incentives and wash-ups
Total depreciation
Total revaluations
Regulatory tax allowance
Regulatory profit/(loss) including financial incentives and wash-ups (% of revenue)
Service intensity measures
Demand density
Volume density
Connection point density
Energy intensity
Interruption ratio (per 100km of pipe length)
Asset variations - See Asset data tab
Asset age (remaining life)
Asset Condition
Number of assets
Total gas conveyed (GJ/100) | 11504.13 | 11066.07 | 11241.35 | 12607.19 | 12665.4 | 12792.1 | 12920 | 13049.2 | 13179.7 | 13179.7 | 13179.7 | 13179.7 | 13179.7
Maximum monthly load (GJ/month)/10 | 11085.7 | 10629.8 | 11055.9 | 12400.8 | 12738 | 12865 | 12994 | 13124 | 13255 | 13255 | 13255 | 13255 | 13255
Change in ICP numbers |  | -0.1271% | -3.22% | -0.2427% | 1.389% | 1% | 0.9901% | 0.9804% | 0.9709% | 0% | 0% | 0% | 0%
ICP Makeup, estimated from Base Year | [13 empty] | Ratios
Residential / Small Commercial | 10055 | 10037 | 9702 | 9672 | 9798 | 9888 | 9978 | 10068 | 10158 | 10149 | 10140 | 10131 | 10122 | 98.42%
Commercial | 149 | 154 | 160 | 166 | 177 | 187 | 197 | 207 | 217 | 226 | 235 | 244 | 253 | 1.576%
Industrial | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
Predicted Billed Amount, Estimated from Base Case and new ICPs
Residential / Small Commercial | 3918.088 | 3911.074 | 3780.536 | 3768.846 | 3817.9439 | 3853.0138 | 3888.0837 | 3923.1536 | 3958.2235 | 3954.7165 | 3951.2096 | 3947.7026 | 3944.1956
Commercial | 154.1539 | 159.3269 | 165.5344 | 171.742 | 183.1225 | 193.4684 | 203.8143 | 214.1602 | 224.5061 | 233.8174 | 243.1287 | 252.44 | 261.7513
Industrial | 772.9978 | 772.9978 | 772.9978 | 772.9978 | 772.9978 | 772.9978 | 772.9978 | 772.9978 | 772.9978 | 772.9978 | 772.9978 | 772.9978 | 772.9978
Total | 4845.2397 | 4843.3986 | 4719.0682 | 4713.5858 | 4774.0641 | 4819.4799 | 4864.8957 | 4910.3116 | 4955.7274 | 4961.5317 | 4967.336 | 4973.1403 | 4978.9446
Gas Use, Estimated from Base Year
Residential / Small Commercial | 229 | 228.5901 | 220.9605 | 220.2773 | 223.1469 | 225.1966 | 227.2463 | 229.2961 | 231.3458 | 231.1408 | 230.9359 | 230.7309 | 230.5259
Commercial | 113 | 116.7919 | 121.3423 | 125.8926 | 134.2349 | 141.8188 | 149.4027 | 156.9866 | 164.5705 | 171.396 | 178.2215 | 185.047 | 191.8725
Industrial | 764 | 764 | 764 | 764 | 764 | 764 | 764 | 764 | 764 | 764 | 764 | 764 | 764
Total | 1106 | 1109.382 | 1106.3028 | 1110.1699 | 1121.3818 | 1131.0154 | 1140.649 | 1150.2826 | 1159.9163 | 1166.5368 | 1173.1573 | 1179.7779 | 1186.3984
Additional gas supplied from previous year (GJ) |  | -43806 | 17528 | 136584 | 5821 | 12670 | 12790 | 12920 | 13050 | 0 | 0 | 0 | 0
Data for % variation charts
Opex per ICP (% variation)
Network |  | 6.449% | 26.79% | -35.14% | 34.92% | -0.9901% | -0.9804% | -0.9709% | -0.9615% | 0% | 0% | 0% | 0%
Non Network |  | -5.883% | 0.9646% | 3.427% | -3.143% | -1% | -0.9901% | -0.9804% | -0.9709% | 0% | 0% | 0% | 0%
Capex per ICP (% variation)
Network |  | 2.386% | -4.084% | 12.02% | 29.73% | 6.244% | -15.2% | -9.582% | 7.809% | -6.623% | 11.7% | 0% | 0%
Non Network |  | 50.21% | 12.09% | -12.04% | -64.41% | 296% | -54.03% | 113.3% | -117.5% | 53.57% | -115.4% | 35% | 0%
Opex per total gas conveyed (% variation)
Network
Non Network
Capex per ICP (% variation)
Network
Non Network
Note on A3: Microsoft Office User: Need to know if these are calculated from nominal or constant $*

## Calculations (hidden)
Capex and Opex
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Network opex per TJ energy delivered to ICPs |  | 10.52% | 20.8% | -42.3% | 36.16% | -0.9905% | -0.9899% | -0.9901% | -0.9902% | 0% | 0% | 0% | 0%
Capex per ICP |  | 2.386% | -4.084% | 12.02% | 29.73% | 6.244% | -15.2% | -9.582% | 8.471% | -6.211% | 13.25% | 0% | 0%
Change in revenue/ICP |  | -0.1271% | -3.22% | -0.2427% | 1.389% | 1% | 0.9901% | 0.9804% | 0.9709% | 0% | 0% | 0% | 0%
Change in non-network opex
Change in revenue/TJ |  | -3.808% | 1.584% | 12.15% | 0.4617% | 1% | 0.9998% | 1% | 1% | 0% | 0% | 0% | 0%
Change in capex/TJ |  | 6.304% | -8.62% | -0.3554% | 30.93% | 6.243% | -15.21% | -9.6% | 8.439% | -6.211% | 13.25% | 0% | 0%
Change in pipe length (%) |  | 2.019% | 0.3044% | 0.4552% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Base Step-Trend Calculations
Year | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
t |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Opex |  |  | 1 | bar: 1 to 10
Low |  |  | 1586.895 | 1553.6441 | 1521.0899 | 1489.2178 | 1458.0136 | 1427.4632 | 1397.553 | 1368.2694 | 1339.5995 | 1311.5303 | 1284.0492
Mid |  |  | 1586.895 | 1585.3511 | 1583.8087 | 1582.2679 | 1580.7285 | 1579.1906 | 1577.6542 | 1576.1193 | 1574.5859 | 1573.054 | 1571.5236
High |  |  | 1586.895 | 1617.0581 | 1647.7946 | 1679.1153 | 1711.0313 | 1743.554 | 1776.6949 | 1810.4657 | 1844.8784 | 1879.9451 | 1915.6785
Capex | 1 | 1 | 1 | bar: 1 to 10
Low | 955 | 955 | 955 | 934.9895 | 915.3982 | 896.2175 | 877.4386 | 859.0533 | 841.0532 | 823.4302 | 806.1765 | 789.2844 | 772.7461
Mid | 955 | 955 | 955 | 954.0709 | 953.1427 | 952.2154 | 951.289 | 950.3635 | 949.4388 | 948.5151 | 947.5923 | 946.6704 | 945.7494
High | 955 | 955 | 955 | 973.1523 | 991.6496 | 1010.4986 | 1029.7058 | 1049.278 | 1069.2224 | 1089.5458 | 1110.2555 | 1131.3588 | 1152.8633
Opex Waterfall
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Original | 1669.4609 | 1589.7492 | 1586.895 | 1576 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590
Change | 0 | -79.7117 | -2.8542 | -10.895 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Change | 0 | 79.7117 | 2.8542 | 10.895 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
White Height | 1589.7492 | 1589.7492 | 1586.895 | 1576 | 1576 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590
Maximum boundary | 1696.1368 | 1696.1368 | 1696.1368 | 1696.1368 | 1696.1368 | 1696.1368 | 1696.1368 | 1696.1368 | 1696.1368 | 1696.1368 | 1696.1368 | 1696.1368 | 1696.1368
Minimum boundary | 1534.5999 | 1534.5999 | 1534.5999 | 1534.5999 | 1534.5999 | 1534.5999 | 1534.5999 | 1534.5999 | 1534.5999 | 1534.5999 | 1534.5999 | 1534.5999 | 1534.5999
Capex Waterfall
2 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Original | 695.7802 | 743.9211 | 706.515 | 763 | 911 | 1080 | 870 | 875 | 870 | 895 | 920 | 955 | 955
Change | 0 | 48.1409 | -37.4061 | 56.485 | 148 | 169 | -210 | 5 | -5 | 25 | 25 | 35 | 0
Graph Change | 0 | 48.1409 | 37.4061 | 56.485 | 148 | 169 | 210 | 5 | 5 | 25 | 25 | 35 | 0
White Height | 695.7802 | 695.7802 | 706.515 | 706.515 | 763 | 911 | 870 | 870 | 870 | 870 | 895 | 920 | 955
Maximum boundary | 786.946 | 786.946 | 786.946 | 786.946 | 786.946 | 786.946 | 786.946 | 786.946 | 786.946 | 786.946 | 786.946 | 786.946 | 786.946
Minimum boundary | 643.8649 | 643.8649 | 643.8649 | 643.8649 | 643.8649 | 643.8649 | 643.8649 | 643.8649 | 643.8649 | 643.8649 | 643.8649 | 643.8649 | 643.8649
Revenue per TJ energy delivered to ICPs ($/TJ) | [13 empty] | Average | +/-
Forecast Opex | 1669.4609 | 1589.7492 | 1586.895 | 1576 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1590 | 1615.3684 | 71.5405
Forecast Capex | 695.7802 | 743.9211 | 706.515 | 763 | 911 | 1080 | 870 | 875 | 870 | 895 | 920 | 955 | 955 | 715.4054 | 80.7684
Asset Value and Growth | 23071.5712 | 23106.566 | 23135.1 | 23202.1 | 23517.1 | 23832.1 | 23897.1 | 23962.1 | 24027.1 | 24092.1 | 24157.1 | 24222.1 | 24287.1
Supply - Dynamic Chart
Expenditure to number of ICPs | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Average Number of ICPs | 10229 | 10216 | 9887 | 9863 | 10000 | 10100 | 10200 | 10300 | 10400 | 10400 | 10400 | 10400 | 10400
ICPs at Year End | 10229 | 10216 | 9887 | 9863 | 10000 | 10100 | 10200 | 10300 | 10400 | 10400 | 10400 | 10400 | 10400
Total gas conveyed/annum (GJ) | 1150413 | 1106607 | 1124135 | 1260719 | 1266540 | 1279210 | 1292000 | 1304920 | 1317970 | 1317970 | 1317970 | 1317970 | 1317970
Total gas conveyed/annum (100TJ) | 11.5041 | 11.0661 | 11.2414 | 12.6072 | 12.6654 | 12.7921 | 12.92 | 13.0492 | 13.1797 | 13.1797 | 13.1797 | 13.1797 | 13.1797
Capex / 100 ICPs | 68.0204 | 72.8192 | 71.459 | 77.3598 | 91.1 | 106.9307 | 85.2941 | 84.9515 | 83.6538 | 86.0577 | 88.4615 | 91.8269 | 91.8269
Annual GJ supplied/ICP | 112.4658 | 108.321 | 113.6983 | 127.8231 | 126.654 | 126.6545 | 126.6667 | 126.6913 | 126.7279 | 126.7279 | 126.7279 | 126.7279 | 126.7279
Capex / ICP : Network | 68.0204 | 72.8192 | 71.459 | 77.3598 | 91.1 | 106.9307 | 85.2941 | 84.9515 | 83.6538 | 86.0577 | 88.4615 | 91.8269 | 91.8269
Opex / ICP Network | 163.2086 | 155.6137 | 160.5032 | 159.7891 | 159 | 157.4257 | 155.8824 | 154.3689 | 152.8846 | 152.8846 | 152.8846 | 152.8846 | 152.8846 | 159.7687 | 159.7687
Service interruptions, incidents and emergencies Opex per ICP | 4.3267 | 5.0874 | 7.6236 | 4.157 | 6 | 5.9406 | 5.8824 | 5.8252 | 5.7692 | 5.7692 | 5.7692 | 5.7692 | 5.7692 | 5.6576 | 5.6576
Service opex materiality boundary | 5.5921 | 5.5992 | 5.7856 | 5.7996 | 5.7202 | 5.6636 | 5.608 | 5.5536 | 5.5002 | 5.5002 | 5.5002 | 5.5002 | 5.5002
Routine and corrective maintenance and inspection Opex per ICP | 7.9491 | 7.9802 | 8.9451 | 6.5903 | 8.5 | 8.4158 | 8.3333 | 8.2524 | 8.1731 | 8.1731 | 8.1731 | 8.1731 | 8.1731 | 8.2842 | 8.2842
Maintenance opex materiality boundary | 8.1884 | 8.1988 | 8.4716 | 8.4923 | 8.3759 | 8.293 | 8.2117 | 8.1319 | 8.0538 | 8.0538 | 8.0538 | 8.0538 | 8.0538
Asset replacement and renewal Opex per ICP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Renewal opex materiality boundary | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Network Opex per ICP | 150.9327 | 142.5461 | 143.9345 | 149.0419 | 144.5 | 143.0693 | 141.6667 | 140.2913 | 138.9423 | 138.9423 | 138.9423 | 138.9423 | 138.9423 | 145.8269 | 145.8269
Non Network opex materiality boundary | 144.1399 | 144.3234 | 149.1259 | 149.4887 | 147.4407 | 145.9809 | 144.5497 | 143.1463 | 141.7699 | 141.7699 | 141.7699 | 141.7699 | 141.7699
Network opex materiality boundary | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 140.961 | 145.8269
Opex / ICP Non-network | 150.9327 | 142.5461 | 143.9345 | 149.0419 | 144.5 | 143.0693 | 141.6667 | 140.2913 | 138.9423 | 138.9423 | 138.9423 | 138.9423 | 138.9423
Capex boundary / 100 ICPs | 69.9389 | 70.0279 | 72.3582 | 72.5343 | 71.5405 | 70.8322 | 70.1378 | 69.4568 | 68.789 | 68.789 | 68.789 | 68.789 | 68.789
Opex boundary | 157.9205 | 158.1214 | 163.3831 | 163.7806 | 161.5368 | 159.9375 | 158.3694 | 156.8319 | 155.3239 | 155.3239 | 155.3239 | 155.3239 | 155.3239